# Wedge Calibration

## Additional glass inserted

- Amount of glass corresponds to ~53um of fused silica per 1mm of wedge insertion

## Test Zero Delay

- Find how much the NP stage to moves as the wedge position is changed.

- Initial settting (TestZeroDelay_03): NP0 = 4.465, z0 = 22.5, Ag = 10

- New NP setting (TestZeroDelay_04): NP0 = 4.4615, z0 = ??? (no modulation)

- New NP setting (TestZeroDelay_05): NP0 = 4.4685, z0 = 19.05

  - Higher NP0, lower z0.

- New Ag setting (TestZeroDelay_06): Ag = 9, zmax = 19

- Redo for larger z range (TestZeroDelay_07, CEP dropped out): Ag =9, z0 = 30.6

  - Shift in z0 = 11.55um

  - DNP0 = -0.01155mm per mm of wedge

- Repeated after CEP fixed, smaller scan range, z0 same

- Try moving Ag large amount (TestZeroDelay_09):

  - Ag = 3

  - NP0 = 4.3876

  - No modulation

- Try different sign (TestZeroDelay_10)

  - Ag = 3

  - NP0 = 4.5494

  - z0 ~ 19

- Move Ag to 24 (TestZeroDelay_11)

  - Ag = 24

  - NP0 = 4.3068

# Dispersion Scan

## Scan 01

- Laser not working so well, so was tweaked: fibre entrance and f-2f (after fibre) tweaked.

- CEP RMS 125/210 mrad (4/1 laser shots).

- PP CEP scanned (6pm).

- Wedge scanned from 3-24mm in steps of 3mm (stage travel)

- PI stage scanned from 10-28um in steps of 0.05um

## Scan 02

- As before, scanning wedge in opposite direction.

# CEP Scan

## Scan 01

- Wedge scanned 9-10mm in steps of 0.1mm

### Results - all CEP data sets

#### Electric field found via the method outlined in Summary of TP CEP & dispersion scans

#### HHG shift calculated via a cross-correlation of the harmonic spectrum in the cut-off as a function of delay compared to the last delay value

- It is clear that some of the retrieved CEP values do not match quite as one would expect, but the trend is overall quite good:

- Below is the same plots, but only taking every other data set. This is less cramped and ‘improves’ the apparent results.

## Scan 02

- Wedge scanned 9-11mm in steps of 0.05mm, PI scan with 0.02um resolution

## Scan 03

- As before, with averaging (10 shots) for each time delay.

- Command in Matlab executed during wedge position 10.4mm of previous scan.

- Some screw up and run seemed to carry on from 02.