## Overview
Results Overview
ID | Pyramid | Reference | Finesse | Error | Loss (ppm) | Error (ppm) | Exp Date | Measurement Notes | Reference Mirror Properties: | REO OC
Exp. 1 | B | OC | 79311.3495 | 4072.1584 | 38.9218 | 4.0676 | 2020-11-03 | Static Loss Measurement | Transmission (ppm): | 38.3
Exp. 2 | A | HR | 146466.3767 | 3433.4178 | 40.3985 | 1.0056 | 2020-10-07 | Resolved Birefringence | Incoherent Loss (ppm): | 2
Exp. 3 | B | HR | 156462.2101 | 7117.9669 | 37.6578 | 1.8269 | 2020-10-19 | Length Scan | Total Loss (ppm): | 40.3
Exp. 4 | C | OC | 77003.3508 | 3781.9974 | 41.2963 | 4.0076 | 2020-12-03 | Low ROC Feature
[9 empty] | Reference Mirror Properties: | REO HR
ID | Pyramid | Reference | T (ppm) | Error (ppm) | Exp Date |  |  |  | Transmission (ppm): | 0.5
Exp. 5 | B | OC | 1.7695 | 0.39883 | 2020-11-18 |  |  |  | Incoherent Loss (ppm): | 2
[9 empty] | Total Loss (ppm): | 2.5

## Experiment 1
Pyramidal Mirror ID: B
Reference Mirror ID: REO OC
Fitting Notes: Integration between fundemental modes, piezo nonlinearity fitted using second order polynomial.
Date | Data ID | FSR |  |  | FSR Mean | FSR SD | FSR Error (%)
2020_11_03 | mset_3_fsr_1 | 736858278714.3781 |  |  | 738688099034.6964 | 14657326050.9177 | 1.984%
2020_11_03 | mset_3_fsr_2 | 760772893016.62
2020_11_03 | mset_3_fsr_3 | 722088907461.9969
2020_11_03 | mset_3_fsr_4 | 724594725224.002
2020_11_03 | mset_3_fsr_5 | 749125690756.485
Fitting Notes: | None
Date | Data ID | LW |  |  | LW Mean | LW SD | LW Error (%)
2020_11_03 | mset_1_lw_1 | 10053685.7415 |  |  | 9313775.4447 | 441052.4491 | 4.735%
2020_11_03 | mset_1_lw_2 | 9558857.1084
2020_11_03 | mset_1_lw_3 | 9649155.5983
2020_11_03 | mset_1_lw_4 | 9466398.3585
2020_11_03 | mset_1_lw_5 | 9798298.3788
2020_11_03 | mset_2_lw_1 | 9140871.7416
2020_11_03 | mset_2_lw_2 | 9075190.0932
2020_11_03 | mset_2_lw_3 | 8586519.8182
2020_11_03 | mset_2_lw_4 | 8814139.0538
2020_11_03 | mset_2_lw_5 | 8994638.5549
Finesse | Error | Total Loss | Error | Pyramid Loss | Error
79311.3495 | 4072.1584 | 79.2218 | 4.0676 | 38.9218 | 4.0676

## Experiment 2
Pyramidal Mirror ID: A
Reference Mirror ID: REO HR
Fitting Notes: Integration between fundemental modes, piezo nonlinearity fitted using second order polynomial.
Date | Data ID | FSR |  |  | FSR Mean | FSR SD | FSR Error (%)
2020_10_07 | mset_1_fsr_1 | 672822956583.917 |  |  | 674564197738.2211 | 5396229257.1278 | 0.8%
2020_10_07 | mset_1_fsr_2 | 671596413281.04
2020_10_07 | mset_1_fsr_3 | 678094327285.002
2020_10_07 | mset_1_fsr_4 | 668722740341.369
2020_10_07 | mset_1_fsr_5 | 681168241772.429
2020_10_07 | mset_1_fsr_6 | 679622453373.476
2020_10_07 | mset_1_fsr_7 | 682186469720.397
2020_10_07 | mset_1_fsr_8 | 667675251300.442
2020_10_07 | mset_1_fsr_9 | 669188925985.917
Fitting Notes: | 36 Degree Waveplate Angle - Lower Birefringent Linewidth Recorded
Date | Data ID | LW |  |  | LW Mean | LW SD | LW Error (%)
2020_10_07 | mset_1_lw_1 | 4491639.564 |  |  | 4605590.8056 | 101481.8786 | 2.203%
2020_10_07 | mset_1_lw_2 | 4792316.873
2020_10_07 | mset_1_lw_3 | 4558869.1836
2020_10_07 | mset_1_lw_4 | 4568909.8804
2020_10_07 | mset_1_lw_5 | 4616218.527
Finesse | Error | Total Loss | Error | Pyramid Loss | Error
146466.3767 | 3433.4178 | 42.8985 | 1.0056 | 40.3985 | 1.0056

## Experiment 3
Pyramidal Mirror ID: A
Reference Mirror ID: REO HR
FSR Notes: Integration between fundemental modes, piezo nonlinearity fitted using second order polynomial.
LW Fitting Notes: None. | [11 empty] | Figure Data
Date | Data ID | FSR | Data ID | LW | Finesse | Finesse | Error | Total Loss | Error | Pyramid Loss | Error | Date | Data ID | FSR
2020_10_19 | mset_4_fsr_1 | 1.1257e+12 | mset_4_lw_1 | 6792693.5284 | 165726.6571 | 156462.2101 | 7117.9669 | 40.1578 | 1.8269 | 37.6578 | 1.8269 | 2020_10_19 | mset_6_fsr_1 | 865423578208.6169
2020_10_19 | mset_4_fsr_2 | 948838706222.9771 | mset_4_lw_2 | 6824357.1221 | 139037.0828 | [6 empty] | 2020_10_19 | mset_6_fsr_2 | 886243608175.597
2020_10_19 | mset_4_fsr_3 | 1.1688e+12 | mset_4_lw_3 | 6746746.0846 | 173240.5729 | [6 empty] | 2020_10_19 | mset_6_fsr_3 | 880444714401.113
2020_10_19 | mset_4_fsr_4 | 1.1639e+12 | mset_4_lw_4 | 6811615.1333 | 170863.8588 | [6 empty] | 2020_10_19 | mset_6_fsr_4 | 891991592486.731
2020_10_19 | mset_4_fsr_5 | 1.1358e+12 | mset_4_lw_5 | 7095821.0895 | 160069.8814 | [6 empty] | 2020_10_19 | mset_6_fsr_5 | 852629881644.6379
2020_10_19 | mset_5_fsr_1 | 941363982613.072 | mset_5_lw_1 | 6448195.3769 | 145988.75
2020_10_19 | mset_5_fsr_2 | 944732399972.478 | mset_5_lw_2 | 6108166.1102 | 154667.1101
2020_10_19 | mset_5_fsr_3 | 936996276666.151 | mset_5_lw_3 | 6118275.2969 | 153147.1258 | [8 empty] | Mean | Error | Error (%)
2020_10_19 | mset_5_fsr_4 | 936228943243.0389 | mset_5_lw_4 | 6144591.6287 | 152366.341 | [8 empty] | 875346674983.3392 | 14396575890.0524 | 1.645%
2020_10_19 | mset_5_fsr_5 | 937178809401.449 | mset_5_lw_5 | 5993806.8984 | 156357.8582
2020_10_19 | mset_6_fsr_1 | 865423578208.6169 | mset_6_lw_1 | 5703593.8626 | 151733.0299
2020_10_19 | mset_6_fsr_2 | 886243608175.597 | mset_6_lw_2 | 5831692.4937 | 151970.2229 | [6 empty] | Date | Data ID | LW
2020_10_19 | mset_6_fsr_3 | 880444714401.113 | mset_6_lw_3 | 5484833.2134 | 160523.5164 | [6 empty] | 2020_10_19 | mset_6_lw_1 | 5703593.8626
2020_10_19 | mset_6_fsr_4 | 891991592486.731 | mset_6_lw_4 | 5570215.6588 | 160135.917 | [6 empty] | 2020_10_19 | mset_6_lw_2 | 5831692.4937
2020_10_19 | mset_6_fsr_5 | 852629881644.6379 | mset_6_lw_5 | 5608228.3858 | 152031.9472 | [6 empty] | 2020_10_19 | mset_6_lw_3 | 5484833.2134
2020_10_19 | mset_7_fsr_1 | 825158027934.0031 | mset_7_lw_1 | 5390660.3825 | 153071.7889 | [6 empty] | 2020_10_19 | mset_6_lw_4 | 5570215.6588
2020_10_19 | mset_7_fsr_2 | 817576808288.1 | mset_7_lw_2 | 5055842.7009 | 161709.3048 | [6 empty] | 2020_10_19 | mset_6_lw_5 | 5608228.3858
2020_10_19 | mset_7_fsr_3 | 806354811508.198 | mset_7_lw_3 | 5003094.0316 | 161171.2285
2020_10_19 | mset_7_fsr_4 | 819475612470.531 | mset_7_lw_4 | 5110998.5617 | 160335.7157
2020_10_19 | mset_7_fsr_5 | 798198953186.981 | mset_7_lw_5 | 5097529.7438 | 156585.443 | [8 empty] | Mean | Error | Error (%)
2020_10_19 | mset_8_fsr_1 | 749949734468.894 | mset_8_lw_1 | 5021206.5643 | 149356.4793 | [8 empty] | 5639712.7229 | 118950.2419 | 2.109%
2020_10_19 | mset_8_fsr_2 | 743792121914.1071 | mset_8_lw_2 | 4852286.1463 | 153286.9455
2020_10_19 | mset_8_fsr_3 | 758002465046.054 | mset_8_lw_3 | 4818559.0774 | 157308.9492
2020_10_19 | mset_8_fsr_4 | 754825151956.335 | mset_8_lw_4 | 4819799.6285 | 156609.239
2020_10_19 | mset_8_fsr_5 | 757286587172.1 | mset_8_lw_5 | 4909148.0788 | 154260.2861

## Experiment 4
Pyramidal Mirror ID: C
Reference Mirror ID: REO OC
FSR Notes: Integration between fundemental modes, piezo nonlinearity fitted using second order polynomial.
LW Fitting Notes: Fitted from FSR Scan
Date | Data ID | FSR | LW | Finesse | Finesse | Error | Total Loss | Error | Pyramid Loss | Error
2020-12-03 | mset_7_fsr_1 | 2.0101e+12 | 27468392.459 | 73178.502 | 77003.3508 | 3781.9974 | 81.5963 | 4.0076 | 41.2963 | 4.0076
2020-12-03 | mset_7_fsr_2 | 2.0384e+12 | 27156023.3683 | 75062.5103
2020-12-03 | mset_7_fsr_3 | 2.0649e+12 | 27120524.5442 | 76138.4024
2020-12-03 | mset_7_fsr_4 | 2.0468e+12 | 27566752.4932 | 74250.0921
2020-12-03 | mset_7_fsr_5 | 1912924725223 | 26870836.0949 | 71189.6243
2020-12-03 | mset_6_fsr_1 | 1.8073e+12 | 24655957.7385 | 73298.8072
2020-12-03 | mset_6_fsr_2 | 1.8199e+12 | 24338108.2888 | 74777.6509
2020-12-03 | mset_6_fsr_3 | 1.7814e+12 | 24169826.7499 | 73703.3485
2020-12-03 | mset_6_fsr_4 | 1.8168e+12 | 24420967.6755 | 74393.6131
2020-12-03 | mset_6_fsr_5 | 1.7858e+12 | 24618980.4279 | 72538.5575
2020-12-03 | mset_5_fsr_1 | 1.8803e+12 | 23151700 | 81216.4822
2020-12-03 | mset_5_fsr_2 | 1.9239e+12 | 24234253.2063 | 79389.1151
2020-12-03 | mset_5_fsr_3 | 1.8356e+12 | 24923693.1634 | 73649.0124
2020-12-03 | mset_5_fsr_4 | 1.8967e+12 | 24404988.7214 | 77716.5737
2020-12-03 | mset_5_fsr_5 | 1.9576e+12 | 23663005.7922 | 82728.6594
2020-12-03 | mset_4_fsr_1 | 1.9135e+12 | 23652968.1468 | 80896.9947
2020-12-03 | mset_4_fsr_2 | 1.8546e+12 | 23313668.8724 | 79548.1745
2020-12-03 | mset_4_fsr_3 | 1.9124e+12 | 23418242.8381 | 81660.8232
2020-12-03 | mset_4_fsr_4 | 1.9078e+12 | 23032952.8103 | 82827.3706
2020-12-03 | mset_4_fsr_5 | 1.8888e+12 | 23061086.462 | 81902.7021

## Experiment 5
Pyramidal Mirror ID: B
Reference Mirror ID: REO OC
Quantity | Value | Error | Error (%) | Notes:
Finesse | 79311 | 4072 | 5.134% | Result obtained from Experiment 1
Transmission PD (V) | 0.36529 | 0.0062099 | 1.7% | Averaged over 500 measurements
PD Calibration (W/V) | 1.4342e-05 | 7.1709e-07 | 5%
Power Transmitted (W) | 5.2389e-06 | 2.7667e-07 | 5.281%
Backreflected PD Drop (V) | 1.235 | 0.043225 | 3.5% | Averaged over 500 measurements
PD Calibration (W/V) | 9.8102e-05 | 2.0067e-05 | 20.46% | Higher error due to polarisation optics and ND filter characterisation
Power Cancelled (W) | 0.00012116 | 2.5143e-05 | 20.75%
Transmission (ppm) | 1.7695 | 0.39883 | 22.54%