| Study | Classes and focus | Method | Performance | Validation |
| --- | --- | --- | --- | --- |
| Heartbeat classification |  |  |  |  |
| Chazal et al (2004) (1) | Normal, ventricular ectopic beat (VEB), supraventricular ectopic beat (SVEB), fusion of normal and VEB, unknown | Linear discriminants (LD) with QRS-based and time intervals features | SVEB: 75.9% (sensitivity) VEB: 77.7% (sensitivity) | On 50,000 independent beats (MIT-BIH) |
| Llamedo and Martínez (2011) (2) | Normal, VEB and SVEB classification | LD (RR-intervals and wavelet transform features) with floating feature selection | 93% global accuracy | On independent MIT-BIH beats and INCART |
| Yeh et al (2009) (3) | Normal, left bundle branch block (LBBB), right bundle branch block (RBBB), premature ventricular contraction (PVC), atrial premature contractions | Linear discriminants | 96.23% (global accuracy) | On 14 30-min excerpts (MIT-BIH) |
| Ubeyli (2007) (4) | Normal, congestive heart failure, ventricular tachyarrhythmia, atrial fibrillation (AF) | Support Vector Machine (SVM) with error output correction code and discrete wavelet transform | 98.61% accuracy | On 360 independent beats (Physionet) |
| Melgani and Bazi (2008) (5) | Normal, atrial premature beat, PVC, RBBB, LBBB, and paced beat | SVM optimized by particle swarm optimization | 89.72% accuracy | On 40,438 independent beats (from 20 patient records of MIT-BIH) |
| Asl et al (2008) (6) | Normal, PVC, AF, sick sinus syndrome, ventricular fibrillation, 2° heart block | SVM with heart rate variability features and discriminant analysis feature reduction | 99.16% accuracy | On 463 testing segments of MIT-BIH (average over 100 different runs) |
| Nasiri et al (2009) (7) | Normal, RBBB, LBBB, and paced beat | SVM with principal component analysis and genetic algorithm | 93.46% accuracy | 50% of MIT-BIH for testing |
| Ganeshkumar and Kumaraswamy (2012) (8) | Normal, PVC, paced, atrial premature beat, LBBB and RBBB | Random Forest (30 trees) on 150 beats from MIT-BIH | 92.16% accuracy | Not validated on independent dataset |
| de Oliveira et al (2010) (9) | PVC detection | Bayesian network framework using channel fusion | 99.69% sensitivity | On QT database (25% - 23,765 beats for testing) |
| Coast and al (1990) (10) | VEB detection (over American Heart association database) | Hidden Markov Model (HMM) with states corresponding to ECG waveforms or intervals | 97.25% sensitivity | On 799 independent beats |
| Koski (1996) (11) | PVC detection | HMM and broken line approximation (30 states) | 100% accuracy | On only 4 beats |
| Andreao et al (2006) (12) | PVC detection | HMM and rule based system | 99.79% sensitivity | On 61,543 test beats from QT database |
| Niwas et al (2005) (13) | Normal, LBBB, RBBB, Atrial Premature beat , SVEB, PVC, AF, Ventricular Fibrillation, Sick Sinus Syndrome, Fusion of VEB and normal | Artificial neural network with heartbeat intervals and spectral entropy features | 99.02% accuracy | On 180 (unspecified) independent datasets |
| Inan et al (2006) (14) | PVC detection | Feed-forward multi-layer perceptron with wavelet transform and time intervals features | 96.82% accuracy | On 22 ECG recordings from MIT-BIH |
| Ubeyli (2009) (15) | Normal, congestive heart failure, ventricular tachyarrhythmia, AF | Recurrent neural network with Levenberg–Marquardt training algorithm and eigenvectors | 98.06% accuracy | On 360 beats from Physionet |
| Lagerholm and al (2000) (16) | Normal, LBBB, RBBB, atrial premature, abberated atrial premature, nodal premature, SVEB, VEB, fusion normal and VEB, ventricular flutter, atrial escape, nodal escape, ventricular escape, unknown | Self organizing networks with Hermite transform and RR intervals features | 1.5% of misclassification | Not validated on independent database |
| Linh et al (2003) (17) | Normal, LBBB, RBBB, atrial premature, VEB, ventricular flatter wave, ventricular escape | TSK fuzzy network with Hermite transform | 96% accuracy | On 3,668 beats from MIT-BIH |
| Ozbay et al (2006) (18) | Normal, sinus bradycardia, ventricular tachycardia, sinus arrhythmia, atrial premature contraction, paced, RBBB, LBBB, AF and atrial flutter | Multi-layer perceptron with fuzzy clustering neural network architecture | 99.9% accuracy | On 5342 segments from 92 patients (MIT-BIH) |
| ECG recording analysis for patient diagnosis, monitoring and stratification |  |  |  |  |
| Mincholé et al (2010) (19) | Ischemic and non-ischemic ST-segment changes | Multivariate discriminant analysis with Wilk’s Lambda minimization | 87.5% accuracy | Cross-validated estimation on LTST database |
| Faganeli and Jager (2010) (20) | Patients with transient ischemia episodes | Decision trees with heart rate and Legendre polynomial coefficients features | 98.1% sensitivity, 85.2% specificity | Bootstrap method |
| Rahman et al (2015) (21) | Hypertrophic cardiomyopathy detection on 12-lead ECG | SVM and random forest with 264 time intervals and waveforms amplitude features | precision of 0.84 | 5-fold cross validation over 10,930 beats |
| Bailón et al (2003) (22) | Diagnosis of coronary artery disease | Multivariate discriminant analysis with repolarization, depolarization and heart rate variability features | 94% sensitivity, 92% specificity | Cross validated estimation (leave one out) |
| Kawazoe et al (23) | Risk of ventricular fibtillation in Brugada syndrome patients | Logistic regression with syncope, r–J interval, QRS duration, and Tpeak–Tend dispersion as features | 97.1% sensitivity, 63.0% specificity | Leave-one-out cross validation over 143 patients |
| Pourbabaee and Lucas (2008) (24) | Paroxysmal AF episodes detection | Multi-layer perceptron with time interval and morphological waveform features | 87.5% accuracy | Over 16 recordings from 2001 Computing in Cardiology challenge |
| Colloca et al (2013) (25) | AF episodes detection | SVM optimized with grid-search | 85.45% accuracy with 100% sensitivity to AF | Series 200 of the MIT-BIH Arrhythmia (with 8 AF subjects) |
| Asgari et al (2015) (26) | AF episodes detection | SVM with stationary wavelet transform | 97.0% sensitivity | 2-fold stratified cross-validation on MIT-BIH |
| Acharya et al (2003) (27) | Ischemic/dilated cardiomyopathy, complete heart block, sick sinus syndrome, AF, ectopics, normal | Artificial neural network with fuzzy equivalence | 85-95% accuracy | On 66 testing samples |
| Zheng et al (2014) (28) | Congestive heart failure (from 2-lead ECGs) | Convolutional neural network (CNN) | 94.7% accuracy | 10-fold cross validation over 15 subjects |
| Kannathal et al (2003) (29) | Normal, abnormal (PVC, RBBB, LBBB, paced), life threatening (sick sinus syndrome, ischemic heart disease, ventricular fibrillation) | Artificial neural networks with radial basis function | 99% accuracy | On 200 independent testing patients |
| Zhang et al (2016) (30) | Asystole, extreme bradycardia, extreme tachycardia, ventricular tachycardia or ventricular flutter/fibrillation arrhythmia | SVM with genetic algorithm | 93% true positive rate | 5-fold cross validation over 750 recordings (2015 Physionet Challenge) |
| Real-time episodes’ detection and wearable devices |  |  |  |  |
| Kiranyaz et al (2016) (31) | VEB and SVEB detection | 1-D patient specific CNN | 98.6% accuracy | On 41,766 testing beats from MIT-BIH |
| Chauhan and Vig (2015) (32) | PVC, atrial premature contraction, paced, ventricular couplet | Deep long short term memory (LSTM) network | 0.975 precision, 0.9645 F-score | Testing set of unknown size |
| Jeon et al (2014) (33) | Normal beats, AF, myocardial ischemia classification | SVM on ARM processor | 95.1% sensitivity | 10-fold cross validation over MIT-BIH AF, 2001 and 2004 CinC challenge and STT database |
| Leutheuser et al (2014) (34) | Normal and abnormal (all MIT-BIH labels that are not normal), on Android devices | Decision tree classifier with heartbeat features | 89.6% accuracy | Not validated on independent dataset |
| Oresko et al (2010) (35) | Normal, RBBB, PVC, paced or fusion of paced and normal beat detection on smartphone | Feedforward multilayer perceptron with QRS morphological beat pattern | 99% accuracy for normal – 81% accuracy for fusion | 3-fold cross validation over 5421 beats (MIT-BIH) |
| Oster et al (2015) (36) | Normal and SVEB, fusion and VEB, and unknown | Switching Kalman filters with X-factor mode | 99.2% F1-score | Independent validation on INCART |

AF	Atrial Fibrillation

ANN	Artificial Neural Network

CNN	Convolutional Neural Network

HMM	Hidden Markov Model

LBBB	Left Bundle Branch Block

LD	Linear Discriminant

LSTM	Long Short Term Memory Network

MLP	MultiLayer Perceptron

PVC	Premature Ventricular Contraction

RBBB	Right Bundle Branch Block

RNN	Recurrent Neural Network

SVEB	Supra Ventricular Ectopic Beat

SVM	Support Vector Machine

VEB	Ventricular Ectopic Beat