EXPERIMENTAL

Materials

Sodium bis(trifluoromethylsulfonyl)imide NaTFSI (Solvionic, 99.9%) and N-butyl-N-methylpyrrolidinium bis(trifluoromethylsulfonyl)imide [C4mpyr][TFSI] (Solvionic, 99.9%) were opened and stored inside the glovebox, and used as received. The water content below 50 ppm in the ionic liquid was determined by Karl-Fischer titration (Metrohm KF 831 Karl Fischer Coulometer).

Instrumentation and Techniques

Electrochemical experiments were performed with a Biologic VMP3/Z multi-channel potentiostat using a standard 3-electrode set-up, with a Pt wire counter electrode. A Ag/AgTfO reference electrode was manufactured by immersing a Ag wire in a 5 mM AgTfO in [C4mpyr][TFSI] solution separated from the bulk solution with a porous frit. Glassy carbon (GC, 1 mm diameter, ALS Co., Ltd. Japan) was used as the working electrode. Cyclic voltammetry was performed at 100 mV s-1 scan rate. The reference electrode was calibrated versus Fc+/Fc0 (Em: -0.32 V). All of the experiments were performed at 20 ± 1 °C.

Prior to any scan, the working electrode was polished with 0.3 µm alumina and then washed and sonicated with deionized water (Millipore SuperQ system, resistivity 18.2 MΩ cm-1). The measurements were carried out with an IR drop compensation prior to the cyclic voltammetry experiments, which compensated for approximately 85% of the total internal resistance. The ionic liquids were bubbled with oxygen which was passed through a drying column (ultrahigh purity grade, Air Liquide) for 30 min prior to performing the voltammetry measurements, and bubbled again between scans. Control experiments were performed inside an Argon glovebox in a nominally oxygen- and moisture-free environment.

Rotating ring-disk electrode, RRDE, measurements were performed using a MSR rotator and a removable disk rotating ring-disk electrode containing a GC disk (5 mm diameter) and a platinum ring (Pine instruments). Measurements were performed in a glove box in a round bottom flask and all necks other than the neck containing the shaft were sealed. The electrode was polished as described above between measurements. The collection efficiency at the ring, N, in each experiment was determined using an ideal redox couple.

Pressure cell measurements were performed on a Swagelok-type cell incorporating a pressure sensor (Omega Engineering). Porous composite cathodes were prepared using 90 % w.t. carbon (Super P, Timcal Ltd) and 10 % w.t. PTFE (Sigma-Aldrich), cast onto a stainless steel mesh. A glass fibre filter (Whatman) was used as the separator and Na metal was used as the anode. The cell headspace was purged with O2 for 20 minutes. The cell was maintained at constant temperature, 30 oC, throughout the experiment.

Scanning electron microscopy was performed on a JSM IT 300 series microscope and energy dispersive X-ray spectroscopy with a Oxford X-Max 50 mm2 EDX detector.

Computational methodology

Systems with 800 ion-pairs were constructed: pure [C4mpyr][TFSI] and a series of NaTFSI concentrations in [C4mpyr][TFSI] (1.25%, 2.5%, 5%, 10%, 20%). These systems were run with and without 10 superoxide molecules (10 fewer TFSI molecules in these runs). All initial structure were generated using Packmol 30.

The force-field used was the systematic OPLS-AA based force-field from Pauda and Lopes et al. 31 32. The superoxide bonding parameters were derived from experimental values and other from OPLS-AA. All are summarized in Table 1.

Table 1. Force field parameters of superoxide: O2●-

| Atom | (nm) | (kJ/mole) | Charge(e) |
| --- | --- | --- | --- |
| O | 0.296 | 0.878640 | -0.5 |
| Bond | r0 (nm) | kr (kJ mole-1 nm-2) |  |
| O-O | 0.128 | 316800 |  |

- and - the Lennard-Jones potential parameters, r0- bond length, kr- bond constant.

The program used was Gromacs 5.1 33. The accompanying analysis tools were used to calculate the mean squared displacement (MSD) and radial distribution functions (RDF). Initial equilibration run was a 0.1 ns NVT run with a Nosé-Hoover thermostat (relaxation time = 1.0 ps). A subsequent NPT equilibration run was 1.0 ns long, with a Parrinello-Rahman barotstat (relaxation time = 1.0 ps). Production NVT runs were 2 ns. The time step was 1 fs. Selected systems had extended NVT runs of 10 ns to analyze dynamics. The diffusion coefficients were derived from fitting the mean squared displacement curves (the Einstein relation) from 1 ns to 5 ns in 250 ps increments. Each series spanned 100 points and the resulting diffusion coefficients were averaged.