## Ordered raw extraction form
Extraction table
Effects of Clinical Diagnostic Decision Support Systems based on Machine Learning on Physicians’ Performance – a Systematic Review
Metadata |  |  |  | Patients population |  | Dataset | [5 empty] | Model's details | [5 empty] | Study design | [5 empty] | Study population |  |  | Human performane VS human + computer performance (primary outcome) |  |  |  |  | Computer performance VS human + computer performance (secondary outcome, if available) |  |  |  |  | Funding | Protocol | General Comments (optional)
Study number | Study name | Authors | Main purpose of the system | Medical condition | Number of hospital sites | type of sample | TrS: sample size | TrS: event numbers | TeS: sample size | TeS: event numbers | TeS independantly aquired | mathematical model used | IMDRF signification of information | IMDRF state of condition | IMDRF risk category | type of support (description of the model's output) | attempt to increase the human interpretability of the system | Task to be performed | Experimental design | Number of cases evaluated by each subject | timing of support | Gold standard comparison | Familiarity with the system | Number | Specialty | Seniority/training level/subspecialty | metrics used | results human | results human + computer | statisically significant difference (p < 0.05) | direction (without to with) | Same test set used to test computer performance | Physicians population | metrics used | computer results | human + computer results | statisically significant difference | direction (computer to human+computer) | User feedback on the system | private sector funding | Mention of a protocol | (including study limitations
1 | Performance and clinical impact of machine learning based lung nodule detection using vessel suppression in melanoma patients | Aissa et al. | detection of lung nodules in melanoma patients | melanoma | 1 | CT scans with contrast | NA | NA | 46 | 46 (458 nodules) | yes | ClearRead CT (propriatory, CNN) | treat or diagnose | critical | 4 | marking of suspiscious lessions | NA | detection of lung nodules and ground glass opacities | retrospective, sequencial, multireader (every reader reads all, 6 weeks wash out, without first) | 46 | first reader | one radiologist, also part of the study subjects for the detection aspect of the study; 2 radiologists, also part of the study subjects for the clinical follow up aspect | no attempt to familiarise | 3 | radiologists | resident/board-certified, 5-6 years of experience | number of solid nodules detected | 326 | 458 | yes | + | [7 empty] | NA | NA | NA | additional metrics: number of patients impacted, malignancy of the newly detected nodules, impact of newly detected nodules on clinical recommendations (follow-up interval and therapy)
[27 empty] | True positive nodules detected | 326 | 418 | yes | +
[27 empty] | number of ground glass opacities detected | 25 | 8 | yes | -
2 | CADBOSS: A computer-aided diagnosis system for whole-body bone scintigraphy scans | Aslantas et al. | detection of metastases on bone scintigraphs | Chest, prostate, lung cancer | 2 | bone scintigraphs (whole body scan) | 130 | 100 | 130 | 100 | no | feed forward multi-layer perceptron-based ANN | treat or diagnose | critical | 4 | hotspots marking with multiple colours scale 0 (no metastase) - 1 (metastase) classification | hotspots marking | classification (metastase, no metastase) | NA | 130 | NA | one experienced physician | no attempt to familiarise | 1 | NA | NA | Accuracy in % | 95.38 | 96.9 | NA | + | yes | 1 physician | Accuracy in % | 92.3 | 96.9 | NA | + | NA | no | NA | training set = test set, using 10-fold cross-validation Confusion matrix provided ROC are given, but no mention of AUROC. ROC curve for a single physician?
[27 empty] | Sensitivity in % | 97.95 | 98 | NA | + |  |  | Sensitivity in % | 94 | 98 | NA | +
[27 empty] | Specificity in % | 87.5 | 90.6 | NA | + |  |  | Specificity in % | 86.67 | 90.6 | NA | +
3 | Single reading with computer-aided detection performed by selected radiologists in a breast cancer screening program | Bargallo et al. | detection of brest cancer on mammography | breast cancer | NA | breast mammographs | NA | NA | 21321 (CAD) 47462 (double human readers) | 130 (CAD) 249 (double) | yes | SecondLook (propriatory) | treat or diagnose | critical | 4 | marking of suspiscious lessions, shape depending on lesion characteristics | NA | classification (normal, recallable) | prospective, single reader, historical control study (CAD system is introduced to clinic, every case is seen only once, CAD input directly after first evaluation without it) | 2700 in average per year 8100 in average over 3 year | second reader | Positive biopsy results fo the positive cases. No information on negative cases | one month familiarisation period | variable (9 without, 4 with) | radiologists | with and without breast unit experience | recall rate in % | 3.94 | 7.02 | NA | + | [7 empty] | NA | NA | NA | Study gives detailles information about cancer type in each group Only the best readers where selected for the CAD study Thestudy partially investigate trust by detailling the number of cases where physicians changed their mind after assessing a lession as BI-RADS 1 or 2 Details of the cases missed by the CAD
[27 empty] | biospy rate in % | 0.9 | 1.02 | NA | +
[27 empty] | cancer detection rate in % | 5.25 | 6.1 | NA | +
[27 empty] | PPV of recall in % | 13.32 | 8.69 | NA | -
[27 empty] | Breast cancer stage | 0: 25.3%, I: 52.6%, II: 15.8%, III: 3.2%, IV: 1.6%, NA: 0.8% | 0: 21.5%, I: 55.4%, II: 17.7%, III: 3.1%, IV: 0%, NA: 2.3% | NA | NA
4 | Impact of Data Presentation on Physician Performance Utilizing Artificial Intelligence-Based Computer-Aided Diagnosis and Decision Support Systems | Barinov et al. | evaluation of suspect lesions on breast US | breast cancer | multiple (ACRIN 6666 trial) | breast US | NA | NA | 500 | 150 | probably | cCAD (propriatory, ANN) | treat or diagnose | critical | 4 | 4 groups classification (begnin, probably begnin, suspicious, malign) | NA | BI-RADS score and likelihood of malignancy score assignment | retrospective, sequential, multireader (first 500 cases with second reader support, 4 weeks wash out, 50 cases second reader to measure intra-reader variability, 450 cases with first reader support | 450 as first reader 500 as second reader | both first and second reader (the study compares the two modes) | pathology results after biospy or one year follow-up | 30 min training + 10 cases with supervision | 1 | radiologist | 20+ years experience, ABR certified and breast fellowship training | AUC (second reader) | 0.76 | 0.79 | no | + | yes | 3 radiologists (each compared individually) | Sensitivity in % | B: 100 ;PB: 98; S: 95;M: 50 | BR-2: 100;BR-3: 96-100;BR-4: 92-97;BR-5: 19-29 | NA | "=/+/=/-" | NA | NA | NA | This study examplifies the confirmation bias
[27 empty] | AUC (first reader) | 0.76 | 0.82 | yes | + |  |  | Specificity in % | B: 43;PB: 62; S: 96;M: 100 | BR-2: 13-20;BR-3: 39-46;BR-4: 98-99;BR-5: 100 | NA | -/-/+/=
[27 empty] | Sensitivity in % (first reader, operating point shift) | 97.5 | 98.2 | NA | + |  |  | AUC (second reader) | 0.86 | 0.77-0.79 | NA | -
[27 empty] | Specificity in % (first reader, operating point shift) | 62 | 55 | NA | - |  |  | AUC (first reader) | 0.86 | 0.80-0.83 | NA | -
[24 empty] | 1 | radiologist | 10+ years experience, ABR certified and breast fellowship | AUC (second reader) | 0.75 | 0.77 | no | +
[27 empty] | AUC (first reader) | 0.75 | 0.83 | yes | +
[27 empty] | Sensitivity in % (first reader, operating point shift) | 95.9 | 98.2 | NA | +
[27 empty] | Specificity in % (first reader, operating point shift) | 59 | 47.5 | NA | -
[24 empty] | 1 | radiologist | 5+ years experience and ABR certified | AUC (second reader) | 0.73 | 0.79 | no | +
[27 empty] | AUC (first reader) | 0.73 | 0.8 | yes | +
[27 empty] | Sensitivity in % (first reader, operating point shift) | 92.4 | 97 | NA | +
[27 empty] | Specificity in % (first reader, operating point shift) | 54.5 | 53.5 | NA | -
[24 empty] | 3 | radiologists | all together | Inter-reader variability, Kendall's tau b (second reader) | 0.42-0.55 | 0.56-0.66 | yes | +
[27 empty] | Inter-reader variability, Kendall's tau b (first reader) | 0.42-0.55 | 0.62-0.75 | yes | +
5 | Focal breast lesion characterization according to the BI‐RADS US lexicon: role of a computer‐aided decision‐making support | Bartolotta et al. | evaluation of focal breast lesions on US | breast cancer | NA | breast US | NA | NA | 300 | 122 | yes | S-Detect (CNN, propriatory) | treat or diagnose | critical | 4 | 2 groups classification (possibly benign, possibly malign) | S-Detect gives the input features extracted and used | BI-RADS classification | prospective, consensu read (expert) retrospective, double assisted read in sequence, multireader (residents) | 300 | second reader (expert) second reader (residents) | core-biopsy or 24 months follow-up | 5h training session with 20 training cases | 2 | radiologist | >20 experience in breast US | Accuracy in % | 85.7 | 91 | no | + | [7 empty] | NA | NA | NA | calculate cases where CAD prompted a change and for these cases, descriptors suggesting the change, type of lesions (after gold standard) and impact on clinical management were assessed. Assess number of correct re-classification after CAD change in AUROC statistically signifiant for resident, not for experts
[27 empty] | Sensitivity in % | 91.8 | 97.5 | NA | +
[27 empty] | Specificity in % | 81.5 | 86.5 | NA | +
[27 empty] | Positive predictive value in % | 77.2 | 83.2 | NA | +
[27 empty] | Negative predictive value in % | 93.6 | 98.1 | NA | +
[27 empty] | BI-RADS class |  |  | no
[27 empty] | AUROC | 0.93 | 0.95 | no | +
[27 empty] | Correct clinical management, difference in number of cases |  | +15 | NA | +
[24 empty] | 2 | radiologist | 4th and 5th year residents | AUROC - res 1 | 0.85 | 0.88 | yes | +
[27 empty] | AUROC - res 2 | 0.83 | 0.87 | yes | +
[27 empty] | intra-observer agreement - res 1 (k score) | 0.69 | 0.78 | no | +
[27 empty] | intra-observer agreement - res 2 (k score) | 0.69 | 0.81 | no | +
[27 empty] | inter-observer agreement - baseline (k score) | 0.67 | 0.7 | no | +
[27 empty] | inter-observer agreement - 3 months (k score) | 0.63 | 0.77 | no | +
6 | Deep-learning-assisted diagnosis for knee magnetic resonance imaging: Development and retrospective validation of MRNet | Bien et al. | Evaluation of knee MRI | knee MSK injury | 2 | knee MRI | 1250 | 1008 | 120 | 99 | yes (but internally) | convolutional neural network | treat or diagnose | serious | 3 | 4 groups classification (normal, abnormal, ACL tear, meniscal tear) through probability score | yes, heatmap of the important features | classifcation (normal-abnormal; ACL intact-tear meniscus intact-tear) | retrospective, crossed, multireader (group 1 no support while group 2 support, 10 days wash out, group 1 with support while group 2 no support) | 120 (twice) | first reader | 3 board certified MSK radiologists (consensus vote) | NA | 9 | 7 radiologists 2 orthopedists | board-certified general radiologists and two orthopedic surgeons with 3-29 years experience | Sensitivity (abnormality) | 0.896 | 0.916 | no | + | yes | 7 radiologists + 2 orthopedists | Sensitivity (abnormality) | 0.879 | 0.916 | NA | + | NA | NA | NA | Probably the best example so far uses q-value to correct p-value for multiple comparison
[27 empty] | Sensitivity (ACL) | 0.914 | 0.91 | no | - |  |  | Sensitivity (ACL) | 0.759 | 0.91 | NA | +
[27 empty] | Sensitivity (meniscus) | 0.776 | 0.831 | no | + |  |  | Sensitivity (meniscus) | 0.71 | 0.831 | NA | +
[27 empty] | Specificity (abnormality) | 0.825 | 0.851 | no | + |  |  | Specificity (abnormality) | 0.714 | 0.851 | NA | +
[27 empty] | Specificity (ACL) | 0.917 | 0.996 | yes | + |  |  | Specificity (ACL) | 0.968 | 0.996 | NA | +
[27 empty] | Specificity (meniscus) | 0.856 | 0.849 | no | - |  |  | Specificity (meniscus) | 0.741 | 0.849 | NA | +
[27 empty] | Accuracy (abnormality) | 0.883 | 0.905 | no | + |  |  | Accuracy (abnormality) | 0.85 | 0.905 | NA | +
[27 empty] | Accuracy (ACL) | 0.916 | 0.939 | no | + |  |  | Accuracy (ACL) | 0.867 | 0.939 | NA | +
[27 empty] | Accuracy (meniscus) | 0.815 | 0.836 | no | + |  |  | Accuracy (meniscus) | 0.725 | 0.836 | NA | +
[27 empty] | Inter-rate reliability, Fleiss kappa (abnormality) | 0.571 | 0.64 | NA | +
[27 empty] | Inter-rate reliability, Fleiss kappa (ACL) | 0.754 | 0.84 | NA | +
[27 empty] | Inter-rate reliability, Fleiss kappa (meniscus) | 0.526 | 0.621 | NA | +
[24 empty] | 7 | radiologists | the same radiologists | Sensitivity (abnormality) | 0.905 | 0.926 | no | +
[27 empty] | Sensitivity (ACL) | 0.906 | 0.902 | no | -
[27 empty] | Sensitivity (meniscus) | 0.82 | 0.829 | no | +
[27 empty] | Specificity (abnormality) | 0.844 | 0.864 | no | +
[27 empty] | Specificity (ACL) | 0.933 | 0.977 | yes | +
[27 empty] | Specificity (meniscus) | 0.882 | 0.88 | no | -
[27 empty] | Accuracy (abnormality) | 0.894 | 0.916 | no | +
[27 empty] | Accuracy (ACL) | 0.92 | 0.94 | no | +
[27 empty] | Accuracy (meniscus) | 0.849 | 0.846 | no | -
7 | Computer-aided detection in full-field digital mammography in a clinical population: performance of radiologist and technologists | van den Biggelaar et al. | evaluation of mammography | breast cancer | 1 | mammographs | NA | NA | 1048 | 50 | yes | SecondLook (propriatory) | drive clinical management | critical | 3 | highlight suspicious regions | NA | sketch of the lesion BI-RADS score additional diagnostic test ordered | prospective, sequential, single reader (in clinical settings) | approximately 524 | first reader | histopathology after surgery or 1 year follow up | instruction by manufacturer and 9 months optional use | 2 | radiologists | 5 and 20 years experience in mammography | Sensitivity in % | 84 | 84 | no | 0 | subset | 2 radiologists | Sensitivity in % | 78 | 84 | NA | + | did the system's outputs add valuable diagnostic information | no | NA | Mention learning curves (lacking info on them) readers had full clinical information at disposal no benefit of CAD and increased false positive sensitivity subanalysis according to breast density "On average, over two false-positive marks were displayed per patient, so more than 99% of the marks should be ignored to find one true-positive finding that was missed initially by the observer."
[27 empty] | Specificity in % | 95 | 95 | no | 0
[27 empty] | Positive predictive value | 45 | 44 | no | -
[27 empty] | Negative predictive value | 99 | 99 | no | 0
[27 empty] | Diagnostic Odd Ratio | 96 | 90 | no | -
[27 empty] | Number of positive cases | 94 | 96 | NA | +
8 | Computer-aided detection of pulmonary embolism at CT pulmonary angiography: can it improve performance of inexperienced readers? | Blackmon et al. | Diagnosis/detection of pulmonary embolisms | Pulmonry embolisms | NA | CTPA | NA | NA | 79 | 32 patients 119 PEs | yes | VA10 PE (proprietary, Siemens, SVM) | treat or diagnose | critical | 4 | marking of suspect vessels | NA | mark all vessels with suspected PE | retrospective, sequential, multireader (first without CAD, 3 months wash out period, with CAD) | 79 | second reader | Consensus read of 3 experienced radiologists using the CAD output | NA | 2 | radiologists | first year resident with 9 months experience | Sensitivity (patient) | 84.4 | 92.2 | no | + | yes | 2 radiologists | Sensitivity (patient) | 93.8 | 92.2 | NA | - | NA | NA | NA | This study also calculate the sensitivity for cases detected by both users. Examine in details the false positive marks Gives detailed sensitivity for each lung arteries segment
[27 empty] | Specificity (patient) | 92.6 | 88.3 | NA | - |  |  | Specificity (patient) | 14.9 | 88.3 | NA | +
[27 empty] | Sensitivity (PEs total) | 50 | 70.6 | yes | + |  |  | Sensitivity (PEs total) | 78.2 | 70.6 | NA | -
[27 empty] | Positive predictive value (PEs total) | 80.4 | 80.8 | N/A | + |  |  | Positive predictive value (PEs total) | 26.5 | 80.8 | NA | +
[27 empty] | Positive predictive value (patient) | 88.6 | 84.3 | N/A | - |  |  | Positive predictive value (patient) | 42.9 | 84.3 | NA | +
[27 empty] | Negative predictive value (patient) | 89.7 | 94.3 | N/A | + |  |  | Negative predictive value (patient) | 77.8 | 94.3 | NA | +
[27 empty] | False positive PEs (per patient) | 0.18 | 0.25 | no | + |  |  | False positive rate PEs (per patient) | 3.27 | 0.25 | NA | -
[27 empty] | Accuracy (double detection, patient) | 39.2 | 48.1 | yes | +
[27 empty] | Sensitivity (double detection, PEs total) | 32.8 | 61.3 | yes | +
[27 empty] | Sensitivity (double detection, central) | 84.6 | 92.3 | no | +
[27 empty] | Sensitivity (double detection, lobar) | 81.8 | 90.9 | no | +
[27 empty] | Sensitivity (double detection, segmental) | 28.6 | 58.9 | yes | +
[27 empty] | Sensitivity (double detection, subsegmental) | 26.3 | 57.9 | yes | +
9 | Diagnostic Accuracy of CT for Prediction of Bladder Cancer Treatment Response with and without Computerized Decision Support | Cha et al. | Diagnose cancer stadium after chemotherapy and assess treatment response | bladder cancer | NA | CT scans | 123 patients 246 scans | 40 responders 157 foci | 123 patients 246 scans | 40 responders 157 foci | no but model evaluated with leave-one-out cross validation | DL-CNN unknown radiomic classifier | treat or diagnose | critical | 4 | complete response likelihood score | display of the CDSS-T score distribution in a graphic | estimate likelihood of cT0 disease estimate % response to treatment grade lesion conspicuity | retrospective, multireader | 123 | second reader | histopathology of resected bladder radiologist with 32 years experience | NA | 12 | 9 radiologists 2 oncologists 1 urologist | 2-36 years | AUC (all) | 0.74 | 0.77 | yes | + | yes | 12 physicians | AUC | 0.8 | 0.77 | NA | - | NA | No | NA | cases presented in random orders to account for learning curve and fatigue experience seems to impact performance without CAD, CAD decrease this difference (no attempt to caculate significance) attempt to evaluate trust (physicians change when they're wrong but CAD right, but don't change when they're right but CAD wrong uses multi-reader, multi-case (MRMC) ROC
[27 empty] | standard deviation of estimates on the % scale (all) | 20.4 | 17,9 | yes | - |  |  | AUC (easy cases) | 0.88 | 0.84 | NA | -
[27 empty] | AUC (easy cases) | 0.81 | 0.84 | NA | + |  |  | AUC (difficult cases) | 0.65 | 0.62 | NA | -
[27 empty] | standard deviation of estimates on the % scale (easy cases) | 14.7 | 13.4 | yes | -
[27 empty] | AUC (difficult cases) | 0.59 | 0.62 | NA | +
[27 empty] | standard deviation of estimates on the % scale (difficult cases) | 29.1 | 24.7 | yes | -
10 | Evaluation of the Accuracy of a Computer-aided Diagnosis (CAD) System in Breast Ultrasound according to the Radiologist’s Experience | Chabi et al. | evaluation of suspect lesions in breast US | breast cancer | 1 | Breast US | 14000 | NA | 160 | 77 | yes | Medipattern B-CAD version 2 (proprietary) | treat or diagnose | critical | 4 | Bi-RADS score | NA | lesion type BI-RADS score malignancy score classification benign/malign | retrospective, multireader | 160 | second reader | citology and/or pathology for all lesions BI-RADS >2 | NA | 1 | radiologist | 20 years of experience | sensitivity in % (benign/malign) | 99 | 99 | no | 0 | yes | 1 radiologist, 20 years exp | Sensitivity in % (benign/malign) | 100 | 99 | NA | - | NA | NA | NA | confidence interval probably with bootstraping p-value with McNemar Evaluate the % of divergence between with and without contingency tables available
[27 empty] | specificity in % (benign/malign) | 70 | 46 | yes | - |  |  | Specificity in % (benign/malign) | 48 | 46 | NA | -
[27 empty] | sensitivity in % (BI-RADS >=4) | 100 | 100 | no | 0
[27 empty] | specificity in % (BI-RADS >=4) | 48 | 31 | yes | -
[24 empty] | 1 | radiologist | 5 years of experience | sensitivity in % (benign/malign) | 87 | 96 | yes | + |  | 1 radiologist, 5 years exp | Sensitivity in % (benign/malign) | 100 | 96 | NA | -
[27 empty] | specificity in % (benign/malign) | 80 | 58 | yes | - |  |  | Specificity in % (benign/malign) | 48 | 58 | NA | +
[27 empty] | sensitivity in % (BI-RADS >=4) | 87 | 96 | yes | +
[27 empty] | specificity in % (BI-RADS >=4) | 80 | 58 | yes | -
[24 empty] | 1 | radiologist | 1 year of experience | sensitivity in % (benign/malign) | 88 | 95 | no | + |  | 1 radiologist, 1 years exp | Sensitivity in % (benign/malign) | 100 | 95 | NA | -
[27 empty] | specificity in % (benign/malign) | 69 | 57 | no | - |  |  | Specificity in % (benign/malign) | 48 | 57 | NA | +
[27 empty] | sensitivity in % (BI-RADS >=4) | 97 | 95 | no | -
[27 empty] | specificity in % (BI-RADS >=4) | 34 | 54 | yes | +
[24 empty] | 1 | radiologist | 4 months of experience | sensitivity in % (benign/malign) | 88 | 91 | no | + |  | 1 radiologist, 4 months exp | Sensitivity in % (benign/malign) | 100 | 91 | NA | -
[27 empty] | specificity in % (benign/malign) | 71 | 71 | no | 0 |  |  | Specificity in % (benign/malign) | 48 | 71 | NA | +
[27 empty] | sensitivity in % (BI-RADS >=4) | 95 | 95 | no | 0
[27 empty] | specificity in % (BI-RADS >=4) | 59 | 53 | no | -
11 | Application of Computer-Aided Diagnosis on Breast Ultrasonography | Cho et al. | evaluation of suspect lesions in breast US | breast cancer | 1 | breast US | NA | NA | 119 | 54 | yes | S-Detect (CNN, propriatory) | treat or diagnose | critical | 4 | 2 groups classification (possibly benign, possibly malign) | S-Detect gives the input features extracted and used | BI-RADS classification | prospectively acquired data, retrospectively analysed, multireader | 119 | second reader | histopathology after needle biopsy, operative resection or 2 years follow up | NA | 2 | radiologists | 7 and 1 years of experience in breast imaging | Sensitivity in % - rad 1 | 94.4 | 87 | no | - | yes | 2 radiologists | Sensitivity in % - rad 1 | 72.2 | 87 | NA | + | NA | yes | NA
[27 empty] | Specificity in % - rad 1 | 49.2 | 86.2 | yes | + |  |  | Specificity in % - rad 1 | 90.8 | 86.2 | NA | -
[27 empty] | PPV in % - rad 1 | 60.7 | 83.9 | yes | + |  |  | PPV in % - rad 1 | 86.7 | 83.9 | NA | -
[27 empty] | NPV in % - rad 1 | 91.4 | 88.9 | no | - |  |  | NPV in % - rad 1 | 79.7 | 88.9 | NA | +
[27 empty] | Accuracy in % - rad 1 | 69.8 | 86.6 | yes | + |  |  | Accuracy in % - rad 1 | 82.4 | 86.6 | NA | +
[27 empty] | AUC - rad 1 | 0.887 | 0.895 | no | + |  |  | AUC - rad 1 | 0.815 | 0.895 | NA | +
[27 empty] | Sensitivity in % - rad 2 | 94.4 | 83.3 | yes | - |  |  | Sensitivity in % - rad 2 | 72.2 | 83.3 | NA | +
[27 empty] | Specificity in % - rad 2 | 55.4 | 87.7 | yes | + |  |  | Specificity in % - rad 2 | 90.8 | 87.7 | NA | -
[27 empty] | PPV in % - rad 2 | 63.8 | 84.9 | yes | + |  |  | PPV in % - rad 2 | 86.7 | 84.9 | NA | -
[27 empty] | NPV in % - rad 2 | 92.3 | 86.4 | no | - |  |  | NPV in % - rad 2 | 79.7 | 86.4 | NA | +
[27 empty] | Accuracy in % - rad 2 | 73.1 | 85.7 | yes | + |  |  | Accuracy in % - rad 2 | 82.4 | 85.7 | NA | +
[27 empty] | AUC - rad 2 | 0.901 | 0.901 | no | 0 |  |  | AUC - rad 2 | 0.815 | 0.901 | NA | +
12 | Application of computer-aided diagnosis in breast ultrasound interpretation: improvements in diagnostic performance according to reader experience | Choi J.-H. et al. | evaluation of suspect breast masses on US | breast cancer | 1 | breast US | NA | NA | 200 | 12 | yes | S-Detect (CNN, propriatory) | treat or diagnose | critical | 4 | 2 groups classification (possibly benign, possibly malign) | S-Detect gives the input features extracted and used | BI-RADS classification | prospective, single reader, in clinical settings | unknown fraction of 200 split between 2 either junior or experienced physicians | second reader | histopathology or 2 years follow up | NA | 2 | radiologists | 5 years experience in breast imaging | Sensitivity in % | 91.7 | 91.7 | no | 0 | yes | 5 years experience in breast imaging | Sensitivity in % | 75 | 91.7 | NA | + | NA | no | NA | Investigates conjunctive and disjunctive addition of CAD conjunctive: both negative => negative, either positive => positive disjunctive: both positive => positive, either negative => negative gives number of cases where readers changed their mind CAD performance depends on human operator inxperienced readers tend to trust CAD more
[27 empty] | Specificity in % | 76.6 | 80.3 | no | + |  |  | Specificity in % | 78.2 | 80.3 | NA | +
[27 empty] | PPV in % | 20 | 22 | yes | + |  |  | PPV in % | 18 | 22 | NA | +
[27 empty] | NPV in % | 99.3 | 99.3 | no | 0 |  |  | NPV in % | 98 | 99.3 | NA | +
[27 empty] | Accuracy in % | 77 | 81 | no | + |  |  | Accuracy in % | 78 | 81 | NA | +
[27 empty] | AUROC | 0.84 | 0.86 | no | + |  |  | AUROC | 0.77 | 0.86 | NA | +
[24 empty] | 2 | radiologists | 1 week of training in breast imaging | Sensitivity in % | 75 | 83.3 | no | + |  | 1 week of training in breast imaging | Sensitivity in % | 66.7 | 83.3 | NA | +
[27 empty] | Specificity in % | 71.8 | 77.1 | no | + |  |  | Specificity in % | 76.1 | 77.1 | NA | +
[27 empty] | PPV in % | 14.5 | 18.9 | yes | + |  |  | PPV in % | 15.1 | 18.9 | NA | +
[27 empty] | NPV in % | 97.8 | 98.6 | no | + |  |  | NPV in % | 97.3 | 98.6 | NA | +
[27 empty] | Accuracy in % | 72 | 77.5 | no | + |  |  | Accuracy in % | 75.5 | 77.5 | NA | +
[27 empty] | AUROC | 0.73 | 0.8 | no | + |  |  | AUROC | 0.71 | 0.8 | NA | +
[24 empty] | 4 | radiologists | 1 week to 5 years experience | Inter-observer agreement (k score) | 0.337 | 0.457 | yes | +
13 | Effect of a Deep Learning Framework-Based Computer- Aided Diagnosis System on the Diagnostic Performance of Radiologists in Differentiating between Malignant and Benign Masses on Breast Ultrasonography | Choi J.-S. et al. | evaluation of suspect lesions in breast US | breast cancer | 1 | breast US | 790 | NA | 253 | 80 | yes (but internally) | S-Detect (CNN, propriatory) | treat or diagnose | critical | 4 | ROI + 2 groups classification (possibly benign, possibly malign) | S-Detect gives the input features extracted and used | BI-RADS classification | retrospective, multireader | 253 | second reader | histopathology for all lesions BI-RADS >3, or 3 with palpable mass, or growing, or on patient request, or stable imaging in follow up | NA | 2 | radiologists | 11 and 3 years breast imaging experience | Rad 1 - sensitivity in % | 88.8 | 86.3 | no | - | yes | 4 radiologists | Sensitivity in % | 85 | 86.3-95.0 | NA | + | NA | no | NA | Investigate the number of cases were clinical management was impacted the significance of change was dependent on experience level (the experienced increased their specificity, accuracy and PPV)
[27 empty] | Rad 1 - specificity in % | 72.8 | 93.1 | yes | + |  |  | Specificity in % | 95.4 | 82.1-93.1 | NA | -
[27 empty] | Rad 1 - accuracy in % | 77.9 | 90.9 | yes | + |  |  | Accuracy in % | 92.1 | 86.2-90.9 | NA | -
[27 empty] | Rad 1 - PPV in % | 60.2 | 85.2 | yes | + |  |  | Negative predictive value in % | 93.2 | 93.3-97.3 | NA | +
[27 empty] | Rad 1 - NPV in % | 93.3 | 93.6 | no | + |  |  | Positive predictive value in % | 89.5 | 71.0-85.2 | NA | -
[27 empty] | Rad 1 - AUC | 0.884 | 0.919 | yes | +
[27 empty] | Rad 2 - sensitivity in % | 86.3 | 90 | no | +
[27 empty] | Rad 2 - specificity in % | 83.2 | 90.2 | yes | +
[27 empty] | Rad 2 - accuracy in % | 84.2 | 90.1 | yes | +
[27 empty] | Rad 2 - PPV in % | 70.4 | 80.1 | yes | +
[27 empty] | Rad 2 - NPV in % | 92.9 | 95.1 | no | +
[27 empty] | Rad 2 - AUC | 0.919 | 0.942 | yes | +
[24 empty] | 2 | radiologists | less than 1 year of training in breast imaging | Rad 3 - sensitivity in % | 88.8 | 95 | no | +
[27 empty] | Rad 3 - specificity in % | 75.1 | 82.1 | yes | +
[27 empty] | Rad 3 - accuracy in % | 79.4 | 86.2 | yes | +
[27 empty] | Rad 3 - PPV in % | 62.3 | 71 | yes | +
[27 empty] | Rad 3 - NPV in % | 93.5 | 97.3 | no | +
[27 empty] | Rad 3 - AUC | 0.906 | 0.951 | yes | +
[27 empty] | Rad 4 - sensitivity in % | 81.3 | 86.3 | no | +
[27 empty] | Rad 4 - specificity in % | 92.5 | 89 | yes | -
[27 empty] | Rad 4 - accuracy in % | 88.9 | 88.1 | yes | -
[27 empty] | Rad 4 - PPV in % | 83.3 | 78.4 | yes | -
[27 empty] | Rad 4 - NPV in % | 91.4 | 93.3 | no | +
[27 empty] | Rad 4 AUC | 0.895 | 0.914 | yes | +
[24 empty] | 4 | radiologists | both group together | Sensitivity in % | 81.3-88.8 | 86.3-95.0 | no | +
[27 empty] | Specificity in % | 72.8-92.5 | 82.1-93.1 | yes | +
[27 empty] | Accuracy in % | 77.9-88.9 | 86.2-90.9 | yes | +
[27 empty] | PPV in % | 60.2-83.3 | 71.0-85.2 | yes | +
[27 empty] | NPV in % | 91.4-93.5 | 93.3-97.3 | no | +
[27 empty] | AUC | 0.884–0.919 | 0.914–0.951 | yes | +
[27 empty] | Interobserver agreement | 0.538-0.706 | 0.632-0.788 | NA | +
14 | Impact of Computer-Aided Detection Systems on Radiologist Accuracy With Digital Mammography | Cole et al. | detection of cancer on mamographs | breast cancer | multiple | mammographs | NA | NA | 300 for R2 300 for iCAD | 150 150 | yes (externally) | R2 ImageChecker Cenova (version 1.0, Ho-logic, CNN) iCAD SecondLook (version 1.4, iCAD) | treat or diagnose | critical | 4 | R2: pinpoint region of interest SecondLook: highlight suspicious regions | NA | BI-RADS classification DMIST 7 points score probability of malignancy | retrospectively acquired data, multireader | 300 | second reader | histopathology or 1 years follow up | All readers had clinical experience using CAD | 14 | radiologists | 6-40 years of mammography experience | AUC - iCAD | 0.71 | 0.72 | no | + | yes | 15 radiologists | Sensitivity in % - R2 | 73 | 53 | NA | - | NA | no | NA | Mentions importance of training with the system uses mixed effects model illustrates the fact that despite significant difference for individual reader, overall non-significant readers changed their mind in only approximately 2% of the cases discusses correct and incorrect up/downgrades does not see any influence of experience on CAD impact
[27 empty] | Sensitivity in % - iCAD | 49 | 51 | no | + |  | 14 radiologists | Sensitivity in % - iCAD | 75 | 51 | NA | -
[27 empty] | Specificity in % - iCAD | 89 | 87 | no | -
[24 empty] | 15 | radiologists | 3.5-32 years of mammography experiene | AUC - R2 | 0.71 | 0.72 | no | +
[27 empty] | Sensitivity in % - R2 | 51 | 53 | no | +
[27 empty] | Specificity in % - R2 | 87 | 86 | no | -
15 | Content-based image-retrieval system in chest computed tomography for a solitary pulmonary nodule: method and preliminary experiments | Endo et al. | provide similar cases to assist diagnosis and speed up reporting | solitary pulmonary nodules | 1 | chest CT | 461 | 396 | 30 | 23 | yes unclear if externally or internally aquired) | clustering based on Euclidian distance | treat or diagnose | critical | 4 | list of 4 similar cases with imaging results semi-automatic generation o reports | NA | 2 groups classification (benign/malign) | retrospective, sequential, multireader | 30 | NA | histopathology after surgery or 2 years follow up for benign lesions | NA | 1 | 1 radiologist 2 respiratory disease specialists | NA | Accuracy in % | 80 | 93.3 | NA | + | [7 empty] | he users were invited to rate the level of similarity of the most similar case on a 1-5 scale | probably | NA | investigate the similarity of the designed ROI using Dice's coefficient investigate the number of clicks necessary to operate the system
[24 empty] | 2 | lung specialists | 7 and 10 years of experience | Accuracy (average) in % | 76.7 | 85 | NA | +
[24 empty] | 3 | radologists/lung specialists | both groups together | Accuracy (average) in % | 74.4 | 76.7 | NA | +
16 | Does computer-assisted detection of pulmonary emboli enhance severity assessment and risk stratification in acute pulmonary embolism? | Engelke et al. | detection and severity assessment of pulmonary embolisms | pulmonary embolism | NA | CTPA | NA | NA | 58 | 58 (1118 emboli) | yes (externally) | PE-CAD (Siemens Medical Solutions, propriatoy, tobogganing + multiple instance classifier) | treat or diagnose | critical | 4 | circles around suspicious vessels | NA | Mastora score (risk stratification of PE) PE marking | prospectively acquired data, multireader | 58 | second reader | consensus of 2 experienced radiologists | NA | 1 | radiologist | inexperienced | Percentual pulmonry embolism severity index | 20.63 | 23.33 | yes | + | yes | 1 inexperienced radiologist | Percentual pulmonry embolism severity index | 9.85 | 23.33 | NA | + | NA | NA | NA | Gold standard assessors had access to index test results discusses in which risk category the correction with CAD occured Greater agreement between experienced and inexperienced readers after used of CAD
[27 empty] | Percentual scoring errors | 37.9 | 27.2 | yes | - |  | 1 inexperienced radiologist | Percentual pulmonry embolism severity index | 9.85 | 23.24 | NA | +
[27 empty] | Correct stratifications | 42 | 51 | NA | + |  | 1 experienced radiologist | Percentual pulmonry embolism severity index | 9.85 | 27.14 | NA | +
[27 empty] | Overestimates | 0 | 0 | NA | 0 |  | 1 experienced radiologist | Percentual pulmonry embolism severity index | 9.85 | 27.04 | NA | +
[27 empty] | Underestimates | 16 | 7 | NA | -
[24 empty] | 1 | radiologist | inexperienced | Percentual pulmonry embolism severity index | 21.2 | 23.24 | yes | +
[27 empty] | Percentual scoring errors | 31.9 | 28.1 | yes | -
[27 empty] | Correct stratifications | 44 | 49 | NA | +
[27 empty] | Overestimates | 0 | 0 | NA | 0
[27 empty] | Underestimates | 14 | 9 | NA | -
[24 empty] | 1 | radiologist | experienced | Percentual pulmonry embolism severity index | 26.75 | 27.14 | yes | +
[27 empty] | Percentual scoring errors | 4.9 | 3.2 | yes | -
[27 empty] | Correct stratifications | 55 | 56 | NA | +
[27 empty] | Overestimates | 0 | 0 | NA | 0
[27 empty] | Underestimates | 3 | 2 | NA | -
[24 empty] | 1 | radiologist | experienced | Percentual pulmonry embolism severity index | 25.85 | 27.04 | yes | +
[27 empty] | Percentual scoring errors | 6 | 4 | yes | -
[27 empty] | Correct stratifications | 55 | 56 | NA | +
[27 empty] | Overestimates | 0 | 0 | NA | 0
[27 empty] | Underestimates | 3 | 2 | NA | -
[24 empty] | 2 | radiologists | inexperienced | Blant & Altman interobserver limits of agreement | -19.71 to 7.47 | -9.49 to 5.35 | NA | smaller
[24 empty] | 2 | radiologists | experienced | Blant & Altman interobserver limits of agreement | -5.45 to 3.03 | -3.67 to 2.03 | NA | smaller
[24 empty] | 4 | radiologists | experienced + inexperienced | Sensitivity in % | 77-93 | 84-95 | yes for each individual comparison | +
[27 empty] | kappa interobserver agreement | 0.74 | 0.83 | yes | +
17 | Multiparametric magnetic resonance imaging of the prostate with computer-aided detection: experienced observer performance study | Giannini et al. | detection of prostate cancer on MRI images | prostate cancer | NA | prostate MRI | NA | NA | 89 | 35 | yes | support vector machine | treat or diagnose | critical | 4 | coloured voxel- wise malignancy likelihood map | per voxel malignancy likelihood map | characterisation of the lesion, localisation, PIRADS (unassisted only), Pca yes/no (assisted only), self-confidence malignancy score | retrospective, sequencial, multireader | 89 | first reader | biopsy or PSA follow up | NA | 3 | radiologists | 2 to 4 years experience in prostate MRI | Per patient sensitivity in % | 80.9 | 87.6 | no | + | no | 3 radiologists | Per patient sensitivity in % | 97 | 87.6 | NA | - | NA | no | NA | Readers not allowed to report on tumour not marked by CAD Discuss problem on how to define sample sizes Offers example of significant difference in average but not in single reader comparison Biopsy positive cases took longer to analyse
[27 empty] | Per patient sensitivity in % - GS = 6 | 80.6 | 80.6 | no | 0
[27 empty] | Per patient sensitivity in % - GS > 6 | 81.2 | 91.3 | yes | +
[27 empty] | Per patient sensitivity in % - diameter 4-9 mm | 77.8 | 82.2 | no | +
[27 empty] | Per patient sensitivity in % - diameter >10 mm | 80 | 95 | yes | +
[27 empty] | Per patient specificity in % | 75.3 | 78.4 | no | +
[27 empty] | Per patient PPV in % | 68 | 72.4 | no | +
[27 empty] | Per patient NPV in % | 85.9 | 90.7 | no | +
[27 empty] | Per lesion sensitivity in % | 70.9 | 74.4 | no | +
[27 empty] | Per lesion sensitivity in % - GS = 6 | 69.2 | 71.8 | no | +
[27 empty] | Per lesion sensitivity in % - GS > 6 | 71.8 | 75.6 | no | +
[27 empty] | Per lesion sensitivity in % - diameter 4-9 mm | 64.9 | 57.9 | no | -
[27 empty] | Per lesion sensitivity in % - diameter >10 mm | 76.7 | 90 | yes | +
[27 empty] | Reading time in second | 220 | 60 | yes | -
[27 empty] | Inter-observer agreement (Fleiss Kappa) - per patient | 0.55 | 0.63 | no | +
[27 empty] | Inter-observer agreement (Fleiss Kappa) - per lesion | 0.46 | 0.57 | no | +
[27 empty] | AUC -reader 1 | 0.84 | 0.85 | no | +
[27 empty] | AUC - reader 2 | 0.82 | 0.91 | yes | +
[27 empty] | AUC - reader 3 | 0.84 | 0.88 | no | +
18 | Development and Validation of a Deep Learning–Based Automated - Detection Algorithm for Major Thoracic Diseases on Chest Radiographs | Hwang et al. | classify chest X-Rays into normal abnormal with additional classification in 4 disease categories | pulmonary malignant neoplasms, pneumonia, pulmonary tuberculosis, pneumothorax | 5 for CAD 1 for observers | chest X-Ray | 89834 | 35613 | 1015 (CAD test) 200 (observer test) | 529 (CAD test) 103 (observer test) | yes (external for CAD test internal for observer) | deep CNN | treat or diagnose | critical | 4 | per-pixel localisation probability for each disease and overall probability of abnormal findings | per disease visulaisation | 2 groups classification (significant findings requiring treatment/no significant findings) | retrospective, multireader | 200 | second reader | board-certified radiologists with CT examinations | NA | 5 | radiologist | thoracic (9-14 years of experience) | AUROC | 0.932 | 0.958 | yes | + | yes | thoracic (9-14 years of experience) | AUROC | 0.983 | 0.958 | NA | - | NA | no | NA | Follows STARD guidelines used a mixed effect model with both patients and physicians as random effects to calculate the sgnificance investigate the false positive results
[27 empty] | area under the jackknife alternative free-response ROC curve | 0.907 | 0.938 | yes | + |  |  | area under the jackknife alternative free-response ROC curve | 0.985 | 0.938 | NA | -
[27 empty] | Sensitivity | 0.876 (0.844-0.903) | 0.924 (0.898-0.946) | yes | + |  |  | Sensitivity (high sensitivity threshold) | 0.913 | 0.924 (0.898-0.946) | NA | +
[27 empty] | Specificity | 0.946 (0.922-0.965) | 0.948 (0.925-0.966) | no | + |  |  | Specificity (high sensitivity threshold) | 1 | 0.948 (0.925-0.966) | NA | -
[24 empty] | 5 | radiologists | board-certified (5-7 years of experience) | AUROC | 0.896 | 0.939 | yes | + |  | board-certified (5-7 years of experience) | AUROC | 0.983 | 0.939 | NA | -
[27 empty] | area under the jackknife alternative free-response ROC curve | 0.87 | 0.919 | yes | + |  |  | area under the jackknife alternative free-response ROC curve | 0.985 | 0.919 | NA | -
[27 empty] | Sensitivity | 0.812 (0.775-0.845) | 0.893 (0.863-0.919) | yes | + |  |  | Sensitivity (high sensitivity threshold) | 0.913 | 0.893 (0.863-0.919) | NA | -
[27 empty] | Specificity | 0.948 (0.925-0.966) | 0.948 (0.925-0.966) | no | 0 |  |  | Specificity (high sensitivity threshold) | 1 | 0.948 (0.925-0.966) | NA | -
[24 empty] | 5 | physicians | non-radiologists | AUROC | 0.814 | 0.904 | yes | + |  | non-radiologists | AUROC | 0.983 | 0.904 | NA | -
[27 empty] | area under the jackknife alternative free-response ROC curve | 0.781 | 0.873 | yes | + |  |  | area under the jackknife alternative free-response ROC curve | 0.985 | 0.873 | NA | -
[27 empty] | Sensitivity | 0.699 (0.657-0.738) | 0.835 (0.800-0.866) | yes | + |  |  | Sensitivity (high sensitivity threshold) | 0.913 | 0.835 (0.800-0.866) | NA | -
[27 empty] | Specificity | 0.901 (0.871-0.926) | 0.924 (0.896-0.946) | yes | + |  |  | Specificity (high sensitivity threshold) | 1 | 0.924 (0.896-0.946) | NA | -
19 | Deep neural network improves fracture detection by clnicians | Lindsey et al. | diagnosis of wrist fracture | wrist fracture | 1 | wrist radiographs | 132345 | NA | Set 1: 3500 Set 2: 1400 Set clinicians: 300 (from Set 2) | NA | yes (internally) | deep convolutional | treat or diagnose | serious | 3 | Probability value for a binary decision and dense conditional probability map (heatmap) | per pixel confidence that the pixel is part of a fracture (heat map) | 2 groups classification (fracture present/not present) | retrospectively acquired data, multireader, randomized order | 300 (only 266 analysed) | second reader | label by subspzialised orthopeadic surgeons (alone or consensus) | NA | 24 | emergency physicians | NA | Sensitivity in % | 82.7 | 92.5 | yes | + | yes | 24 emergency physicians | Sensitivity in % | 93.9 | 92.5 | NA | - | NA | yes | NA | compares emergency doctors to physician assistants
[27 empty] | Specificity in % | 87.4 | 94.1 | yes | + |  |  | Specificity in % | 94.5 | 94.1 | NA | -
[27 empty] | Relative reduction in misinterpretation |  | -47% | NA | -
20 | A computer-aided diagnosis system using artificial intelligence for the diagnosis and characterisation of breast mases on ultrasound | Park et al. | evaluation of suspect breast masses on US | breast cancer | 1 | breast US | NA | NA | 100 | 41 | yes (externally) | S-Detect (CNN, propriatory) | treat or diagnose | critical | 4 | 2 groups classification (possibly benign, possibly malign) | S-Detect gives the input features extracted and used | BI-RADS classification malignancy scale | retrospective, sequencial, multireader | 100 | second reader | histopathology after needle biopsy or follow up | NA | 1 | radiologist | first year fellowship trainee | Sensitivity in % | 65.9 | 97.6 | yes | + | [7 empty] | NA | no | NA | less experienced radiologists changed their mind more offen than experienced ones when in disagreement with the CAD
[27 empty] | Specificity in % | 27.1 | 23.7 | no | -
[27 empty] | PPV in % | 38.6 | 47.1 | yes | +
[27 empty] | NPV in % | 53.3 | 93.3 | yes | +
[27 empty] | Accuracy in % | 43 | 54 | yes | +
[27 empty] | AUC (based on malignancy score) | 0.623 | 0.828 | yes | +
[24 empty] | 1 | radiologist | first year fellowship trainee | Sensitivity in % | 75.6 | 85.4 | no | +
[27 empty] | Specificity in % | 50.8 | 66.1 | yes | +
[27 empty] | PPV in % | 51.7 | 63.6 | yes | +
[27 empty] | NPV in % | 75 | 86.7 | yes | +
[27 empty] | Accuracy in % | 61 | 74 | yes | +
[27 empty] | AUC (based on malignancy score) | 0.702 | 0.823 | yes | +
[24 empty] | 1 | radiologist | first year fellowship trainee | Sensitivity in % | 87.8 | 97.6 | no | +
[27 empty] | Specificity in % | 27.1 | 30.5 | no | +
[27 empty] | PPV in % | 45.6 | 49.4 | no | +
[27 empty] | NPV in % | 76.2 | 94.7 | yes | +
[27 empty] | Accuracy in % | 51 | 58 | no | +
[27 empty] | AUC (based on malignancy score) | 0.759 | 0.839 | yes | +
[24 empty] | 1 | radiologist | 8-10 years of experience | Sensitivity in % | 85.4 | 90.2 | no | +
[27 empty] | Specificity in % | 52.5 | 66.1 | yes | +
[27 empty] | PPV in % | 55.6 | 64.9 | yes | +
[27 empty] | NPV in % | 83.8 | 90.7 | no | +
[27 empty] | Accuracy in % | 66 | 74 | yes | +
[27 empty] | AUC (based on malignancy score) | 0.856 | 0.907 | yes | +
[24 empty] | 1 | radiologist | 8-10 years of experience | Sensitivity in % | 92.7 | 90.2 | no | -
[27 empty] | Specificity in % | 54.2 | 66.1 | yes | +
[27 empty] | PPV in % | 58.5 | 64.9 | yes | +
[27 empty] | NPV in % | 91.4 | 90.7 | no | -
[27 empty] | Accuracy in % | 70 | 76 | no | +
[27 empty] | AUC (based on malignancy score) | 0.889 | 0.904 | no | +
[24 empty] | 3 | radiologists | first year fellowship trainees | Interobserver variability (k score, BI-RADS category) | 0.186 | 0.412 | yes | +
[24 empty] | 2 | radiologists | 8-10 years of experience | Interobserver variability (k score, BI-RADS category) | 0.26 | 0.51 | yes | +
[24 empty] | 5 | radiologists | combined | Interobserver variability (k score, BI-RADS category) | 0.221 | 0.32 | yes | +
21 | Detection of Breast Cancer with Mammography: Effect of an Artificial Intelligence Support System | Rodríguez-Ruiz et al. | cancer detection on mammographs | breast cancer | 2 | mammographs | 18000 | 9000 | 240 | 100 | yes | Transpara (version 1.3.0, ScreenPoint Medical) DL-CNN | treat or diagnose | critical | 4 | circle around the suspicious lesion level of suspicion score (0-100) Transpara score (0-10) | NA | binary classification through (BI-RADS and malignancy scale) | retrospective, crossed, sequencial, multireader | 240 | unclear | experienced radiologist with access to histopathology or 1 year follow up | 45 separate cases in training session | 14 | 3 general and 11 dedicated breast radiologists | 3 to 25 years of experience | AUC | 0.87 | 0.89 | yes | + | yes | 14 radiologists | AUC | 0.87 | 0.89 | no | + | NA | yes | NA | uses mixed effect model to account for readers and reading conditions random effects assesses learning curve in term of reading time between the first and second session for low suspicion cases, CAD reduces the reading time, for high suspicion cases it increases it
[27 empty] | Sensitivity in % | 83 | 86 | yes | +
[27 empty] | Specificity in % | 77 | 79 | no | +
[27 empty] | Reading time in second | 146 | 149 | no | +
[24 empty] | 7 |  | 50% least experienced | AUC | 0.87 | 0.89 | yes | +
[24 empty] | 7 |  | 50% most experienced | AUC | 0.87 | 0.88 | no | +
22 | Impact on Breast Cancer Diagnosis in a Multidisciplinary Unit After the Incorporation of Mammography Digitalization and Computer-Aided Detection Systems | Romero et al. | detection of brest cancer on mammography | breast cancer | 1 | mammographs | NA | NA | 9389 | 124 | yes (externally) | Image Checker (version 5.4, R2 Technology, proprietary, CNN) | treat or diagnose | critical | 4 | pinpoint regions of interest | NA | detection and diagnosis of breast cancer | retrospective, unpair, single reader, in clinical settings | a fraction of 9389 (4695 on average) | second reader | not clearly stated, probably biopsy and follow up | 6 months and 3225 training cases for the unit as a whole | 2 | radiologists | expert breast radiologists with 5 and 9 years experience | Carcinoma detection rate - global /1000 | 11.9 | 14.3 | no | + | [7 empty] | NA | NA | NA | Acknowledge the need for appropriate training before testing Images from previous assessment were used for the current evaluation in 78 to 85% of the cases breaks down the detection rate per type of ancer mentions the need for further cost effectiveness analysis
[27 empty] | Carcinoma detection rate - screening /1000 | 6.1 | 5.6 | no | -
[27 empty] | Carcinoma detection rate - diagnostic /1000 | 28.8 | 31.1 | no | +
[27 empty] | % of ductal carcinoma in situ in detected cancer - screening | 21.1 | 36.8 | no | +
[27 empty] | % of ductal carcinoma in situ in detected cancer - diagnostic | 16.1 | 20 | no | +
[27 empty] | Detection rate of microcalcification in % | 26.3 | 68.4 | yes | +
[27 empty] | % of T1 tumor - global | 88 | 79.8 | no | -
[27 empty] | % of T1 tumor - screening | 94.7 | 84.2 | no | -
[27 empty] | % of T1 tumor - diagnostic | 83.9 | 78.2 | no | -
[27 empty] | Biopsy rate - global / 1000 | 14.7 | 17.9 | no | +
[27 empty] | Biopsy rate - screening / 1000 | 8.3 | 7.6 | no | -
[27 empty] | Biopsy rate - diagnostic / 1000 | 33.4 | 37.8 | no | +
[27 empty] | Biopsy PPV in % - screening | 73.1 | 69.2 | no | -
[27 empty] | Biopsy PPV in % - dignostic | 86.1 | 82.1 | no | -
23 | Using computer-aided detection in mammography as a decision support | Samulski et al. | detection of brest cancer on mammography | breast cancer | NA | mammograms | NA | NA | 120 | 40 | yes (externally) | Image Checker (version 8.0, R2 Technology, proprietary, CNN) | treat or diagnose | critical | 4 | colored circle around the suspicious lesion if ROI is queried malignancy score | NA | malignancy score 0-100 | retrospective, crossed, sequencial, multireader | 120 | second reader | Malignant lesions were biopsy proven. No information on benign lesions | 10 to 60 training cases | 4 | radiologists | certified in mammography | Mean correct localization fraction in the false-positive fraction interval ranging from 0 to 0.1 | 24.9 | 29.3 | NA | + | [7 empty] | informal feedback | no | NA | 2 false positive per image cancer selected from a pool of cancer missed during first screening in real life readers were encouraged to mark at least one lesion per mammograph unless obviously normal The radiologists queried far fewer false positive regions than the non-radiologists non-radiologists improved more with the system than radiologists
[27 empty] | Average reading time per case in seconds | 70 | 72.8 | yes | +
[24 empty] | 5 | non-radiologists | experience in mammography | Mean correct localization fraction in the false-positive fraction interval ranging from 0 to 0.1 | 25.2 | 39.2 | NA | +
[27 empty] | Average reading time per case in seconds | 97 | 96.7 | no | -
[24 empty] | 9 | physicians | both group together | Mean correct localization fraction in the false-positive fraction interval ranging from 0 to 0.1 | 25.1 | 34.8 | yes | +
[27 empty] | Average reading time per case in seconds | 84.7 | 85.9 | no | +
24 | Impact of a CAD system in a screen-film mammography screening program: A prospective study | Sanchez Gomez et al. | detection of brest cancer on mammography | breast cancer | NA (regional) | mammographs | NA | NA | 21855 | 94 women 105 carcinomas | yes (externally) | SecondLook (version 1.1, propriatory) | treat or diagnose | critical | 4 | squares or circles around the suspicious lesions | NA | 2 groups classification (normal/benign or recall) | prospective, single reader, in clinical settings | a fraction of 21855 (3643 in average) | second reader | not clearly stated, probably biopsy and follow up | NA | 6 | radiologists | 2 general radiologists with 3-9 months experience in mammography 4 specialised breast radiologists with 2 to 10 years experience in mammography | Recall rate | 7.2 | 7.6 | no | + | yes | 6 radiologists | Sensitivity in % | 84 | 97.1 | NA | + | NA | no | NA | Analyses the cost in performance due to the lack of trust (13 true positive ignored) CAD made radiologists change their mind 0.8% of the time CAD false positive in 16'910 (77.4%) cases CAD true positive marks: 2.4 in 1000 breaks down the detection rate per lesion type and histology argues that less experienced readers might more prone to misinterpret CAD marks
[27 empty] | Biospy rate |  |  | no | + 0.023% |  |  | Specificity in % | 13.2 | 92.8 | NA | +
[27 empty] | PPV of biopsy | 20.23 | 20.23 | no | 0 |  |  | PPV in % | 0.46 | 6.1 | NA | +
[27 empty] | Sensitivity in % | 96.1 | 97.1 | NA | + |  |  | NPV in % | 99.4 | 99.5 | NA | +
[27 empty] | Specificity in % | 93.2 | 92.8 | NA | -
[27 empty] | PPV in % | 6.4 | 6.1 | NA | -
[27 empty] | NPV in % | 99.5 | 99.5 | NA | 0
[27 empty] | Cancer detection rate in 0/00 | 4.2 | 4.3 | yes | +
[27 empty] | Number of cases detected | 93 | 94 | yes | +
25 | Using a Deep Learning Algorithm and Integrated Gradients Explanation to Assist Grading for Diabetic Retinopathy | Sayres et al. | grading diabetic retinopathy on fundus images | diabetic retinopathy | multiple | retinal fundus images | >1.6 millions | NA | 1796 | 213 | possibly not | CNN | treat or diagnose | serious | 3 | Grades of relative strength of evidence for each diabetic retinopathy category + heatmap in explanatory mode | explanation heatmap highlighting image regions that most contribute to the prediction | confidence in diagnosis scale (0-5) | retrospective, multimodal, multireader | 1796 (only once, in one of the three modes) | first reader | consensus of three experienced opthalmologists | Briefing, no training cases | 10 | opthalmologists | 5 board certified ophtalmologists 4 fellowship trained retina specialists 1 retina fellow (2 groups together) | Sensitivity in % (average) - grades | 79.4 | 87.5 | NA | + | yes | 10 opthalmologists | Sensitivity in % (average) - grades | 91.5 | 87.5 | NA | - | NA | yes | NA | uses mixed effects model In cases with no DR, heatmaps decrease accuracy (significantly) In cases with DR both grades and heatmaps improve accuracy (significantly) It seems less experienced readers benefited more from the system Analyses cases were CAD led to a change in classification grading with heatmaps was significantly faster than with grades only CAD increased reading time, unclear if significant significant effects of learing curve (improvement in accuracy) noted for CAD with heatmaps evaluates trust => significant improvement in agreement human + CAD heatmaps <=> CAD significant decrease in reading time over time Increase in confidence more so for grade only than grade + heatmap condition
[27 empty] | Specificity in % (average) - grades | 96.6 | 96.1 | NA | - |  |  | Specificity in % (average) - grades | 94.7 | 96.1 | NA | +
[27 empty] | Accuracy in % - grades |  |  | yes | + |  |  | Sensitivity in % (average) - grades + heatmap | 91.5 | 88.7 | NA | -
[27 empty] | Sensitivity in % (average) - grades + heatmap | 79.4 | 88.7 | NA | + |  |  | Specificity in % (average) - grades + heatmap | 94.7 | 95.5 | NA | +
[27 empty] | Specificity in % (average) - grades + heatmap | 96.6 | 95.5 | NA | - |  | 5 general ophtalmologists | Accuracy in % - grades |  |  | no | -
[27 empty] | Accuracy in % - grades + heatmap |  |  | no | + |  |  | Accuracy in % - grades + heatmaps |  |  | no | -
[27 empty] | Accuracy in % - algorithm correct - grades | 91.1 | 94.4 | yes | + |  | 5 retina specialists | Accuracy in % - grades |  |  | yes | +
[27 empty] | Accuracy in % - algorithm correct - grades + heatmaps | 91.1 | 92.6 | yes | + |  |  | Accuracy in % - grades + heatmaps |  |  | yes | +
[27 empty] | Accuracy in % - algorithm incorrect - grades | 37 | 32.4 | no | -
[27 empty] | Accuracy in % - algorithm incorrect - grades + heatmaps | 37 | 33.14 | no | -
[27 empty] | Confidence (cases very or extremely confident) - grades | appr. 72% | appr. 79% | yes | +
[27 empty] | Confidence (cases very or extremely confident) - grades + heatmaps | appr. 72% | appr. 81 % | yes | +
[24 empty] | 5 | opthalmologists | general opthalmologists | Accuracy in % - grades | 46.3 | appr. 58 | NA | +
[27 empty] | Accuracy in % - grades + heatmap | 46.3 | appr. 56 | NA | +
[24 empty] | 5 | opthalmologists | retina specialist | Accuracy in % - grades | 62.3 | appr. 70 | NA | +
[27 empty] | Accuracy in % - grades + heatmap | 62.3 | appr. 66 | NA | +
26 | Evaluation of Clinical Breast MR Imaging Performed with Prototype Computer-aided Diagnosis Breast MR Imaging Workstation: Reader Study | Shimauchi et al. | diagnosis of breast lesion on MRI | breast cancer | 2 | breast MRI | 121 | 77 | 60 | 30 | yes (externally) | Bayesian artificial neural network | treat or diagnose | critical | 4 | contours of segmented lesion; graphical representation of estimated probability of malignancy ; two kinetic curves informing about signal intensity over time; images showing associated most-enhancing regions within given lesion | details about features and probability distribution | probability of malignancy score 0-100 recomended management | retrospective, multireader | 60 | second reader | histopathology | 10 practice cases | 6 | radiologists | breast imaging attending (18 and 6 years of experience) breast imaging fellows | AUROC | 0.8 | 0.84 | yes | + | yes | 6 radiologists | AUROC | 0.86 | 0.84 | NA | - | NA | probably | NA | Assesses the influence of disease prevalence on readers' PPV and NPV Assesses changes in management for both benign and malignant lesions Readers were also instructed to mark at least one finding per case, unless a case was so obviously normal that no reasonable finding could be marked
[27 empty] | Sensitivity in % | 83 | 88 | yes | +
[27 empty] | Specificity in % | 50 | 53 | no | +
[27 empty] | PPV in % | 66 | 68 | no | +
[27 empty] | NPV in % | 75 | 83 | yes | +
[27 empty] | Mean - PPV at 20% prevalence | 39 | 41 | NA | NA
[27 empty] | Mean - PPV at 10% prevalence | 28 | 29 | NA | NA
[27 empty] | Mean - NPV at 20% prevalence | 92 | 95 | NA | NA
[27 empty] | Mean - NPV at 10% prevalence | 96 | 98 | NA | NA
27 | CAD in full-field digital mammography—influence of reader experience and application of CAD on interpretation of time | Sohns et al. | detection of brest cancer on mammography | breast cancer | NA | mammograms | NA | NA | 303 | 98 | yes (externally) | Image Checker (version 2.3, R2 Technology, proprietary, CNN) | treat or diagnose | critical | 4 | pinpoint regions of interest | NA | BI-RADS classification ACR types breast tissue classification | retrospective, multimodal, multireader | 303 | first reader | N/A | NA | 1 | NA | resident | Median time - early research | 22.6 | 23.56 | NA | + | [7 empty] | NA | NA | NA | inexperienced users take longer with CAD, experienced user approximately the same time (significant difference) the CAD had more influence on inexperience reader than experience readers (significant difference for malignant and begnin groups)
[27 empty] | Median time - benign | 26.53 | 28.24 | NA | +
[27 empty] | Median time - malignant | 27.54 | 30.43 | NA | +
[24 empty] | 1 | NA | attending | Median time - early research | 7.47 | 6.8 | NA | -
[27 empty] | Median time - benign | 11.12 | 10.93 | NA | -
[27 empty] | Median time - malignant | 11.37 | 11.32 | NA | -
28 | Impact of Deep Learning Assistance on the Histopathologic Review of Lymph Nodes for Metastatic Breast Cancer | Steiner et al. | detection of metastatic breast cancer in lymph nodes | Breast cancer | 2 | digitalized pathology slides | 270 | 110 | 70 | 38 | yes | convolutional neural network | treat or diagnose | critical | 4 | heatmap highlighting suspicious regions of interest | not found | classification (negative, isolated tumor cells cluster, micrometastasis, macrometastasis) | fully crossed, intermodal, multireader | 70 | first reader | consensus of 3 experienced pathologists | 5 cases training session, participation in pilot study | 6 | pathologists | 1-15 years of experience | sensitivity in % (micrometastasis) | 83.3 (76.4-90.2) | 91.2 (86.-96.5) | yes | + | yes | 6 pathologists with 1-15 years experience | Sensitivity in % at 100% specificity (micrometastasis) | 85 | ? (all individual pathologist performed equally or better) | NA | + | not found | yes | not found | uses mixed effect model to account for both readers and reading conditions
[27 empty] | sensitivity in % (macrometastasis) | appr. 96 | appr. 95 | no | -
[27 empty] | specificity in % | appr. 99 | 100 | no | +
[27 empty] | time to decision in s (negative) | 137 (126-148) | 111 (101-121) | yes | -
[27 empty] | time to decision in s (isolated tumor cells) | 145 (123-166) | 124 (104-145) | no | -
[27 empty] | time to decision in s (micrometastasis) | 117 (102-133) | 61 (54-69) | yes | -
[27 empty] | time to decision in s (macrometastasis) | 39 (25-55) | 34 (21-47) | no | -
[27 empty] | subjective "obviousness score" (negative) | 67.5 (63.6-71.2) | 72.0 (68.7-75.3) | no | +
[27 empty] | subjective "obviousness score" (isolated tumor cells) | 55.6 (47.7-63.5) | 50.4 (42.2-58.6) | no | -
[27 empty] | subjective "obviousness score" (micrometastasis) | 63.1 (58.3-67.9) | 83.6 (80.3-86.9) | yes | +
[27 empty] | subjective "obviousness score" (macrometastasis) | 90.1 (86.4-93.7) | 93.1 (90.0-96.1) | no | +
only one group described
29 | Distinction between phyllodes tumor and fibroadenoma in breast ultrasoundusing deep learning image analysis | Stoffel et al. | differentiating between phylloid tumors and fibroadenomas | phylloid tumors of the breast | 1 | breast US | 53 | 25 | 33 | 11 | yes (internally) for CAD test no for clinicians test | ViDi Suite (Version 2.0, Cognex Inc, proprietary deep network) | treat or diagnose | critical | 4 | system "rating" | NA | classification through a confidence in diagnosis scale (0-5) | retrospective, sequencial, multireader | 33 | first reader | histopathology | NA | 1 | radiologist | board certified - 8 years of experience | AUC | 0.61 | 0.77 | no | + | yes | board certified - 8 years of experience | AUC | 0.73 | 0.77 | NA | + | NA | no | NA | test set for clinicians uses same data as training set
[24 empty] | 1 | radiologist | board certified - 3 years of experience | AUC | 0.77 | 0.75 | no | - |  | board certified - 3 years of experience | AUC | 0.73 | 0.75 | NA | +
[24 empty] | 1 | radiologist | board certified - 2 years of experience | AUC | 0.75 | 0.87 | no | + |  | board certified - 2 years of experience | AUC | 0.73 | 0.87 | NA | +
[24 empty] | 1 | radiologist | 3rd year resident | AUC | 0.74 | 0.84 | no | + |  | 3rd year resident | AUC | 0.73 | 0.84 | NA | +
30 | A Computer-aided Diagnostic Algorithm Improves the Accuracy of Transoesophageal Echocardiography for Left Atrial Thrombi | Sun et al. | diagnosis of left atrial or left atrial appendage's thrombi | left atrial or left atrial appendage's thrombi in patients with AF | 1 | transesophageal echocardiography | NA | NA | 130 | 31 | NA | ANN | treat or diagnose | serious | 3 | Highlights ROI and likelihood score for binary decision on whether or not left atrial thrombi is present | NA | diagnosing the presence of a thrombus | prospectively acquired data, retrospectively analysed, multireader | 130 | second reader | CT scan + successful therapy with Warfarin for 6 months or thrombus found during surgery | NA | 3 | radiologists | described as "senior" | Rad 1 - Accuracy | 0.883 | 0.997 | NA | NA | yes | 5 radiologists | Accuracy | 0.909 | 0.966 | NA | + | NA | no | yes | shows significant performance difference in all metrics between junior and senior radiologists for unassisted diagnosis this difference becomes non significative with CAD support
[27 empty] | Rad 1 - sensitivity | 0.961 | 0.968 | NA | NA |  |  | Sensitivity | 0.863 | 0.955 | NA | +
[27 empty] | Rad 1 - specificity | 0.859 | 0.98 | NA | NA |  |  | Specificity | 0.923 | 0.97 | NA | +
[27 empty] | Rad 1 - PPV | 0.68 | 0.938 | NA | NA |  |  | PPV | 0.779 | 0.908 | NA | +
[27 empty] | Rad 1 - NPV | 0.986 | 0.99 | NA | NA |  |  | NPV | 0.956 | 0.986 | NA | +
[27 empty] | Rad 1 - AUROC | 0.854 | 0.943 | yes | + |  |  | AUROC | 0.909 | 0.932 | NA | +
[27 empty] | Rad 2 - Accuracy | 0.874 | 0.973 | NA | NA
[27 empty] | Rad 2 - sensitivity | 0.955 | 0.984 | NA | NA
[27 empty] | Rad 2 - specificity | 0.848 | 0.97 | NA | NA
[27 empty] | Rad 2 - PPV | 0.664 | 0.91 | NA | NA
[27 empty] | Rad 2 - NPV | 0.984 | 0.995 | NA | NA
[27 empty] | Rad 2 - AUROC | 0.848 | 0.942 | yes | +
[27 empty] | Rad 3 - Accuracy | 0.865 | 0.969 | NA | NA
[27 empty] | Rad 3 - sensitivity | 0.935 | 0.952 | NA | NA
[27 empty] | Rad 3 - specificity | 0.842 | 0.975 | NA | NA
[27 empty] | Rad 3 - PPV | 0.65 | 0.922 | NA | NA
[27 empty] | Rad 3 - NPV | 0.977 | 0.985 | NA | NA
[27 empty] | Rad 3 - AUROC | 0.827 | 0.936 | NA | +
[24 empty] | 2 | radiologists | described as "junior" | Rad 4 - Accuracy | 0.803 | 0.962 | NA | NA
[27 empty] | Rad 4 - sensitivity | 0.916 | 0.935 | NA | NA
[27 empty] | Rad 4 - specificity | 0.768 | 0.97 | NA | NA
[27 empty] | Rad 4 - PPV | 0.553 | 0.906 | NA | NA
[27 empty] | Rad 4 - NPV | 0.967 | 0.98 | NA | NA
[27 empty] | Rad 4 - AUROC | 0.819 | 0.88 | NA | +
[27 empty] | Rad 5 - Accuracy | 0.775 | 0.95 | NA | NA
[27 empty] | Rad 5 - sensitivity | 0.897 | 0.935 | NA | NA
[27 empty] | Rad 5 - specificity | 0.737 | 0.955 | NA | NA
[27 empty] | Rad 5 - PPV | 0.517 | 0.866 | NA | NA
[27 empty] | Rad 5 - NPV | 0.958 | 0.979 | NA | NA
[27 empty] | Rad 5 - AUROC | 0.821 | 0.86 | yes | +
[24 empty] | 5 | radiologists | junior and senior | Accuracy | 0.84 | 0.966 | yes | +
[27 empty] | Sensitivity | 0.933 | 0.955 | yes | +
[27 empty] | Specificity | 0.811 | 0.97 | yes | +
[27 empty] | PPV | 0.613 | 0.908 | yes | +
[27 empty] | NPV | 0.974 | 0.986 | yes | +
[27 empty] | AUROC | 0.834 | 0.932 | yes | +
31 | Computer-aided detection of brain metastasis on 3D MR imaging: Observer performance study | Sunwoo et al. | detection of brain metastasis | brain metastasis | 1 | brain MRI | 80 | 80 (450 nodules) | 60 | 30 (134 nodules) | yes (internally) | k-means clustering ANN | treat or diagnose | critical | 4 | ROI box + probability score | NA | identify all metastasis candidates and give a confidece score | prospectively acquired data, multireader | 60 | second reader | consensus of 2 experienced neuroradiologists with access to follow up studies | NA | 4 | Radiologists | 2-7 years experience | Sensitivity (per patient) in % | 77.6 | 81.9 | NA | + | yes | 4 radiologists | Algorithm A - Sensitivity in % | 87.3 | 81.9 | NA | - | NA | no | NA | Gives subgroup analysis when tiny nodules are excluded
[27 empty] | False positive per patient | 0.18 | 0.18 | NA | 0 |  |  | Algorithm A - FP per patient | 302.4 | 0.18 | NA | -
[27 empty] | FOM | 0.87 | 0.9 | yes | +
[27 empty] | Failure to detect at least one nodule in positive patients | 0.066667 | 0.041667 | NA | -
[27 empty] | Detection of at least one FP in negative patients | 0.05 | 0.041667 | NA | -
[27 empty] | Accuracy (per patient) | 94.2 | 95.8 | NA | +
[24 empty] | 2 | radiologists | residents (2 and 4 yearsexperience) | Sensitivity (per patient) in % | 67.9 | 76.1 |  | +
[27 empty] | False positive per patient | 0.1 | 0.12 |  | +
[24 empty] | 2 | radiologist | board-certified neuroradiologists (7 years of experience) | Sensitivity (per patient) in % | 87.3 | 88.7 |  | +
[27 empty] | False positive per patient | 0.25 | 0.25 |  | 0
32 | An image feature approach for computer-aided detection of ischemic stroke | Tang et al. | detection of ischemic stroke | ischemic stroke | multiple | Head CT scans | 30 | 20 | 30 (for CAD) 71 | 20 (for CAD) 40 | no (for CAD, but leave-one- out) yes (but internally) | ANN (for the final classification phase) | treat or diagnose | critical | 4 | highlight suspicious regions | NA | confidence of diagnosis score | retrospectively acquired data, multireader | 40 (20 normal, 20 abnormal) | second reader | consensus of 2 experienced radiologists > 10 years exerience | NA | 2 | emergency physicians | average 2.5 years experience | AUROC | 0.879 | 0.942 | NA | + | [7 empty] | NA | no | NA | Describes features weighting in the results section
[24 empty] | 2 | radiology residents | average 6 years experience | AUROC | 0.965 | 0.99 | NA | +
[24 empty] | 2 | radiology specialists | average 9.5 years experience | AUROC | 0.998 | 0.999 | NA | +
33 | Computer-aided diagnosis for (123I)FP-CIT imaging: impact on clinical reporting | Taylor et al. | diagnosis of Parkinsonian syndroms | Parkinsonian syndroms | 1 multiple | (123I)FP-CIT SPECT | 304 (alg 1) 328 (alg 2) | 191 (alg 1) 224 (alg 2) | 55 (local) 100 (PPMI) | 33 60 | yes (internally and externally) | linear support vector machine | treat or diagnose | serious | 3 | 5-point scale probability of belonging to the disease class | NA | two groups classification (normal, equivocal, abnormal) via confidence score | retrospective, sequencial, multireader | 55 100 | second reader | 2 experienced neurologists with access to follow-up data (local), PPMI core lab team (PPMI) | NA | 1 | radiologist | more than 5 years experience | Rad 1 - Sensitivity - local |  |  | NA | 0 | yes | 1 radiologist | Rad 1 - Sensitivity - local |  |  | NA | 0 | interviews on human-CADx relationship and CADx effects on decision making | no | NA | comparison first-second read gives info on intra-observer reliability, comparison between second and third read about the system's performance results show intra-observer variability uses two-way random model reports percentage of cases where the operators changed their mind with CADx
[27 empty] | Rad 1 - Specificity - local |  |  | NA | 0 |  |  | Rad 1 - Specificity - local |  |  | NA | -
[27 empty] | Rad 1 - Accuracy - local |  |  | NA | 0 |  |  | Rad 1 - Accuracy - local |  |  | NA | +
[27 empty] | Rad 1 - Sensitivity - PPMI |  |  | NA | + |  |  | Rad 1 - Sensitivity - PPMI |  |  | NA | -
[27 empty] | Rad 1 - Specificity - PPMI |  |  | NA | + |  |  | Rad 1 - Specificity - PPMI |  |  | NA | +
[27 empty] | Rad 1 - Accuracy - PPMI |  |  | NA | + |  |  | Rad 1 - Accuracy - PPMI |  |  | NA | +
[24 empty] | 1 | radiologist | more than 5 years experience | Rad 2 - Specificity - local |  |  | NA | + |  | 1 radiologist | Rad 2 - Sensitivity - local |  |  | NA | 0
[27 empty] | Rad 2 - Accuracy - local |  |  | NA | 0 |  |  | Rad 2 - Specificity - local |  |  | NA | -
[27 empty] | Rad 2 - Sensitivity - local |  |  | NA | - |  |  | Rad 2 - Accuracy - local |  |  | NA | -
[27 empty] | Rad 2 - Sensitivity - PPMI |  |  | NA | + |  |  | Rad 2 - Sensitivity - PPMI |  |  | NA | 0
[27 empty] | Rad 2 - Specificity - PPMI |  |  | NA | + |  |  | Rad 2 - Specificity - PPMI |  |  | NA | +
[27 empty] | Rad 2 - Accuracy - PPMI |  |  | NA | + |  |  | Rad 2 - Accuracy - PPMI |  |  | NA | +
[24 empty] | 2 | radiologists | the same radiologists | Inter-observer reliability - local |  |  | NA | +
[27 empty] | Inter-observer reliability - PPMI |  |  | yes | +
34 | A cloud-based computer-aided detection system improves identification of lung nodules on computed tomography scans of patients with extra-thoracic malignancies | Vassallo et al. | reporting of lung nodule in patients with extra-thoracic malignancy | lung metastasis | 1 | CT thorax | 949 | NA | 225 | 75 (215 nodules) | yes | SVM | treat or diagnose | critical | 4 | ROI + nodule measurements | NA | identification of lung metastasis on CT | retrospectively acquired data, multireader | 225 | second reader | 2 experienced radiologists with follow up record if needed | NA | 3 | radiologists | 3-35 years of experience | Sensitivity (per nodule) in % | 65 | 88 | yes | + | yes | 3 radiologists | Sensitivity (per nodule) in % | 85 | 88 | NA | + | NA | no | NA | Evaluate additional time taken to review CAD outputs as second reader evaluates change in sensitivity according to nodule caracteristics (significant for all subgroups except 6-9mm ad calcified) compares number of FP and FN with/without CAD
[27 empty] | Sensitivity (per patient) in % | 75 | 82 | yes | +
[27 empty] | Specificity (per patient) in % | 85 | 82 | no | -
[27 empty] | Reading time | 296 | 329 | yes | +
35 | Improved Cancer Detection Using Artificial Intelligence: a Retrospective Evaluation of Missed Cancers on Mammography | Watanabe et al. | detection of brest cancer on mammography | Breast cancer | 1 (community healthcare facilit) | breast mammographs | unknown | unknown | 122 | 90 | yes | cmAssist (propriatory, DL-CNN) | treat or diagnose | critical | 4 | flaging box on the mammograph + malignancy probability score | not found | classification (normal, recallable) | second reader study, multireader | 120 | second reader | consensus of 2 experts mammographers with biopsy results | no attempt to familiarise | 4 | radiologists | group 1 (general radiologists 1-42 years experience) | Cancer detection rate in % | 40.3 | 59 | NA | + | no | 7 radiologistes (group 1 + 2) | AUC (individual readers) | 0.66 |  | ? (5/7 radiologists performed better) | + | not found | yes | not found | AUC of the computer system significantly lower on the current test set than on the manufactuer test set (AUC = 0.9) Experience group built by the author after data analysis according to the effect of the CAD system (one radiologist with 42 years experience in the "less experienced group") Introduce the concept of theoritical reader accuracy, i.e. how would the readers have performed if no flag were ignored * comparison not made by the authors but interesting as demonstrating that combined readers have better AUROC that computer. Significant AUROC difference between group 1 and 2 (case scoring) Selected cases were missed by previous readers using R2 ImageChecker
[27 empty] | Number of false positive recall (average) | 5.7 | 7 | NA | + |  |  | AUC (combined readers) | 0.66 | 0.81 | see comments * | +
[27 empty] | Number of calcification recall (average) | 6 | 11.7 | NA | +
[27 empty] | Number of discarded computer flag (calcification) | NA | 5.3 | NA | NA
[27 empty] | Number of mass recall (average) | 30.7 | 41.7 | NA | +
[27 empty] | Number of discarded computer flag (mass) | NA | 13 | NA | NA
[24 empty] | 3 | radiologists | group 2 (mammography fellowship trained radiologists 5-19 years experience) | Cancer detection rate in % | 58.5 | 63.75 | NA | +
[27 empty] | False positive recall (average) | 8 | 7.5 | NA | -
[27 empty] | Number of calcification recall (average) | 8.5 | 10.25 | NA | +
[27 empty] | Number of discarded computer flag (calcification) | NA | 6.75 | NA | NA
[27 empty] | Number of mass recall (average) | 44 | 47 | NA | +
[27 empty] | Number of discarded computer flag (mass) | NA | 10.25 | NA | NA
[24 empty] | 7 | radiologists | group 1 + 2 | AUC (combined readers, case scoring) | 0.76 | 0.81 | yes | +
36 | Computer-Aided Diagnosis of Lung Nodules on CT Scans: ROC Study of Its Effect on Radiologists’ Performance | Way et al. | classification (benign/malignant) of pulmonary nodules | lung cancer or metastasis | 1 | CT thorax | 256 | 124 | 256 | 124 | no (CAD tested using leave- one-out method) | linear discriminant analysis | treat or diagnose | critical | 4 | integer 0-10 representing the likelihood of malignancy + class distribution curves | displays the fitted class distribution | estimated the likelihood of malignancy (0-100%), recommended management, features description | retrospectively acquired data, multireader | NA | second reader | biopsy, other known metastatic diseases or 2 years follow up, reviewed by one expert thoracic radiologist | one training session, unknown number of cases | 6 | thoracic radiologists | fellowship-trained (1 to 8 years post fellowship training) | AUROC | 0.833 | 0.853 | yes | + | yes | 6 radiologists | AUROC | 0.857 | 0.853 | NA | - | NA | no | NA | uses the Dorfman-Berbaum-Metz method to account for multireader multimodal condition uses Obuchowsky method to account for correlation between nodules from the same patients readers made correct changes in 95 out of 126 changes with CAD investigates the hypothetical impact on clinical decisons (non significant changes in correct decisions)
[27 empty] | AUROC with true positive fraction > 0.9 | 0.39 | 0.456 | yes | + |  |  | AUROC with true positive fraction > 0.9 | 0.476 | 0.456 | NA | -
[27 empty] | AUROC - primary cancer VS benign subset | 0.823 | 0.848 | yes | +
[27 empty] | AUROC with true positive fraction > 0.9 - primary cancer VS benign subset | 0.338 | 0.415 | yes | +
[27 empty] | AUROC - metastatic cancer VS benign subset | 0.849 | 0.861 | no | +
[27 empty] | AUROC with true positive fraction > 0.9 - metastatic cancer VS benign subset | 0.493 | 0.535 | yes | +
[27 empty] | Change in recommnded action |  |  | no | +
37 | Application of Computer-Aided Diagnosis to the Sonographic Evaluation of Cervical Lymph Nodes | Zhang et al. | classification (benign/malignant) of cervical lymph nodes | lymph nodes cancer or metastasis | 1 | cervical lymph nodes US | 100 | 50 | 178 | 87 | yes (internally) | SVM | treat or diagnose | critical | 4 | likelihood of malignancy, 10 features in context of the training set | gives details about features in context of the training set | estimated the likelihood of malignancy (0-100%), recommended management | retrospectively acquired data, multireader | 178 | second reader | biopsy or 6 months follow up | 30 training cases | 5 | radiologists | expert (12-21 years of experience in sonography) | AUROC | 0.843 | 0.896 | yes | + | yes | 10 radiologists | AUROC | 0.892 | 0.859 | NA | - | NA | no | yes (but no protocol number) | During training cases, readers saw the gold standard results after making their decision, the overall performance of the system was also presented Mention learning curves (time to get familiar with the system breaks down the number of changes in management per malignancy group CAD brings novice performance closer to expert performance without CAD (difference was no longer significant) range of performance reduces with CAD
[27 empty] | Sensitivity in % | 83.5 | 88.8 | yes | + |  |  | Sensitivity in % | 84.2 | 84.7 | NA | +
[27 empty] | Specificity in % | 75.6 | 76 | no | + |  |  | Specificity in % | 84.4 | 74.5 | NA | -
[27 empty] | Inter-observer agreement (k score) | 0.36 | 0.457 | yes | +
[27 empty] | Complete agreement of management recommendations | 34 | 45 | NA | NA
[27 empty] | Correct recommendations | 27 | 37 | NA | NA
[27 empty] | Mean reading time | 16.8 | 21.2 | yes | +
[24 empty] | 5 | radiologists | resident with limited experience | AUROC | 0.705 | 0.822 | yes | +
[27 empty] | Sensitivity in % | 63.2 | 80.7 | yes | +
[27 empty] | Specificity in % | 62.6 | 72.9 | yes | +
[27 empty] | Inter-observer agreement (k score) | 0.151 | 0.413 | yes | +
[27 empty] | Complete agreement of management recommendations | 20 | 41 | NA | NA
[27 empty] | Correct recommendations | 12 | 30 | NA | NA
[27 empty] | Mean reading time | 24.5 | 30.6 | yes | +
[24 empty] | 10 | radiologists | both group together | AUROC | 0.774 | 0.859 | yes | +
[27 empty] | Sensitivity in % | 73.3 | 84.7 | yes | +
[27 empty] | Specificity in % | 69.1 | 74.5 | yes | +
[27 empty] | Complete agreement of management recommendations | 15 | 31 | NA | NA
[27 empty] | Correct recommendations | 10 | 28 | NA | +
[27 empty] | Inter-observer agreement (k score) | 0.195 | 0.421 | yes | +