Solutions:

- Bead stock (0.83µm diameter carboxy-modified layer (CML) latex beads (at ~4% w/v) from idclatex.com)

- EDAC = Invitrogen; E2247; 100mg; £24

- goat anti-(rabbit IgG) = AbCam; ab6702; 1mg; £99, freeze on arrival (25ul aliquots)

- 50mM MES pH 6

Prepare at least 2 eppendorfs (=100ul each, and we use ~5ul a time)

1. Add 100µl beads to1.5ml 50mM MES pH 6.0

2. Spin down (13k rpm, 7 min), start preparing EDAC

3. Resuspend in 50µl of 50mg/ml EDAC (so that’s 2.5mg/50ul in 50mM MES)

4. 15 min sonication

5. Add 1.5 ml MES and spin down (13k rpm, 7min).

6. Repeat two more times.

7. Resuspend in 25µl (2.4 mg/ml (stock conc)) goat anti-rabbit IgG, + 75µl MES

8. 15 sonication

9. Place in a “rotor” (just some motor device that rotates the Eppendorf continuously to make sure beads don’t settle to bottom of tube) for ~3h (or overnight at 4oC, or ideally, 3h at room-temp then overnight at 4 degC).

10.	Keep this solution as stock (= “α-IgG stock beads”) at 4oC (lasts a few months)

Note: EDAC is subject to competing hydrolysis… best way to store it once you’ve opened the vial is to measure out the smallest quantities you can deposit into a Eppendorf (write on the Eppendorf exactly how many mg it contains after you’ve weighed Eppendorf before and after) either in a dry nitrogen chamber or with a stream of dry nitrogen gas gently running in the vague vicinity of the Eppendorf, and then store dry at -20oC. You can then take out an individual Eppendorf and make up to 50 mg/ml in MES and use just for that particular day.

[2.5- 5mg aliquots are best]