## Data
Serial | Sample ID | Date | start time | end time | Village | Bari | Household | School | Block | N | E | Elev (m) | Acc (m) | aquifer | depth (ft) | As tested results? | water temp © | pH | EC (uS/cm) | TDS (mg/L) | turb (NTU) | TLF1 (ppb) | TLF2 (ppb) | TLF3 (ppb) | CDOM1 (ppb) | CDOM2 (ppb) | CDOM3 (ppb) | TLF_Avg (ppb) | CDOM_Avg (ppb) | TLF:CDOM | E.coli (MPN/100mL) | E.coli_dup (MPN/100mL) | Risk | DOC (mg/L) | DOC_dup | Interview done? | Notes
1 | SC-BA-01 | 2018-07-06 | 8:50 | 10:30 | V31 |  |  | 120 No. Munshirhat Govt. Pri. School | A | 2317.806 | 9041.481 | 14 | 6 | deep | unknown | safe | 28 | 6.28 | 2650 | 1354 | 0.52333 | 2.0883 | 2.04 | 2.02 | 4.355 | 4.3283 | 4.32 | 2.0494 | 4.3344 | 0.47283 | 13.6 | no | High | 0.72 |  | yes - me with Gopal and Joy Deep | we were recording volume of pumped water for calibration, hopefully we can work faster when we don't have to do this; organic sulfurous smell
2 | HH-BA-02 | 2018-07-06 | 15:30 | 16:30 | V59 | 35 | 471 |  | A | 2320.286 | 9042.556 | 10 | 6 | shallow | 280 | unknown | 27.2 | 6.45 | 1469 | 701 | 24 | 0.735 | 0.76 | 0.73833 | 0.73 | 0.73667 | 0.735 | 0.74444 | 0.73389 | 1.0144 | 0 | no | Low |  | yes | yes - Joy Deep | as we continued to pump more water there was increasing amounts of sediment. The first DOC rinse filter had a small amount of large reddish sediment. The later two filters had increasingly black, sparkly, fine sediment. By the time we used the probes the water was very murky. initial turbitiy was around 25 but we did it again with the water from the last TLF sample and it was 60 NTU; latrine a couple of metres away from the well
3 | HH-BA-03 | 2018-07-06 | 16:50 | 17:30 | V59 | 25 | 424 |  | A | 2320.149 | 9042.551 | 10 | 3 | shallow | 250 | safe | 27.9 | 6.76 | 1525 | 718 | 0.3 | 0.34833 | 0.34833 | 0.32167 | 0.30333 | 0.29 | 0.29833 | 0.33944 | 0.29722 | 1.1421 | 0 | no | Low | 0.47 |  | yes - Joy Deep | none
4 | SC-IE-04 | 2018-07-07 | 10:15 | 11:00 | C00 |  |  | 96 No. South Sarderkandi Govt. Pri. School | IE | 2320.773 | 9039.538 | 3 | 3 | deep | 700 | safe | 28.5 | 6.77 | 578 | 261 | 6.76 | 1.0183 | 0.98333 | 0.98833 | 2.38 | 2.2867 | 2.3083 | 0.99667 | 2.325 | 0.42867 | 4.7 | 4.7 | Int | 0.41 |  | yes - me with Gopal | fine dark sediment on the filter, I took a photo; looks like Fe staining (red) on the tubewell slab
5 | SC-IE-05 | 2018-07-07 | 11:35 | 12:00 | V53 |  |  | 107 No. Chotohaldia Govt. Pri. School | IE | 2321.576 | 9039.309 | 12 | 3 | deep | 669 | safe | 28.6 | 6.66 | 1010 | 462 | 1.26 | 3.2167 | 3.1833 | 3.125 | 6.7017 | 6.7033 | 6.6667 | 3.175 | 6.6906 | 0.47455 | 0 | no | Low |  | yes | yes - me with Gopal | filters look clear; this was the tubewell by the very green pond and slide
6 | HH-IE-06 | 2018-07-07 | 13:20 | 14:20 | C00 | 30 | 217 |  | IE | 2320.769 | 9039.575 | 2 | 3 | shallow | 50 | unknown | 28.5 | 6.74 | 718 | 326 | 1.76 | 7.2383 | 7.2167 | 7.1367 | 30.295 | 30.44 | 30.3633 | 7.1972 | 30.3661 | 0.23701 | 0 | no | Low |  |  | yes - me with Gopal | a few small reddish flecks; skunky smell (not sulfurous)
7 | HH-IE-07 | 2018-07-07 | 14:30 | 15:20 | C00 | 37 | 1078 |  | IE | 2320.832 | 9039.57 | 16 | 3 | shallow | unknown | safe | 27.7 | 7.02 | 384 | 175 | 0 | 5.8883 | 5.87 | 5.78 | 26.3667 | 26.5133 | 26.5083 | 5.8461 | 26.4628 | 0.22092 | 0 | no | Low | 1.62 |  | yes - me with Gopal | filter paper was clear; can't tell what the water smells like because all I could smell was cow poo from the cow pen a few meters away
8 | HH-IE-08 | 2018-07-07 | 15:30 | 16:45 | C00 | 38 | 252 |  | IE | 2320.836 | 9039.561 | 21 | 4 | shallow | 60 | unknown | 27.8 | 6.92 | 404 | 183.8 | 3.47 | 7.745 | 7.815 | 7.815 | 27.8683 | 28.27 | 28.3583 | 7.7917 | 28.1656 | 0.27664 | 100 | no | VHigh | 2.11 |  | yes - me with Gopal | very fine grey sediment; was drilled 15 days ago and does not have a concrete slab yet; metalic smell probably from the pump
9 | SC-BC-09 | 2018-07-08 | 9:20 | 10:15 | N00 |  |  | 21 No. West Aswinpur Govt. Pri. School | C | 2324.184 | 9045.478 | 3 | 3 | shallow | 95 | unsafe | 27.8 | 7.09 | 3380 | 1642 | 0.26 | 45.9717 | 46.7717 | 47.6 | 126.5717 | 129.1833 | 128.565 | 46.7811 | 128.1067 | 0.36517 | 13.6 | 1 | High | 6.69 | 6.94 | yes - me with Joy Deep | filter paper was discoloured (faded orangey); there is a latrine 1m away; the logger was broken but left there, it looks like someone was trying to open it but not steal it
10 | HH-BC-10 | 2018-07-08 | 10:20 | 10:55 | N00 | #N/A | #N/A |  | C | 2324.212 | 9045.547 | -7 | 3 | shallow | 180 | safe | 28.1 | 6.92 | 3510 | 1701 | 1.05 | 3.6183 | 3.6517 | 3.65 | 8.93 | 8.9533 | 8.9083 | 3.64 | 8.9306 | 0.40759 | 4.7 | no | Int | 1.34 |  | no | very few small flecks on filter paper but no discolouration; also a latrine 1m away; the owner is the head teacher from SC-BC-09 school
11 | SC-BC-11 | 2018-07-08 | 11:15 | 12:20 | N00 |  |  | 143 No. Aswinpur Govt. Primary School | C | 2323.938 | 9046.129 | 12 | 4 | deep | 700 | unknown | 28.7 | 6.86 | 969 | 442 | 3.72 | 1.355 | 1.38 | 1.4233 | 2.8933 | 2.8983 | 2.9167 | 1.3861 | 2.9028 | 0.47751 | 1.5 | no | Int |  |  | yes - me with Joy Deep | filter paper had small to med few particulates and orange discolouration
12 | SC-BC-12 | 2018-07-08 | 13:20 | 13:50 | V26 |  |  | Nanayanpur Popular High School | C | 2322.383 | 9046.226 | 16 | 6 | shallow | 250 | unknown | 27.5 | 7 | 1824 | 871 | 1.52 | 0.38333 | 0.41167 | 0.38 | 0.64167 | 0.62833 | 0.61833 | 0.39167 | 0.62944 | 0.62224 | 0 | no | Low | 0.3 |  | yes - me with Joy Deep | filter paper had a bit of very fine black sediment; can smell latrine that 1m away; it is quite difficult to pump
13 | HH-BC-13 | 2018-07-08 | 14:30 | 14:55 | DXO | 4 | 36 |  | C | 2323.787 | 9046.421 | 29 | 3 | shallow | 120 | unknown | 27.7 | 7.06 | 567 | 260 | 1.04 | 24.1433 | 23.8717 | 23.6767 | 98.0233 | 98.4383 | 98.605 | 23.8972 | 98.3556 | 0.24297 | 4.7 | 13.6 | Int | 4.44 | 4.63 | yes - me with Joy Deep | filter paper clear but water in the large red bucket looks milky white (JD took a photo); latrine a few metres away
14 | HH-BC-14 | 2018-07-08 | 15:00 | 16:00 | DXO | 4 | 28 |  | C | 2323.773 | 9046.405 | 9 | 3 | shallow | 90 | safe | 27.9 | 7.3 | 663 | 304 | 1.21 | 29.7867 | 29.125 | 29.5217 | 119.51 | 116.7633 | 124.5367 | 29.4778 | 120.27 | 0.2451 | 3.2 | no | Int |  |  | yes - me with Joy Deep | filter paper clear but bucket a bit murky; latrine 5-7m away
15 | SC-BB-15 | 2018-07-09 | 9:10 | 10:10 | V26 |  |  | 12 No. South Nanayanpur Govt. Primary School | B | 2321.8 | 9045.919 | -1 | 3 | shallow | 200 | unknown | 27.5 | 7.62 | 1999 | 958 | 0.67 | 11.93 | 11.6833 | 11.665 | 43.6917 | 42.84 | 42.765 | 11.7594 | 43.0989 | 0.27285 | 1.2 | 4.7 | Int |  | yes | yes - me with Joy Deep | filter paper clear
16 | SC-BB-16 | 2018-07-09 | 10:20 | 11:20 | VBB |  |  | 162 No. Nagda Govt. Pri. School | B | 2320.868 | 9045.288 | 1 | 3 | shallow | 200 | safe | 27.8 | 7.11 | 1858 | 881 | 2.96 | 23.7867 | 23.935 | 23.55 | 74.5433 | 74.31 | 71.21 | 23.7572 | 73.3544 | 0.32387 | 9.6 | no | Int | 4.45 |  | yes - me with Joy Deep | a few small dark flecks
17 | SC-BB-17 | 2018-07-09 | 11:30 | 12:30 | VBB |  |  | 11 No. West Nagda Govt. Pri. School | B | 2320.881 | 9044.892 | 2 | 4 | shallow | 230 | unsafe | 28 | 7.18 | 1931 | 914 | 8.52 | 1 | 0.97833 | 0.98167 | 2.0767 | 2.0783 | 2.1133 | 0.98667 | 2.0894 | 0.47221 | 48.3 | no | High | 0.69 |  | yes - me with Joy Deep | first one mostly clear but next two covered with fine sand, more grey brown than red
18 | HH-BB-18 | 2018-07-09 | 12:45 | 13:45 | VBB | 53 | 386 |  | B | 2320.896 | 9044.904 | 17 | 3 | shallow | 180 | unknown | 28.2 | 7.21 | 1958 | 923 | 24.4 | 2.9367 | 2.8783 | 2.8133 | 6.1833 | 6.29 | 6.43 | 2.8761 | 6.3011 | 0.45645 | 1.1 | 5.8 | Int |  | yes | yes - me with Joy Deep | filter paper fully covered with fine black and sparkly sand, more comes out with longer pumping
19 | SC-BB-19 | 2018-07-09 | 15:40 | 16:40 | V85 |  |  | 34 No. Bhanurpara Govt. Pri. School | B | 2322.309 | 9045.343 | 15 | 3 | shallow | 400 | unsafe | 28 | 7.16 | 1669 | 716 | 0.31 | 23.735 | 23.9417 | 23.6183 | 56.295 | 56.97 | 56.785 | 23.765 | 56.6833 | 0.41926 | 0 | no | Low | 3.1 |  | yes - me with Joy Deep | filter paper clear
20 | HH-BB-20 | 2018-07-09 | 16:45 | 17:30 | B85 | 1 | 160 |  | B | 2322.35 | 9045.298 | 19 | 3 | shallow | 95 | unknown | 27.8 | 7.05 | 1772 | 840 | 0.13 | 1.855 | 1.8467 | 1.84 | 4.6567 | 4.6983 | 4.6933 | 1.8472 | 4.6828 | 0.39447 | 0 | no | Low | 0.77 |  | yes - me with Joy Deep | filter paper clear
21 | SC-BA-21 | 2018-07-10 | 9:30 | 10:50 | W00 |  |  | 111 No. Matlab Model Govt. Primary School | A | 2320.695 | 9042.393 | -7 | 3 | shallow | 180 | safe | 27.6 | 6.83 | 1375 | 648 | 0.33 | 0.14333 | 0.093333 | 0.105 | 0.19333 | 0.21 | 0.20333 | 0.11389 | 0.20222 | 0.56319 | 4.7 | no | Int | 0.59 | 0.6 | yes - me with Joy Deep | filter paper mostly clear with some yellow staining
22 | SC-BA-22 | 2018-07-10 | 11:00 | 12:30 | #N/A |  |  | Mattabgonj Pilot Girls High School | A | 2320.947 | 9042.354 | 16 | 4 | shallow | 160 | safe | 28 | 6.99 | 1315 | 614 | 2.31 | 0.24667 | 0.24 | 0.21333 | 0.52333 | 0.515 | 0.52333 | 0.23333 | 0.52056 | 0.44824 | 100 | no | VHigh | 0.63 |  | yes - me with Joy Deep | filter paper had some fine grey-green particulates; rotten-egg sulfurous odour
23 | SC-BA-23 | 2018-07-10 | 12:45 | 13:45 | V32 |  |  | 24 No. Mobarakdi Govt. Primary School | A | 2318.854 | 9041.278 | 6 | 3 | deep | 650 | safe | 28.5 | 6.59 | 1246 | 575 | 1.95 | 0.8 | 0.81833 | 0.82 | 2.2483 | 2.2367 | 2.23 | 0.81278 | 2.2383 | 0.36312 | 1.1 | no | Int | 0.56 |  | yes - me with Joy Deep | filter paper had a few red flecks and some very very fine black/grey sediment
24 | HH-BA-24 | 2018-07-10 | 16:10 | 16:45 | V11 | 3 | #N/A |  | A | 2320.468 | 9042.281 | 19 | 4 | shallow | 180 | safe | 27.9 | 7.02 | 1437 | 674 | 2.06 | 0.046667 | 0.055 | 0.045 | 0.13833 | 0.12 | 0.12833 | 0.048889 | 0.12889 | 0.37931 | 0 | 0 | Low |  | yes | yes - me with Joy Deep very brief | first had few very fine black sediment, second one clear
25 | HH-BA-25 | 2018-07-10 | 17:00 | 17:45 | V11 | 3 | 38 |  | A | 2320.462 | 9042.317 | 21 | 4 | shallow | 180 | safe | 28 | 6.72 | 1519 | 714 | 1.59 | 0.235 | 0.23 | 0.20833 | 0.22 | 0.22 | 0.21667 | 0.22444 | 0.21889 | 1.0254 | 0 | no | Low |  |  | yes - me with Joy Deep very brief | filter paper with some very fine light coloured material on it
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## TLF_Raw
Sample ID | Dup | Rep1 | Rep2 | Rep3 | Rep4 | Rep5 | Rep6 | Average
SC-BA-01 | TLF1 | 2.02 | 2.05 | 2.1 | 2.15 | 2.08 | 2.13 | 2.0883
SC-BA-01 | TLF2 | 2.09 | 2.06 | 2.04 | 1.98 | 2.05 | 2.02 | 2.04
SC-BA-01 | TLF3 | 1.94 | 1.97 | 2.07 | 2.06 | 2.06 | 2.02 | 2.02
SC-BA-01 | CDOM1 | 4.36 | 4.34 | 4.37 | 4.38 | 4.32 | 4.36 | 4.355
SC-BA-01 | CDOM2 | 4.25 | 4.32 | 4.38 | 4.33 | 4.35 | 4.34 | 4.3283
SC-BA-01 | CDOM3 | 4.3 | 4.35 | 4.31 | 4.34 | 4.33 | 4.29 | 4.32
HH-BA-02 | TLF1 | 0.73 | 0.79 | 0.72 | 0.7 | 0.73 | 0.74 | 0.735
HH-BA-02 | TLF2 | 0.79 | 0.8 | 0.75 | 0.74 | 0.76 | 0.72 | 0.76
HH-BA-02 | TLF3 | 0.8 | 0.75 | 0.73 | 0.7 | 0.69 | 0.76 | 0.73833
HH-BA-02 | CDOM1 | 0.73 | 0.73 | 0.75 | 0.71 | 0.72 | 0.74 | 0.73
HH-BA-02 | CDOM2 | 0.75 | 0.71 | 0.73 | 0.74 | 0.75 | 0.74 | 0.73667
HH-BA-02 | CDOM3 | 0.77 | 0.71 | 0.75 | 0.73 | 0.74 | 0.71 | 0.735
HH-BA-03 | TLF1 | 0.34 | 0.33 | 0.37 | 0.34 | 0.34 | 0.37 | 0.34833
HH-BA-03 | TLF2 | 0.35 | 0.37 | 0.38 | 0.33 | 0.32 | 0.34 | 0.34833
HH-BA-03 | TLF3 | 0.35 | 0.31 | 0.3 | 0.31 | 0.36 | 0.3 | 0.32167
HH-BA-03 | CDOM1 | 0.31 | 0.29 | 0.3 | 0.31 | 0.3 | 0.31 | 0.30333
HH-BA-03 | CDOM2 | 0.29 | 0.28 | 0.28 | 0.3 | 0.3 | 0.29 | 0.29
HH-BA-03 | CDOM3 | 0.29 | 0.3 | 0.3 | 0.31 | 0.29 | 0.3 | 0.29833
SC-IE-04 | TLF1 | 1.09 | 1.05 | 0.95 | 1.04 | 1 | 0.98 | 1.0183
SC-IE-04 | TLF2 | 0.92 | 0.95 | 0.97 | 1.06 | 1 | 1 | 0.98333
SC-IE-04 | TLF3 | 0.98 | 0.98 | 1 | 1.01 | 0.99 | 0.97 | 0.98833
SC-IE-04 | CDOM1 | 2.3 | 2.3 | 2.3 | 2.29 | 2.32 | 2.77 | 2.38
SC-IE-04 | CDOM2 | 2.33 | 2.34 | 2.19 | 2.31 | 2.29 | 2.26 | 2.2867
SC-IE-04 | CDOM3 | 2.32 | 2.28 | 2.31 | 2.33 | 2.29 | 2.32 | 2.3083
SC-IE-05 | TLF1 | 3.19 | 3.25 | 3.25 | 3.23 | 3.1 | 3.28 | 3.2167
SC-IE-05 | TLF2 | 3.28 | 3.14 | 3.17 | 3.28 | 3.17 | 3.06 | 3.1833
SC-IE-05 | TLF3 | 3.19 | 3.08 | 3.21 | 3.13 | 3.03 | 3.11 | 3.125
SC-IE-05 | CDOM1 | 6.71 | 6.68 | 6.7 | 6.75 | 6.65 | 6.72 | 6.7017
SC-IE-05 | CDOM2 | 6.76 | 6.68 | 6.71 | 6.68 | 6.67 | 6.72 | 6.7033
SC-IE-05 | CDOM3 | 6.7 | 6.64 | 6.75 | 6.61 | 6.66 | 6.64 | 6.6667
HH-IE-06 | TLF1 | 7.23 | 7.33 | 7.26 | 7.2 | 7.18 | 7.23 | 7.2383
HH-IE-06 | TLF2 | 7.2 | 7.15 | 7.27 | 7.24 | 7.17 | 7.27 | 7.2167
HH-IE-06 | TLF3 | 7.18 | 7.21 | 7.13 | 7.11 | 7.12 | 7.07 | 7.1367
HH-IE-06 | CDOM1 | 30.31 | 30.25 | 30.36 | 30.31 | 30.3 | 30.24 | 30.295
HH-IE-06 | CDOM2 | 30.46 | 30.38 | 30.4 | 30.5 | 30.56 | 30.34 | 30.44
HH-IE-06 | CDOM3 | 30.41 | 30.39 | 30.34 | 30.41 | 30.25 | 30.38 | 30.3633
HH-IE-07 | TLF1 | 5.84 | 5.87 | 5.85 | 5.9 | 5.96 | 5.91 | 5.8883
HH-IE-07 | TLF2 | 5.93 | 5.92 | 5.78 | 5.83 | 5.98 | 5.78 | 5.87
HH-IE-07 | TLF3 | 5.75 | 5.78 | 5.78 | 5.83 | 5.77 | 5.77 | 5.78
HH-IE-07 | CDOM1 | 26.34 | 26.38 | 26.39 | 26.3 | 26.45 | 26.34 | 26.3667
HH-IE-07 | CDOM2 | 26.49 | 26.39 | 26.59 | 26.66 | 26.43 | 26.52 | 26.5133
HH-IE-07 | CDOM3 | 26.42 | 26.49 | 26.55 | 26.47 | 26.53 | 26.59 | 26.5083
HH-IE-08 | TLF1 | 7.67 | 7.72 | 7.8 | 7.79 | 7.77 | 7.72 | 7.745
HH-IE-08 | TLF2 | 7.93 | 7.84 | 7.96 | 7.88 | 7.65 | 7.63 | 7.815
HH-IE-08 | TLF3 | 7.74 | 7.87 | 7.87 | 7.91 | 7.79 | 7.71 | 7.815
HH-IE-08 | CDOM1 | 27.92 | 27.93 | 27.78 | 27.86 | 27.94 | 27.78 | 27.8683
HH-IE-08 | CDOM2 | 28.33 | 28.26 | 28.19 | 28.36 | 28.14 | 28.34 | 28.27
HH-IE-08 | CDOM3 | 28.4 | 28.35 | 28.33 | 28.3 | 28.31 | 28.46 | 28.3583
SC-BC-09 | TLF1 | 46.33 | 45.95 | 45.9 | 46.01 | 45.88 | 45.76 | 45.9717
SC-BC-09 | TLF2 | 47.13 | 46.69 | 46.88 | 46.63 | 46.77 | 46.53 | 46.7717
SC-BC-09 | TLF3 | 48.19 | 47.83 | 47.39 | 47.61 | 47.26 | 47.32 | 47.6
SC-BC-09 | CDOM1 | 127.33 | 127 | 126.66 | 126.36 | 126.2 | 125.88 | 126.5717
SC-BC-09 | CDOM2 | 129.82 | 129.52 | 129.42 | 128.98 | 128.89 | 128.47 | 129.1833
SC-BC-09 | CDOM3 | 130.47 | 128.99 | 128.47 | 128.06 | 127.71 | 127.69 | 128.565
HH-BC-10 | TLF1 | 3.58 | 3.55 | 3.63 | 3.66 | 3.62 | 3.67 | 3.6183
HH-BC-10 | TLF2 | 3.64 | 3.71 | 3.68 | 3.57 | 3.63 | 3.68 | 3.6517
HH-BC-10 | TLF3 | 3.64 | 3.67 | 3.64 | 3.63 | 3.76 | 3.56 | 3.65
HH-BC-10 | CDOM1 | 8.85 | 8.91 | 8.95 | 8.94 | 8.92 | 9.01 | 8.93
HH-BC-10 | CDOM2 | 9.01 | 8.89 | 8.99 | 8.96 | 8.92 | 8.95 | 8.9533
HH-BC-10 | CDOM3 | 9 | 8.96 | 8.88 | 8.94 | 8.94 | 8.73 | 8.9083
SC-BC-11 | TLF1 | 1.4 | 1.36 | 1.33 | 1.37 | 1.35 | 1.32 | 1.355
SC-BC-11 | TLF2 | 1.37 | 1.35 | 1.37 | 1.41 | 1.39 | 1.39 | 1.38
SC-BC-11 | TLF3 | 1.43 | 1.41 | 1.47 | 1.43 | 1.39 | 1.41 | 1.4233
SC-BC-11 | CDOM1 | 2.89 | 2.92 | 2.86 | 2.88 | 2.92 | 2.89 | 2.8933
SC-BC-11 | CDOM2 | 2.9 | 2.89 | 2.91 | 2.93 | 2.91 | 2.85 | 2.8983
SC-BC-11 | CDOM3 | 2.92 | 2.94 | 2.93 | 2.87 | 2.91 | 2.93 | 2.9167
SC-BC-12 | TLF1 | 0.37 | 0.39 | 0.36 | 0.41 | 0.36 | 0.41 | 0.38333
SC-BC-12 | TLF2 | 0.45 | 0.39 | 0.41 | 0.44 | 0.39 | 0.39 | 0.41167
SC-BC-12 | TLF3 | 0.36 | 0.37 | 0.39 | 0.37 | 0.4 | 0.39 | 0.38
SC-BC-12 | CDOM1 | 0.64 | 0.65 | 0.63 | 0.67 | 0.61 | 0.65 | 0.64167
SC-BC-12 | CDOM2 | 0.63 | 0.64 | 0.6 | 0.62 | 0.65 | 0.63 | 0.62833
SC-BC-12 | CDOM3 | 0.6 | 0.63 | 0.65 | 0.61 | 0.62 | 0.6 | 0.61833
SC-BC-13 | TLF1 | 24.39 | 24.05 | 24.11 | 24.06 | 24.07 | 24.18 | 24.1433
SC-BC-13 | TLF2 | 24 | 24.08 | 23.76 | 23.96 | 23.76 | 23.67 | 23.8717
SC-BC-13 | TLF3 | 24.09 | 24.03 | 23.56 | 23.37 | 23.62 | 23.39 | 23.6767
SC-BC-13 | CDOM1 | 98.52 | 98.32 | 98.07 | 97.87 | 97.76 | 97.6 | 98.0233
SC-BC-13 | CDOM2 | 99.59 | 98.69 | 98.45 | 98.14 | 97.81 | 97.95 | 98.4383
SC-BC-13 | CDOM3 | 99.21 | 99.11 | 98.77 | 98.43 | 98.05 | 98.06 | 98.605
SC-BC-14 | TLF1 | 29.74 | 30.03 | 30.13 | 29.71 | 29.48 | 29.63 | 29.7867
SC-BC-14 | TLF2 | 29.53 | 29.33 | 29.1 | 29.01 | 28.95 | 28.83 | 29.125
SC-BC-14 | TLF3 | 29.83 | 29.6 | 29.4 | 29.54 | 29.31 | 29.45 | 29.5217
SC-BC-14 | CDOM1 | 120.3 | 120 | 119.9 | 119.5 | 118.95 | 118.41 | 119.51
SC-BC-14 | CDOM2 | 118.13 | 117.39 | 116.28 | 116.58 | 116.16 | 116.04 | 116.7633
SC-BC-14 | CDOM3 | 126.05 | 125.2 | 124.64 | 124.32 | 123.72 | 123.29 | 124.5367
SC-BB-15 | TLF1 | 11.91 | 11.88 | 11.99 | 11.98 | 11.96 | 11.86 | 11.93
SC-BB-15 | TLF2 | 11.36 | 11.72 | 11.81 | 11.73 | 11.81 | 11.67 | 11.6833
SC-BB-15 | TLF3 | 11.69 | 11.58 | 11.7 | 11.7 | 11.64 | 11.68 | 11.665
SC-BB-15 | CDOM1 | 43.83 | 43.64 | 43.77 | 43.82 | 43.57 | 43.52 | 43.6917
SC-BB-15 | CDOM2 | 42.96 | 43.01 | 42.81 | 42.79 | 42.65 | 42.82 | 42.84
SC-BB-15 | CDOM3 | 42.99 | 42.86 | 42.87 | 42.89 | 42.76 | 42.22 | 42.765
SC-BB-16 | TLF1 | 24 | 23.83 | 23.88 | 23.62 | 23.67 | 23.72 | 23.7867
SC-BB-16 | TLF2 | 24.3 | 24.22 | 23.83 | 23.89 | 23.81 | 23.56 | 23.935
SC-BB-16 | TLF3 | 24.08 | 23.86 | 23.36 | 23.37 | 23.41 | 23.22 | 23.55
SC-BB-16 | CDOM1 | 76.92 | 74.51 | 74.34 | 74.28 | 73.61 | 73.6 | 74.5433
SC-BB-16 | CDOM2 | 74.8 | 74.09 | 73.89 | 73.88 | 74.69 | 74.51 | 74.31
SC-BB-16 | CDOM3 | 72.18 | 71.53 | 71.09 | 70.84 | 70.91 | 70.71 | 71.21
SC-BB-17 | TLF1 | 0.97 | 0.99 | 0.95 | 1.04 | 0.99 | 1.06 | 1
SC-BB-17 | TLF2 | 0.95 | 0.99 | 1.01 | 0.97 | 0.97 | 0.98 | 0.97833
SC-BB-17 | TLF3 | 0.96 | 0.95 | 1.02 | 1.01 | 0.97 | 0.98 | 0.98167
SC-BB-17 | CDOM1 | 2.04 | 2.05 | 2.12 | 2.08 | 2.11 | 2.06 | 2.0767
SC-BB-17 | CDOM2 | 2.04 | 2.09 | 2.08 | 2.06 | 2.12 | 2.08 | 2.0783
SC-BB-17 | CDOM3 | 2.11 | 2.11 | 2.12 | 2.14 | 2.09 | 2.11 | 2.1133
HH-BB-18 | TLF1 | 3.01 | 2.92 | 2.81 | 2.99 | 2.86 | 3.03 | 2.9367
HH-BB-18 | TLF2 | 2.89 | 2.92 | 2.87 | 2.85 | 2.91 | 2.83 | 2.8783
HH-BB-18 | TLF3 | 2.82 | 2.81 | 2.76 | 2.84 | 2.81 | 2.84 | 2.8133
HH-BB-18 | CDOM1 | 6.23 | 6.17 | 6.19 | 6.16 | 6.2 | 6.15 | 6.1833
HH-BB-18 | CDOM2 | 6.36 | 6.29 | 6.29 | 6.3 | 6.22 | 6.28 | 6.29
HH-BB-18 | CDOM3 | 6.47 | 6.42 | 6.48 | 6.42 | 6.38 | 6.41 | 6.43
SC-BB-19 | TLF1 | 23.81 | 23.84 | 23.86 | 23.79 | 23.53 | 23.58 | 23.735
SC-BB-19 | TLF2 | 23.91 | 23.92 | 24.07 | 23.84 | 24.1 | 23.81 | 23.9417
SC-BB-19 | TLF3 | 23.83 | 23.64 | 23.72 | 23.45 | 23.32 | 23.75 | 23.6183
SC-BB-19 | CDOM1 | 56.51 | 56.24 | 56.26 | 56.22 | 56.19 | 56.35 | 56.295
SC-BB-19 | CDOM2 | 57.35 | 57.16 | 56.97 | 56.85 | 56.87 | 56.62 | 56.97
SC-BB-19 | CDOM3 | 57.29 | 56.93 | 56.96 | 56.41 | 56.54 | 56.58 | 56.785
HH-BB-20 | TLF1 | 1.83 | 1.89 | 1.86 | 1.83 | 1.79 | 1.93 | 1.855
HH-BB-20 | TLF2 | 1.79 | 1.87 | 1.88 | 1.85 | 1.83 | 1.86 | 1.8467
HH-BB-20 | TLF3 | 1.84 | 1.89 | 1.82 | 1.79 | 1.81 | 1.89 | 1.84
HH-BB-20 | CDOM1 | 4.66 | 4.67 | 4.65 | 4.63 | 4.67 | 4.66 | 4.6567
HH-BB-20 | CDOM2 | 4.69 | 4.68 | 4.66 | 4.74 | 4.72 | 4.7 | 4.6983
HH-BB-20 | CDOM3 | 4.64 | 4.72 | 4.72 | 4.66 | 4.73 | 4.69 | 4.6933
SC-BA-21 | TLF1 | 0.15 | 0.12 | 0.15 | 0.15 | 0.19 | 0.1 | 0.14333
SC-BA-21 | TLF2 | 0.07 | 0.11 | 0.1 | 0.09 | 0.1 | 0.09 | 0.093333
SC-BA-21 | TLF3 | 0.08 | 0.1 | 0.12 | 0.07 | 0.13 | 0.13 | 0.105
SC-BA-21 | CDOM1 | 0.2 | 0.2 | 0.17 | 0.19 | 0.21 | 0.19 | 0.19333
SC-BA-21 | CDOM2 | 0.22 | 0.22 | 0.2 | 0.19 | 0.22 | 0.21 | 0.21
SC-BA-21 | CDOM3 | 0.21 | 0.19 | 0.21 | 0.2 | 0.21 | 0.2 | 0.20333
SC-BA-22 | TLF1 | 0.26 | 0.27 | 0.24 | 0.22 | 0.25 | 0.24 | 0.24667
SC-BA-22 | TLF2 | 0.25 | 0.23 | 0.26 | 0.24 | 0.24 | 0.22 | 0.24
SC-BA-22 | TLF3 | 0.19 | 0.21 | 0.23 | 0.22 | 0.2 | 0.23 | 0.21333
SC-BA-22 | CDOM1 | 0.51 | 0.54 | 0.54 | 0.51 | 0.52 | 0.52 | 0.52333
SC-BA-22 | CDOM2 | 0.55 | 0.52 | 0.51 | 0.49 | 0.49 | 0.53 | 0.515
SC-BA-22 | CDOM3 | 0.52 | 0.53 | 0.51 | 0.52 | 0.53 | 0.53 | 0.52333
SC-BA-23 | TLF1 | 0.81 | 0.79 | 0.82 | 0.79 | 0.77 | 0.82 | 0.8
SC-BA-23 | TLF2 | 0.82 | 0.82 | 0.84 | 0.84 | 0.81 | 0.78 | 0.81833
SC-BA-23 | TLF3 | 0.83 | 0.84 | 0.8 | 0.82 | 0.81 | 0.82 | 0.82
SC-BA-23 | CDOM1 | 2.24 | 2.25 | 2.22 | 2.24 | 2.27 | 2.27 | 2.2483
SC-BA-23 | CDOM2 | 2.24 | 2.26 | 2.23 | 2.21 | 2.24 | 2.24 | 2.2367
SC-BA-23 | CDOM3 | 2.24 | 2.24 | 2.25 | 2.23 | 2.21 | 2.21 | 2.23
HH-BA-24 | TLF1 | 0.06 | 0.03 | 0.01 | 0.07 | 0.06 | 0.05 | 0.046667
HH-BA-24 | TLF2 | 0.07 | 0.05 | 0.05 | 0.07 | 0.05 | 0.04 | 0.055
HH-BA-24 | TLF3 | 0.05 | 0.04 | 0.04 | 0.03 | 0.04 | 0.07 | 0.045
HH-BA-24 | CDOM1 | 0.13 | 0.13 | 0.15 | 0.13 | 0.15 | 0.14 | 0.13833
HH-BA-24 | CDOM2 | 0.11 | 0.12 | 0.13 | 0.11 | 0.12 | 0.13 | 0.12
HH-BA-24 | CDOM3 | 0.13 | 0.12 | 0.13 | 0.14 | 0.13 | 0.12 | 0.12833
HH-BA-25 | TLF1 | 0.23 | 0.16 | 0.25 | 0.24 | 0.22 | 0.31 | 0.235
HH-BA-25 | TLF2 | 0.24 | 0.24 | 0.26 | 0.21 | 0.19 | 0.24 | 0.23
HH-BA-25 | TLF3 | 0.22 | 0.24 | 0.23 | 0.21 | 0.17 | 0.18 | 0.20833
HH-BA-25 | CDOM1 | 0.23 | 0.21 | 0.22 | 0.23 | 0.22 | 0.21 | 0.22
HH-BA-25 | CDOM2 | 0.23 | 0.22 | 0.22 | 0.21 | 0.21 | 0.23 | 0.22
HH-BA-25 | CDOM3 | 0.21 | 0.22 | 0.21 | 0.22 | 0.23 | 0.21 | 0.21667

## EEM
EEM Fluorescence and absorbance run for every sample and dups and reps as indicated.
Sample | Field Duplicate Run | Replicate Run | Humic/Fulvic | Tyrosine | Method notes.
BLK |  |  |  |  | calibration once per day is OK (on pure water)
1 |  | x |  | x | Do a blank every 10 samples to check for any instrument drift and confirm clean method.
2 | x |  |  | x | On EEM software, use dust-bin symbol to clear the screen before every new run.
3 |  |  |  | x | Absorbance:
4 |  |  |  | x |  | SetUp > data interval set to 1.00
5 | x |  |  | x |  | Baseline and zeroing calibrations needed.
6 |  | x | x | x |  | Must press finish after each run otherwise the data output is continuously added to the same excel tab.
BLK1 | [5 empty] | Don’t need to bin the chart after each run because it's just a single line and nice to see how the runs compare to one another.
7 |  | x | x | x | Good to acid wash the cuvette before use.
8 |  |  | x | x
9 | x |  | x
10 |  |  | x | x
11 |  | x |  | x
12 |  |  |  | x
13 | x |  | x
BLK2
14 |  |  | x
15 | x |  | x | x
16 |  |  | x | x
17 |  |  |  | x
18 | x |  |  | x
19 |  |  | x | x
20 |  |  |  | x
21 | x |  |  | x
BLK3
22 |  |  |  | x
23 |  |  |  | x
24 | x |  |  | x
25 |  | x |  | x
Field_BLK2 |  |  |  | x
Field_BLK3 |  |  |  | x
BLK4

## Calibration&QA
Coordinates from GPS + GLONASS
Position format hddd mm.mmm
Map datum and spheroid WGS 84
DOC blanks |  | mg/L
Blk1 | Distilled water
Blk2 | MilliQ water | 0.57
Blk3 | MilliQ water
EC Calibration Check
standard @25C | 1413 | uS/cm
2018-07-05 | 1298 | uS/cm
pH
standard | 4.01 | 7.01 | 10.01
2018-07-05 | 4.05 | 6.98 | 9.89
2018-07-10 | 3.99 | 7 | 9.89