Table S1. Summary of historical IAEA TRIC tests, target uncertainties for evaluating performance, sample IDs, reference dates, and number of participating laboratories.

Year	Participants	Reference	Sample	Reference Tritium	Target uncertainty

(Sent)	Date		Ratio & Uncertainty in TU	margin, TU (σp)

1965	12 (29) 		Sample A	< 100

Sample B	200 - 800

Sample C	1000 – 6000

1970 	35 (38) 		A 	~ 10

B	 ~ 50

C	~ 250

1975	 41 (79) 		A	< 0.2

B	8.37 ± 0.04

C	33.1 ± 0.1

D	678.5 ± 2.2

1985 	57 (85) 		A	< 0.2

B	5.94 ± 0.03

C	25.66 ± 0.13

D	100.2 ± 0.5

1994 	57 (91) 		A	~ 0

B	~ 1

C	~ 5

D	~ 19

2000 	86 (102) 	2000-07-01	T1	10.112 + 0.073 / -0.037

T2	2.152 + 0.044 / -0.008

T3	0 + 0.036 / -0

T4	5.252 + 0.055 / -0.019

T5	26.118 + 0.131 / -0.095

T6	505.83 + 1.88 / -1.84

2004 	70 (74)	2004-07-01 	T7 	0 + 0.050 / -0

T8 	10.920 + 0.064 / -0.040

T9 	1.738 + 0.050 / -0.006

T10 	5.433 + 0.054 / -0.020

T11 	25.408 + 0.105 / -0.092

T12 	1011.58 + 3.68 / -3.68

2008	63 (74) 	2008-12-01 	T14 	1.54 ± 0.05

T15 	4.07 ± 0.05

T16 	7.74 ± 0.06

T17 	14.46 ± 0.08

T18 	0.67 ± 0.05

T19	568.7 ± 2.3

2012	58 (68)	2012-12-01	T20 	0 + 0.02/-0

T21 	0.430 ± 0.018 	0.1

T22 	1.121 ± 0.033 	0.1

T23 	2.741 ± 0.074 	0.1

T24 	4.37 ± 0.12 	0.13

T25 	7.51 ± 0.20 	0.23

T26 	475 ± 13 	14

T27 	111.7 ± 2.9 	3.4

Figures S1-S6 -  Supplemental Materials.

S-plots for TRIC T29-T34 results sorted by laboratory code. Coloured dashed lines show the bounds of satisfactory and questionable performance. Error bars show the reported uncertainty

Figure S1.  Sample T29

Figure S2.  Sample T30

Figure S3.  Sample T31

Figure S4.  Sample T32 Figure S5.  Sample T33

Figure S6.  Sample T34

Figures 3a Set 1 and 3b Set 2-  Supplemental Materials.

Summed z-scores for TRIC Set 1 and Set 2 samples, showing laboratory’s ID on the x axis. Symbols denote LSC, MS and GPC laboratories.