## SW-Data
Awash Basin Authority |  |  |  | Water Quality Parameters
Surface Water sampling site resault
Month: March 2021
SID | StID | Location | SID | UTM X | UTM Y | Sampling Date | Flow | Temp. | pH | EC | TDS | Turb. | Alka. | HCO3- | CO32- | TH | Ca-CO3 | Ca | Mg-CO3 | Mg2+ | Na+ | K+ | NO3-N | NO3 | N | NO2- | Cl - | Nacl | F - | SO42- | S | PO43- | P- | NH3 | NH4+
| 1 | Awash River at Zeway Road | ARZR | 502349 | 929382 | 2021-02-04 |  | 23.8 | 7.83 | 803 | 402 | 3.67 | 285 | 350 | 170 | 160 | 85 | 34 | 178 | 43.3 | 3.87 | 3.05 | 1.24 | 5.57 | 0.067 | 0.22 | 135 | 225 | 1.37 | 18 | 6 | 1.45 | 0.05 | 0.14 | 0.15
| 2 | Modjo River downstream Factory | MRDT | 502812 | 931647 | 2021-02-04 |  | 23.6 | 8.21 | 2650 | 1129 | 32.8 | 2450 | 2950 | 1450 | 185 | 105 | 54 | 153 | 36.6 | 5.87 | 2.72 | 2.98 | 13.38 | 0.194 | 0.64 | 250 | 415 | 1.38 | 24 | 8 | 1.18 | 0.38 | 0.93 | 0.99
| 3 | Lake koka at Koka Dam | LKKD | 517216 | 936157 | 2021-02-04 |  | 22.9 | 8.15 | 360.8 | 180.5 | 2.39 | 170 | 225 | 110 | 110 | 48 | 19 | 147 | 35.7 | 2.48 | 1.36 | 2.17 | 9.75 | 0.014 | 0.046 | 135 | 225 | 1.06 | 8 | 3 | 0.31 | 0.1 | 6.9 | 7.35
| 4 | Awash River at Adama Water Tretment Intake | ARAdWSI | 519455 | 936960 | 2021-02-04 |  | 23.4 | 8.03 | 355.3 | 177.7 | 7.4 | 115 | 145 | 70 | 95 | 57 | 23 | 168 | 40.75 | 2.52 | 1.38 | 1.28 | 5.75 | 0.099 | 0.326 | 120 | 200 | 1.78 | 20 | 7 | 0.33 | 0.11 | 0.31 | 0.33
| 5 | Awash River after Adama Water Tretment | ARAdWS | 519455 | 936960 | 2021-02-04 |  | 23.1 | 7.72 | 362.5 | 181.3 | 1.52 | 160 | 195 | 95 | 155 | 57 | 23 | 172 | 42.1 | 2.52 | 1.36 | 1.19 | 5.34 | ND | ND | 125 | 205 | 2.39 | 18 | 6 | 2.91 | 1 | 0.25 | 0.27
| 6 | Awash River at Wonji Briedge | ARWB | 525435 | 937268 | 2021-01-04 |  | 23.3 | 8.35 | 378.9 | 189.8 | 9.26 | 170 | 205 | 105 | 110 | 44 | 17 | 132 | 32.09 | 2.65 | 1.41 | 1.93 | 8.67 | 0.047 | 0.155 | 120 | 195 | 1.88 | 21 | 7 | 2.1 | 0.7 | 0.26 | 0.28
| 7 | Awash River before Beseka mix/Methara water supply | ARBBM | 599654 | 976923 | 2021-01-04 |  | 24.7 | 8.09 | 435.6 | 217.5 | 8.15 | 180 | 220 | 110 | 140 | 57 | 23 | 129 | 31.4 | 3.09 | 1.49 | 2.18 | 9.79 | 0.067 | 0.22 | 115 | 190 | 1.87 | 4 | 1 | 0.14 | 0.05 | 0.25 | 0.27
| 8 | Awash River after treatement/Methara water supply | ARMeWS | 599971 | 980964 | 2021-01-04 |  | 24.2 | 8.02 | 453.2 | 226.4 | 2.83 | 190 | 235 | 115 | 170 | 60 | 24 | 129 | 31.3 | 3.11 | 1.74 | 2.31 | 10.37 | 0.004 | 0.013 | 115 | 190 | 2.32 | 3 | 1 | 0.22 | 0.07 | 0.29 | 0.31
| 9 | Methara sugar factory mils waste before entering AR | MSFMW | 601543 | 976932 | 31/3/2021 |  | 25.1 | 7.01 | 443.7 | 222.3 | 10.3 | 185 | 225 | 110 | 100 | 65 | 26 | 131 | 31.58 | 3 | 1.56 | 4.01 | 18.01 | 0.006 | 0.018 | 130 | 210 | 2.36 | 4 | 1 | 0.42 | 0.14 | 0.97 | 1.03
| 10 | Mertti camp sewage discharge before entering AR | MCSWW | 601099 | 977599 | 31/3/2021 |  | 22.3 | 7.94 | 2.1 | 1.053 | 3.01 | 1050 | 1300 | 650 | 130 | 109 | 44 | 139 | 33.79 | 6.65 | 2.74 | 6.31 | 28.34 | ND | ND | 120 | 195 | 2.94 | 200 | 65 | 5 | 1.6 | 11.02 | 11.74
| 11 | Lake Beseka at Canal | LB@Can | 600908 | 982402 | 31/3/2021 |  | 24.1 | 9.48 | 2770 | 1387 | 7.44 | 1350 | 1650 | 800 | 25 | 8 | 3 | 218 | 53.1 | 8.26 | 3.28 | 2.05 | 9.21 | 0.014 | 0.033 | 200 | 325 | 2.96 | 175 | 55 | 0.92 | 0.3 | 0.19 | 0.2
| 12 | Lake Beseka @ Intake | LB@Int | 600365 | 978746 | 31/3/2021 |  | 23.9 | 9.48 | 2810 | 1407 | 7.47 | 1380 | 1690 | 835 | 18 | 10 | 4 | 198 | 48.14 | 8.43 | 3.28 | 1.94 | 8.71 | 0.013 | 0.02 | 210 | 345 | 19.4 | 180 | 59 | 0.94 | 0.31 | 0.18 | 0.19
| 13 | Lake Beseka @ old road/car wash area | LBOR-01 | 599652 | 984278 | 31/3/2021 |  | 23.8 | 9.55 | 2830 | 1417 | 8.25 | 1200 | 1500 | 750 | 20 | 5 | 2 | 172 | 41.8 | 8.33 | 3.36 | 2.34 | 10.51 | 0.015 | 0.03 | 205 | 340 | 19.7 | 180 | 60 | 0.66 | 0.22 | 0.34 | 0.36
| 14 | Awash River after Beseka mix | ARABM | 609824 | 979426 | 31/3/2021 |  | 22.6 | 8.34 | 1128 | 563.8 | 5.21 | 400 | 480 | 240 | 90 | 23 | 9 | 156 | 37.9 | 5.52 | 2.1 | 2.12 | 9.52 | 0.115 | 0.381 | 220 | 360 | 18.5 | 70 | 23 | 0.31 | 0.11 | 0.57 | 0.61
| 15 | Awash River at Awash 7 Water supply | ARAWS | 629912 | 995525 | 30/3/2021 |  | 22.2 | 8.23 | 1068 | 534.5 | 10.2 | 310 | 380 | 180 | 95 | 26 | 10 | 152 | 36.95 | 5.57 | 2.05 | 1.96 | 8.8 | 0.045 | 0.148 | 230 | 375 | 17.2 | 64 | 21 | 0.49 | 0.16 | 0.53 | 0.56
| 16 | Awash town water supply/well-1/Chat Kella | AWSCK | 633099 | 998649 | 30/3/2021 |  | 38.8 | 7.39 | 553.8 | 276.8 | 1.78 | 225 | 275 | 135 | 150 | 62 | 24 | 154 | 37.35 | 3.04 | 1.23 | 1.57 | 7.05 | 0.002 | 0.007 | 155 | 255 | 12.4 | 7 | 2 | 0.61 | 0.21 | 12 | 12.8
| 17 | Awash town water supply/well-2/China camp | AWSCC | 635001 | 997927 | 30/3/2021 |  | 36.5 | 7.68 | 628.5 | 314.3 | 1.31 | 250 | 305 | 150 | 57 | 38 | 15 | 159 | 38.56 | 3.91 | 1.2 | 1.73 | 7.77 | 0.005 | 0.016 | 140 | 230 | 5.2 | 31 | 10 | 0.29 | 0.1 | 11 | 11.8
| 18 | Awash River at M/Sedi Weir site | ARWeS | 629714 | 992849 | 30/3/2021 |  | 24.2 | 8.05 | 1008 | 503.9 | 6.75 | 350 | 420 | 210 | 240 | 192 | 77 | 146 | 35.41 | 5.43 | 1.82 | 2.26 | 10.15 | 0.014 | 0.046 | 145 | 240 | 4.7 | 64 | 21 | 1.61 | 0.55 | 0.49 | 0.52
| 19 | Awash River at Metekai beridge | ARMeB | 666527 | 1103137 | 30/3/2021 |  | 26.8 | 8.22 | 1075 | 537.8 | 3.24 | 370 | 450 | 220 | 54 | 38 | 15 | 157 | 38.07 | 5.26 | 2.13 | 2.07 | 9.29 | 0.011 | 0.036 | 155 | 240 | 4.1 | 69 | 23 | 0.36 | 0.12 | 0.62 | 0.66
[6 empty] | Units | m3/sec | 0C | UL | µS/cm | mg/L | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | meq/L | meq/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
| Awash Basin Authority |  |  | Water Quality Parameters
Surface Water sampling site resault
Month: June 2021
| StID | Location Description | SID | UTM X | UTM Y | Sampling Date | Flow | Tem | pH | EC | TDS | Turb | Alkalinity | HCO3- | CO32- | TH | Ca-CO3 | Ca 2+ | Mg-CO3 | Mg2+ | Na+ | K+ | NO3-N | NO3 | NO2-N | NO2 | Cl - | NaCl | F - | SO42- | S | PO43- | P | NH3 | NH4+
| 1 | Awash River at Zeway Road | ARZR | 502349 | 929382 | 2021-12-06 |  | 23.8 | 8.41 | 578 | 289 | 149 | 260 | 320 | 155 | 180 | 108 | 44.4811 | 161 | 39 | 12.17 | 2.35 | 1.29 | 5.71 | 0.007 | 0.023 | 135 | 225 | 1.2 | 24 | 8 | 1.7 | 0.55 | 0.07 | 0.08
| 2 | Modjo River downstream Factory | MRDT | 502812 | 931647 | 2021-12-06 |  | 23.6 | 3.56 | 1762 | 1057 | 106 | 580 | 680 | 340 | 235 | 83 | 34.1845 | 140 | 34 | 20.87 | 2.79 | 2.38 | 10.55 | 3.6 | 11.8 | 250 | 415 | 1.3 | 80 | 26 | 2.8 | 0.9 | 9.12 | 9.71
| 3 | Modjo River @ old breidge | MDOB | 512621 | 951938 | 2021-12-06 |  | 22.9 | 8.42 | 767 | 383 | 22.7 | 310 | 380 | 190 | 160 | 86 | 35.4201 | 140 | 34 | 13.91 | 2.1 | 2.47 | 10.94 | 3.8 | 12.6 | 135 | 225 | 0.86 | 38 | 12 | 1.58 | 0.52 | 8.1 | 8.6
| 4 | Modjo River @ Modjo Tannery | MRMT | 509101 | 944952 | 2021-12-06 |  | 23.4 | 8.56 | 562 | 281 | 27.2 | 340 | 420 | 210 | 140 | 70 | 28.8303 | 152 | 37 | 12.61 | 1.93 | 2.09 | 9.26 | 0.008 | 0.026 | 120 | 200 | 1.18 | 3 | 1 | 0.99 | 0.33 | 0.06 | 0.06
| 5 | Lake Loka at Koka Dam | LKKD | 517216 | 936157 | 2021-12-06 |  | 23.1 | 7.23 | 432 | 216 | 163 | 210 | 210 | 210 | 210 | 34 | 14.0033 | 152 | 37 | 12.17 | 1.68 | 1.15 | 5.09 | 0.028 | 0.092 | 125 | 205 | 2.34 | 10 | 3 | 0.64 | 0.21 | 1.14 | 1.21
| 6 | Awash River after Adama Water Tretment | ARAdWS | 519455 | 936960 | 2021-12-06 |  | 23.3 | 7.23 | 471 | 235 | 1.9 | 165 | 205 | 100 | 100 | 76 | 31.3015 | 119 | 29 | 12.61 | 1.66 | 1.24 | 5.11 | 0.001 | 0.003 | 120 | 195 | 1.68 | 60 | 20 | 0.45 | 0.15 | 0.06 | 0.06
| 7 | Awash River at Wonji Briedge | ARWB | 525435 | 937268 | 13/6/2021 |  | 24.7 | 7.47 | 448 | 224 | 350 | 220 | 265 | 130 | 110 | 48 | 19.7694 | 128 | 31 | 12.61 | 1.71 | 1.78 | 7.306 | 0.019 | 0.063 | 115 | 190 | 1.6 | 14 | 5 | 0.62 | 0.2 | 0.13 | 0.14
| 8 | Awash River before Beseka mix /Methara water supply | ARBBM | 599654 | 976923 | 13/6/2021 |  | 24.2 | 7.68 | 496 | 248 | 568 | 265 | 315 | 155 | 130 | 50 | 20.5931 | 124 | 30 | 13.04 | 1.66 | 2.85 | 12.62 | 0.033 | 0.109 | 115 | 190 | 2.1 | 17 | 6 | 0.7 | 0.23 | 0.13 | 0.14
| 9 | Awash River after treatement /Methara water supply/ | ARMeWS | 599971 | 980964 | 13/6/2021 |  | 25.1 | 8.19 | 517 | 258 | 7.8 | 190 | 230 | 115 | 95 | 64 | 26.3591 | 111 | 27 | 13.04 | 1.74 | 2.91 | 12.88 | 0.013 | 0.043 | 130 | 210 | 2.06 | 31 | 10 | 0.48 | 0.16 | 0.05 | 0.05
| 10 | Methara sugar factory mils waste before entering AR | MSFMW | 601543 | 976932 | 13/6/2021 |  | 22.3 | 7.31 | 490 | 245 | 52.3 | 225 | 275 | 135 | 105 | 58 | 23.888 | 124 | 30 | 13.09 | 1.77 | 4.17 | 18.46 | 0.96 | 3.16 | 120 | 195 | 2.8 | 10 | 3 | 1.86 | 0.62 | 0.78 | 0.82
| 11 | Mertti camp sewage discharge before entering AR | MCSWW | 601099 | 977599 | 13/6/2021 |  | 24.1 | 8.07 | 1760 | 1056 | 16.6 | 1550 | 1900 | 950 | 170 | 89 | 36.6557 | 210 | 50 | 20.37 | 2.81 | 5.37 | 23.77 | 1.68 | 5.52 | 200 | 325 | 2.96 | 116 | 38 | 8.94 | 2.97 | 8.6 | 9.2
| 12 | Lake Beseka @ Canal | LB@Can | 600908 | 982402 | 14/6/2021 |  | 23.9 | 9.21 | 2520 | 1688 | 36.4 | 1750 | 2100 | 1050 | 25 | 3 | 1.2356 | 103 | 25 | 27.39 | 3.23 | 1.865 | 8.258 | 0.005 | 0.016 | 210 | 345 | 19.4 | 192 | 65 | 0.97 | 0.32 | 0.15 | 0.16
| 13 | Lake Beseka @ Intake | LB@Int | 600365 | 978746 | 14/6/2021 |  | 23.8 | 9.24 | 2480 | 1661 | 17.4 | 1600 | 1950 | 950 | 50 | 5 | 2.0593 | 95 | 23 | 27.83 | 3.17 | 1.917 | 8.482 | 0.008 | 0.026 | 205 | 340 | 19.7 | 192 | 66 | 1.1 | 0.35 | 0.14 | 0.16
| 14 | Lake Beseka @ old road/car wash area | LBOR-01 | 599451 | 984321 | 14/6/2021 |  | 22.6 | 9.46 | 3650 | 2482 | 4.66 | 2850 | 3500 | 1700 | 40 | 5 | 2.0593 | 95 | 23 | 32.61 | 3.83 | 1.743 | 7.729 | 0.009 | 0.03 | 215 | 355 | 18.5 | 232 | 79 | 0.82 | 0.27 | 0.32 | 0.34
| 15 | Lake Beseka @ old road /left side/ | LBOR-02 | 599439 | 984306 | 14/6/2021 |  | 22.2 | 9.27 | 2800 | 1876 | 8.22 | 2100 | 2550 | 1250 | 40 | 4 | 1.6474 | 103 | 25 | 30 | 3.39 | 1.835 | 8.127 | 0.008 | 0.026 | 220 | 360 | 17.2 | 200 | 69 | 0.7 | 0.23 | 0.12 | 0.14
| 16 | Lake Beseka @ Lodge | LB@Lodg | 593677 | 983218 | 14/6/2021 |  | 38.8 | 9.19 | 2410 | 1614 | 20.8 | 1900 | 2300 | 1150 | 30 | 3 | 1.2356 | 103 | 25 | 27.92 | 3.03 | 1.944 | 8.609 | 0.002 | 0.008 | 230 | 375 | 12.4 | 204 | 70 | 1.4 | 0.46 | 0.06 | 0.06
| 17 | Awash River after Beseka mix | ARABM | 609824 | 979426 | 14/6/2021 |  | 36.5 | 8.16 | 1165 | 757 | 179 | 510 | 620 | 305 | 110 | 34 | 14.0033 | 128 | 31 | 19.57 | 2.26 | 2.034 | 9.008 | 0.145 | 0.475 | 155 | 255 | 5.2 | 76 | 25 | 0.7 | 0.23 | 0.53 | 0.57
| 18 | Awash River at Awash 7 Water supply | ARAWS | 629912 | 995525 | 15/6/2021 |  | 24.2 | 8.24 | 965 | 482 | 53.4 | 480 | 590 | 290 | 115 | 25 | 10.2965 | 144 | 35 | 19.13 | 2.04 | 2.651 | 11.741 | 0.017 | 0.056 | 140 | 230 | 4.7 | 71 | 23 | 0.7 | 0.23 | 0.1 | 0.1
| 19 | Awash River @ Weir Site | ARWeS | 629714 | 992849 | 15/6/2021 |  | 26.8 | 8.22 | 984 | 492 | 138 | 450 | 550 | 270 | 130 | 20 | 8.2372 | 136 | 33 | 18.26 | 2.07 | 2.091 | 9.261 | 0.022 | 0.072 | 145 | 240 | 4.1 | 74 | 24 | 1.1 | 0.35 | 0.12 | 0.13
| 20 | Awash River @ Meteka Bredige | ARMeB | 666527 | 1103137 | 15/6/2021 |  | 26.8 | 8.24 | 1000 | 500 | 321 | 430 | 530 | 260 | 120 | 17 | 7.0016 | 140 | 34 | 17.83 | 1.8 | 2.637 | 11.679 | 0.009 | 0.03 | 145 | 240 | 3.8 | 69 | 23 | 1.15 | 0.4 | 0.08 | 0.09
|  |  | Unit |  |  |  |  | 0C | UN | µS/cm | mg/L | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | meq/L | meq/L | meq/L | meq/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
2021-08-01
| Awash Basin Authority |  |  | Water Quality Parameters
Surface Water sampling site resault
Month: August, 2021
| StID | Location Description | SID | UTM X | UTM Y | Sampling Dates | Flow | Temp | pH | EC | TDS | Turb | Alkalinity | HCO3- | CO32- | TH | Ca-CO3 | Ca 2+ | Mg-CO3 | Mg | Na+ | K+ | NO3-N | NO3 | NO2-N | NO2 | Cl - | NaCl | F - | SO42- | S | PO43- | P | NH3 | NH4+
| 1 | Awash River at Zeway Road | ARZR | 502349 | 929382 | 18/8/2021 |  |  | 6.59 | 198 | 99 | 1050 | 110 | 135 | 65 | 255 | 27 | 11 | 119 | 29 | 1.76 | 1.43 | 0.57 | 2.526 | 0.031 | 0.102 | 105 | 175 | 0.32 | 14 | 5 | 0.8 | 0.26 | 1.14 | 1.21
| 2 | Modjo River downstream Factory | MRDT | 502812 | 931647 | 18/8/2021 |  |  | 7.11 | 228 | 114 | 1035 | 110 | 130 | 60 | 255 | 112 | 45 | 115 | 18 | 2.01 | 1.31 | 1.18 | 5.225 | 0.007 | 0.023 | 115 | 190 | 0.84 | 24 | 8 | 1.86 | 0.62 | 0.89 | 0.93
| 3 | Modjo River @ old breidge | MDOB | 512621 | 951938 | 18/8/2021 |  |  | 7 | 209 | 105 | 1040 | 120 | 140 | 70 | 340 | 100 | 40 | 119 | 29 | 1.8 | 1.29 | 1.17 | 5.185 | 0.01 | 0.033 | 100 | 165 | 0.68 | 13 | 4 | 1.52 | 0.5 | 0.18 | 0.19
| 4 | Modjo River @ Modjo Tannery | MRMT | 509101 | 944952 | 18/8/2021 |  |  | 7.2 | 339 | 170 | 1020 | 90 | 100 | 50 | 230 | 115 | 46 | 119 | 29 | 3.09 | 1.46 | 1.39 | 3.07 | 0.014 | 0.046 | 96 | 158 | 0.72 | 24 | 8 | 1.08 | 0.34 | 0.67 | 0.71
| 5 | Lake Loka at Koka Dam | LKKD | 517216 | 936157 | 18/8/2021 |  |  | 6.85 | 225 | 113 | 138 | 95 | 115 | 55 | 250 | 67 | 27 | 115 | 28 | 2.51 | 1.68 | 0.596 | 2.64 | 0.019 | 0.063 | 105 | 170 | 0.88 | 11 | 4 | 0.8 | 0.26 | 0.76 | 0.92
| 6 | Awash River after Adama Water Tretment | ARAdWS | 519455 | 936960 | 18/8/2021 |  |  | 7.18 | 242 | 120 | 1.6 | 90 | 110 | 55 | 75 | 72 | 29 | 119 | 29 | 2.55 | 1.62 | 2.55 | 11.35 | 0.001 | 0.003 | 100 | 165 | 0.74 | 25 | 8 | 0.69 | 0.23 | 0.02 | 0.03
| 7 | Awash River at Wonji Briedge | ARWB | 525435 | 937268 | 19/8/2021 |  |  | 6.99 | 236 | 118 | 174 | 120 | 150 | 75 | 225 | 50 | 20 | 128 | 31 | 2.59 | 1.66 | 2.515 | 11.14 | 0.014 | 0.046 | 100 | 165 | 0.77 | 11 | 4 | 0.68 | 0.22 | 0.85 | 0.9
| 8 | Awash River before Beseka mix /Methara water supply | ARBBM | 599654 | 976923 | 19/8/2021 |  |  | 7.61 | 234 | 116 | 494 | 155 | 185 | 90 | 320 | 36 | 14 | 132 | 32 | 2.67 | 1.7 | 3.7 | 16.375 | 0.029 | 0.095 | 99 | 163 | 0.8 | 160 | 50 | 1.4 | 0.45 | 0.79 | 0.84
| 9 | Awash River after treatement /Methara water supply/ | ARMeWS | 599971 | 980964 | 19/8/2021 |  |  | 8.05 | 711 | 355 | 3.1 | 245 | 300 | 150 | 190 | 138 | 55 | 152 | 37 | 6.44 | 2.14 | 4.82 | 21.4 | 0.005 | 0.016 | 140 | 235 | 2.4 | 13 | 4 | 0.51 | 0.17 | 0.74 | 0.79
| 10 | Methara sugar factory mils waste before entering AR | MSFMW | 601543 | 976932 | 19/8/2021 | [29 empty] | Samples were not taken due to security
| 11 | Mertti camp sewage discharge before entering AR | MCSWW | 601099 | 977599 | 19/8/2021 |  |  | 7.6 | 1822 | 1184 | 23 | 800 | 980 | 480 | 350 | 123 | 49 | 210 | 50 | 10.87 | 3.53 | 1.28 | 5.587 | 1.213 | 0.451 | 250 | 410 | 5.7 | 180 | 60 | 12.5 | 4 | 0.8 | 0.85
+ | 12 | Lake Beseka @ Canal | LB@Can | 600908 | 982402 | 19/8/2021 |  |  | 9.32 | 2220 | 1443 | 37.4 | 960 | 1120 | 560 | 70 | 10 | 4 | 99 | 24 | 13.11 | 4.2 | 1.245 | 5.515 | 0.108 | 0.362 | 195 | 320 | 6.1 | 204 | 68 | 1.96 | 0.64 | 0.4 | 0.43
| 13 | Lake Beseka @ Intake | LB@Int | 600365 | 978746 | 19/8/2021 |  |  | 9.37 | 2230 | 1450 | 66.8 | 1060 | 1300 | 640 | 45 | 18 | 7 | 103 | 25 | 13.19 | 4.32 | 1.905 | 8.43 | 0.104 | 0.342 | 210 | 350 | 6.2 | 190 | 62 | 2.5 | 0.8 | 0.7 | 0.75
| 14 | Awash River after Beseka mix | ARABM | 609824 | 979426 | 19/8/2021 |  |  | 8.05 | 711 | 356 | 584 | 165 | 205 | 100 | 410 | 53 | 21 | 119 | 29 | 6.44 | 2.14 | 1.63 | 7.22 | 0.009 | 0.03 | 120 | 195 | 1.7 | 95 | 31 | 1.05 | 0.35 | 0.42 | 0.45
| 15 | Awash Water supply-Chat Kella | AWSCK | 633099 | 998679 | 18/8/2021 |  |  | 7.34 | 497 | 250 | 0.56 | 230 | 280 | 135 | 200 | 125 | 50 | 157 | 38 | 4.21 | 1.51 | 2.215 | 9.81 | 0.02 | 0.06 | 115 | 190 | 0.41 | 7 | 2 | 0.63 | 0.21 | 0.58 | 0.622
| 16 | Awash Water supply-Chaina camp | AWSCC | 635001 | 997927 | 20/8/2021 |  |  | 7.74 | 559 | 280 | 0.48 | 230 | 280 | 135 | 150 | 59 | 24 | 161 | 39 | 5.95 | 1.49 | 1.89 | 20.875 | 0.02 | 0.06 | 140 | 235 | 2.83 | 33 | 11 | 0.4 | 0.11 | 0.46 | 0.49
| 17 | Awash River at Awash 7 Water supply | ARAWS | 629912 | 995525 | 20/8/2021 |  |  | 8.02 | 384 | 192 | 551 | 170 | 210 | 105 | 275 | 79 | 32 | 124 | 30 | 4.62 | 1.88 | 3.31 | 14.6 | 0.028 | 0.092 | 115 | 185 | 2.46 | 20 | 7 | 0.77 | 0.25 | 0.51 | 0.54
| 18 | Awash River @ Weir Site | ARWeS | 629714 | 992849 | 20/8/2021 |  |  | 7.89 | 368 | 184 | 990 | 160 | 195 | 95 | 90 | 18 | 45 | 115 | 28 | 4.5 | 1.84 | 2.85 | 12.65 | 0.02 | 0.066 | 120 | 195 | 2.08 | 15 | 5 | 0.95 | 0.31 | 0.59 | 0.63
| 19 | Awash River @ Meteka Bredige | ARMeB | 666527 | 1103137 | 21/8/2021 | [29 empty] | Samples were not taken due to security
|  |  | Unit | [5 empty] | UN | µS/cm | mg/L | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | meq/L | meq/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
2021-10-01
| Awash Basin Authority |  |  | Water Quality Parameters
Surface Water sampling site resault
Month: August, 2021
| StID | Location Description | SID | UTM X | UTM Y | Sampling Dates | Flow | Temp | pH | EC | TDS | Turb | Alkalinity | HCO3- | CO32- | TH | Ca-CO3 | Ca 2+ | Mg-CO3 | Mg | Na+ | K+ | NO3-N | NO3 | NO2-N | NO2 | Cl - | NaCl | F - | SO42- | S | PO43- | P | NH3 | NH4+
| 1 | Awash River at Zeway Road | ARZR | 502349 | 929382 | 2021-08-10 |  |  | 7.68 | 172.4 | 86 | 867 | 95 | 115 | 55 | 105 | 24 | 10 | 103 | 25 | 7.79 | 0.98 | 0.89 | 3.945 | 0.055 | 0.18 | 100 | 165 | 0.41 | 9 | 3.0303 | 17 | 5.6 | 0.93 | 0.99
| 2 | Modjo River downstream Factory | MRDT | 502812 | 931647 | 2021-08-10 |  |  | 8 | 251 | 138 | 923 | 110 | 135 | 65 | 80 | 89 | 36 | 107 | 26 | 15.37 | 1.18 | 1.21 | 5.62 | 0.04 | 0.13 | 70 | 116 | 0.76 | 15 | 5.0505 | 16.6 | 5.4 | 8.5 | 9
| 3 | Modjo River @ old breidge | MDOB | 512621 | 951938 | 2021-08-10 |  |  | 8.4 | 308 | 170 | 880 | 185 | 225 | 110 | 85 | 91 | 37 | 122 | 29 | 15.54 | 1.14 | 1.13 | 5.007 | 0.075 | 0.245 | 93 | 153 | 0.62 | 10 | 3.367 | 18.2 | 5.8 | 9.4 | 10.1
| 4 | Modjo River @ Modjo Tannery | MRMT | 509101 | 944952 | 2021-08-10 |  |  | 8.37 | 335 | 184 | 670 | 135 | 165 | 80 | 125 | 103 | 42 | 117 | 28 | 16.95 | 1.23 | 1.27 | 5.628 | 0.05 | 0.165 | 97 | 160 | 0.74 | 20 | 6.734 | 17.4 | 5.6 | 9.7 | 10.3
| 5 | Lake Loka at Koka Dam | LKKD | 517216 | 936157 | 2021-08-10 |  |  | 8.09 | 203 | 109 | 152 | 65 | 80 | 40 | 65 | 70 | 28 | 105 | 25 | 9.73 | 1.05 | 0.86 | 3.8112 | 0.065 | 0.215 | 91 | 150 | 0.78 | 10 | 3.367 | 20.7 | 6.8 | 1.3 | 1.4
| 6 | Awash River after Adama Water Tretment | ARAdWS | 519455 | 936960 | 2021-08-10 |  |  | 8.13 | 217 | 117 | 2.4 | 40 | 45 | 25 | 75 | 78 | 32 | 124 | 30 | 9.91 | 1.05 | 2.13 | 9.439 | 0.08 | 0.265 | 84 | 118 | 0.77 | 8 | 2.6936 | 20.4 | 6.5 | 0.5 | 0.53
| 7 | Awash River at Wonji Briedge | ARWB | 525435 | 937268 | 2021-08-10 |  |  | 7.18 | 224 | 123 | 185 | 80 | 95 | 45 | 70 | 57 | 23 | 119 | 29 | 11.32 | 1.12 | 2.56 | 11.345 | 0.06 | 0.195 | 87 | 144 | 0.82 | 10 | 3.367 | 23 | 7.338 | 0.94 | 1.01
| 8 | Awash River before Beseka mix /Methara water supply | ARBBM | 599654 | 976923 | 2021-09-10 |  |  | 8.11 | 204 | 112 | 525 | 70 | 85 | 40 | 80 | 42 | 17 | 133 | 32 | 11.32 | 1.09 | 2.11 | 9.351 | 0.07 | 0.23 | 86 | 142 | 0.87 | 8 | 2.6936 | 21.6 | 7.1 | 4.85 | 5.15
| 9 | Awash River after treatement /Methara water supply/ | ARMeWS | 599971 | 980964 | 2021-09-10 |  |  | 8.14 | 229 | 125 | 2.9 | 50 | 60 | 30 | 90 | 123 | 50 | 147 | 37 | 11.66 | 1.07 | 2.02 | 8.951 | 0.002 | 0.006 | 97 | 160 | 1.4 | 9 | 3.01 | 15.4 | 4.786 | 0.68 | 0.72
| 10 | Methara sugar factory mils waste before entering AR | MSFMW | 601543 | 976932 | 2021-09-10 |  |  | 7.98 | 219 | 117 | 85 | 550 | 650 | 350 | 230 | 58 | 24 | 124 | 30 | 11.49 | 1.21 | 2.92 | 12.94 | 0.01 | 0.03 | 175 | 290 | 1.3 | 11 | 3.7037 | 16 | 5.105 | 18.4 | 19.6
| 11 | Mertti camp sewage discharge before entering AR | MCSWW | 601099 | 977599 | 2021-09-10 |  |  | 8.84 | 1733 | 1161 | 85 | 95 | 115 | 55 | 100 | 112 | 46 | 227 | 55 | 56.72 | 2.39 | 2.19 | 9.705 | 0.01 | 0.03 | 83 | 137 | 3.7 | 15 | 5.0505 | 16 | 5.08 | 5.9 | 6.3
| 12 | Lake Beseka @ Canal | LB@Can | 600908 | 982402 | 2021-09-10 |  |  | 9.52 | 2111 | 1414 | 41.4 | 850 | 1000 | 500 | 30 | 11 | 4 | 94 | 23 | 70.81 | 2.56 | 1.235 | 5.871 | 0.215 | 0.705 | 200 | 330 | 6.1 | 250 | 84.1751 | 51 | 16.5 | 5.8 | 6.2
| 13 | Lake Beseka @ Intake | LB@Int | 600365 | 978746 | 2021-09-10 |  |  | 9.49 | 2180 | 1456 | 56.8 | 800 | 1000 | 500 | 30 | 16 | 7 | 99 | 24 | 70.63 | 2.55 | 1.695 | 7.511 | 0.005 | 0.015 | 205 | 340 | 5.8 | 170 | 57.2391 | 57.5 | 18.5 | 8.7 | 9.3
| 14 | Lake Beseka @ old road/car wash area | LBOR-01 | 599451 | 984321 | 2021-09-10 |  |  | 9.51 | 2210 | 1476 | 58.4 | 850 | 1050 | 500 | 15 | 10 | 4 | 91 | 22 | 71.51 | 2.57 | 1.195 | 5.295 | 0.005 | 0.015 | 220 | 365 | 5.3 | 270 | 90.9091 | 51.7 | 16.6 | 10.8 | 11.5
| 15 | Lake Beseka @ old road /left side/ | LBOR-02 | 599439 | 984306 | 2021-10-10 |  |  | 9.65 | 2290 | 1531 | 56 | 1200 | 1450 | 700 | 20 | 19 | 8 | 89 | 21 | 81.36 | 2.91 | 1.725 | 7.644 | 0.6 | 2.1 | 190 | 315 | 5.9 | 140 | 47.138 | 58.2 | 18.6 | 8.1 | 8.5
| 16 | Lake Beseka @ Lodge | LB@Lodg | 593677 | 983218 | 2021-10-10 | [29 empty] | Samples were not taken due to security
| 17 | Awash River after Beseka mix | ARABM | 609824 | 979426 | 2021-10-10 |  |  | 8.16 | 385 | 207 | 448 | 130 | 160 | 80 | 80 | 62 | 25 | 101 | 24 | 22.75 | 1.18 | 1.481 | 6.563 | 0.018 | 0.06 | 105 | 170 | 2.62 | 11 | 3.7037 | 20.1 | 6.6 | 9.4 | 10.1
| 18 | Awash River at Awash 7 Water supply | ARAWS | 629912 | 995525 | 2021-11-10 |  |  | 8.14 | 259 | 137 | 551 | 100 | 120 | 60 | 95 | 59 | 24 | 97 | 23 | 16.59 | 1.03 | 1.912 | 8.473 | 0.017 | 0.056 | 98 | 162 | 1,98 | 10 | 3.367 | 19.6 | 6.3 | 6.5 | 7
| 19 | Awash River @ Weir Site | ARWeS | 629714 | 992849 | 2021-11-10 |  |  | 8.12 | 263 | 139 | 450 | 125 | 155 | 75 | 75 | 63 | 26 | 94 | 23 | 17.65 | 1.02 | 2.015 | 8.929 | 0.014 | 0.046 | 99 | 163 | 1.93 | 10 | 3.367 | 15.3 | 5 | 4.55 | 4.85
| 20 | Awash River @ Meteka Bredige | ARMeB | 666527 | 1103137 | 2021-11-10 |  |  | 8.56 | 257 | 136 | 520 | 215 | 260 | 130 | 100 | 65 | 26 | 109 | 26 | 30.87 | 1.22 | 2.153 | 9.541 | 0.006 | 0.02 | 110 | 185 | 2.3 | 8 | 2.6936 | 16.4 | 5.4 | 5.2 | 5.55
|  |  | Unit | [5 empty] | UN | µS/cm | mg/L | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | meq/L | meq/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L

## Average-SWD
St. ID | Location | SID | UTM X | UTM Y | Sampling Date | Flow | Temp. | pH | Turb. | EC | TDS | Alka. | HCO3- | CO32- | TH | Ca-CO3 | Ca | Mg-CO3 | Mg2+ | Na+ | K+ | NO3-N | NO3 | NO2-N | NO2 | Cl - | Nacl | F - | SO42- | S | PO43- | P- | NH3 | NH4+
[6 empty] | m3/s | 0C |  | NTU | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | meq/L | meq/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
1 | Awash River at Zeway Road | ARZR | 502349 | 929382 | 2021-02-04 |  | 23.8 | 7.83 | 3.67 | 803 | 402 | 285 | 350 | 170 | 160 | 85 | 34 | 178 | 43.3 | 3.87 | 3.05 | 1.24 | 5.57 | 0.067 | 0.22 | 135 | 225 | 1.37 | 18 | 6 | 1.45 | 0.05 | 0.14 | 0.15
1 | Awash River at Zeway Road | ARZR | 502349 | 929382 | 2021-12-06 |  | 24.1 | 8.41 | 149 | 578 | 289 | 260 | 320 | 155 | 180 | 108 | 44.4811 | 161 | 39 | 12.17 | 2.35 | 1.29 | 5.71 | 0.007 | 0.023 | 135 | 225 | 1.2 | 24 | 8 | 1.7 | 0.55 | 0.07 | 0.08
1 | Awash River at Zeway Road | ARZR | 502349 | 929382 | 18/8/2021 |  |  | 6.59 | 1050 | 198 | 99 | 110 | 135 | 65 | 255 | 27 | 11 | 119 | 29 | 1.76 | 1.43 | 0.57 | 2.526 | 0.031 | 0.102 | 105 | 175 | 0.32 | 14 | 5 | 0.8 | 0.26 | 1.14 | 1.21
1 | Awash River at Zeway Road | ARZR | 502349 | 929382 | 2021-08-10 |  |  | 7.68 | 867 | 172.4 | 86 | 95 | 115 | 55 | 105 | 24 | 10 | 103 | 25 | 7.79 | 0.98 | 0.89 | 3.945 | 0.055 | 0.18 | 100 | 165 | 0.41 | 9 | 3.0303 | 17 | 5.6 | 0.93 | 0.99
2 | Modjo River downstream Factory | MRDT | 502812 | 931647 | 2021-02-04 |  | 23.6 | 8.21 | 32.8 | 2650 | 1129 | 2450 | 2950 | 1450 | 185 | 105 | 54 | 153 | 36.6 | 5.87 | 2.72 | 2.98 | 13.38 | 0.194 | 0.64 | 250 | 415 | 1.38 | 24 | 8 | 1.18 | 0.38 | 0.93 | 0.99
2 | Modjo River downstream Factory | MRDT | 502812 | 931647 | 2021-12-06 |  | 23.6 | 3.56 | 106 | 1762 | 1057 | 580 | 680 | 340 | 235 | 83 | 34.1845 | 140 | 34 | 20.87 | 2.79 | 2.38 | 10.55 | 3.6 | 11.8 | 250 | 415 | 1.3 | 80 | 26 | 2.8 | 0.9 | 9.12 | 9.71
2 | Modjo River downstream Factory | MRDT | 502812 | 931647 | 18/8/2021 |  |  | 7.11 | 1035 | 228 | 114 | 110 | 130 | 60 | 255 | 112 | 45 | 115 | 18 | 2.01 | 1.31 | 1.18 | 5.225 | 0.007 | 0.023 | 115 | 190 | 0.84 | 24 | 8 | 1.86 | 0.62 | 0.89 | 0.93
2 | Modjo River downstream Factory | MRDT | 502812 | 931647 | 2021-08-10 |  |  | 8 | 923 | 251 | 138 | 110 | 135 | 65 | 80 | 89 | 36 | 107 | 26 | 15.37 | 1.18 | 1.21 | 5.62 | 0.04 | 0.13 | 70 | 116 | 0.76 | 15 | 5.0505 | 16.6 | 5.4 | 8.5 | 9
3 | Modjo River @ old breidge | MDOB | 512621 | 951938 | 2021-12-06 |  | 22.9 | 8.42 | 22.7 | 767 | 383 | 310 | 380 | 190 | 160 | 86 | 35.4201 | 140 | 34 | 13.91 | 2.1 | 2.47 | 10.94 | 3.8 | 12.6 | 135 | 225 | 0.86 | 38 | 12 | 1.58 | 0.52 | 8.1 | 8.6
3 | Modjo River @ old breidge | MDOB | 512621 | 951938 | 18/8/2021 |  |  | 7 | 1040 | 209 | 105 | 120 | 140 | 70 | 340 | 100 | 40 | 119 | 29 | 1.8 | 1.29 | 1.17 | 5.185 | 0.01 | 0.033 | 100 | 165 | 0.68 | 13 | 4 | 1.52 | 0.5 | 0.18 | 0.19
3 | Modjo River @ old breidge | MDOB | 512621 | 951938 | 2021-08-10 |  |  | 8.4 | 880 | 308 | 170 | 185 | 225 | 110 | 85 | 91 | 37 | 122 | 29 | 15.54 | 1.14 | 1.13 | 5.007 | 0.075 | 0.245 | 93 | 153 | 0.62 | 10 | 3.367 | 18.2 | 5.8 | 9.4 | 10.1
4 | Modjo River @ Modjo Tannery | MRMT | 509101 | 944952 | 2021-12-06 |  | 23.4 | 8.56 | 27.2 | 562 | 281 | 340 | 420 | 210 | 140 | 70 | 28.8303 | 152 | 37 | 12.61 | 1.93 | 2.09 | 9.26 | 0.008 | 0.026 | 120 | 200 | 1.18 | 3 | 1 | 0.99 | 0.33 | 0.06 | 0.06
4 | Modjo River @ Modjo Tannery | MRMT | 509101 | 944952 | 18/8/2021 |  |  | 7.2 | 1020 | 339 | 170 | 90 | 100 | 50 | 230 | 115 | 46 | 119 | 29 | 3.09 | 1.46 | 1.39 | 3.07 | 0.014 | 0.046 | 96 | 158 | 0.72 | 24 | 8 | 1.08 | 0.34 | 0.67 | 0.71
4 | Modjo River @ Modjo Tannery | MRMT | 509101 | 944952 | 2021-08-10 |  |  | 8.37 | 670 | 335 | 184 | 135 | 165 | 80 | 125 | 103 | 42 | 117 | 28 | 16.95 | 1.23 | 1.27 | 5.628 | 0.05 | 0.165 | 97 | 160 | 0.74 | 20 | 6.734 | 17.4 | 5.6 | 9.7 | 10.3
5 | Lake koka at Koka Dam | LKKD | 517216 | 936157 | 2021-02-04 |  | 22.9 | 8.15 | 2.39 | 360.8 | 180.5 | 170 | 225 | 110 | 110 | 48 | 19 | 147 | 35.7 | 2.48 | 1.36 | 2.17 | 9.75 | 0.014 | 0.046 | 135 | 225 | 1.06 | 8 | 3 | 0.31 | 0.1 | 6.9 | 7.35
5 | Lake Loka at Koka Dam | LKKD | 517216 | 936157 | 2021-12-06 |  | 23.1 | 7.23 | 163 | 432 | 216 | 210 | 240 | 120 | 105 | 34 | 14.0033 | 152 | 37 | 12.17 | 1.68 | 1.15 | 5.09 | 0.028 | 0.092 | 125 | 205 | 2.34 | 10 | 3 | 0.64 | 0.21 | 1.14 | 1.21
5 | Lake Loka at Koka Dam | LKKD | 517216 | 936157 | 18/8/2021 |  |  | 6.85 | 138 | 225 | 113 | 95 | 115 | 55 | 250 | 67 | 27 | 115 | 28 | 2.51 | 1.68 | 0.596 | 2.64 | 0.019 | 0.063 | 105 | 170 | 0.88 | 11 | 4 | 0.8 | 0.26 | 0.76 | 0.92
5 | Lake Loka at Koka Dam | LKKD | 517216 | 936157 | 2021-08-10 |  |  | 8.09 | 152 | 203 | 109 | 65 | 80 | 40 | 65 | 70 | 28 | 105 | 25 | 9.73 | 1.05 | 0.86 | 3.8112 | 0.065 | 0.215 | 91 | 150 | 0.78 | 10 | 3.367 | 20.7 | 6.8 | 1.3 | 1.4
6 | Awash River after Adama Water Tretment | ARAdWS | 519455 | 936960 | 2021-02-04 |  | 23.1 | 7.72 | 1.52 | 362.5 | 181.3 | 160 | 195 | 95 | 155 | 57 | 23 | 172 | 42.1 | 2.52 | 1.36 | 1.19 | 5.34 | ND | ND | 125 | 205 | 2.39 | 18 | 6 | 2.91 | 1 | 0.25 | 0.27
6 | Awash River after Adama Water Tretment | ARAdWS | 519455 | 936960 | 2021-12-06 |  | 23.3 | 7.23 | 1.9 | 471 | 235 | 165 | 205 | 100 | 100 | 76 | 31.3015 | 119 | 29 | 12.61 | 1.66 | 1.24 | 5.11 | 0.001 | 0.003 | 120 | 195 | 1.68 | 60 | 20 | 0.45 | 0.15 | 0.06 | 0.06
6 | Awash River after Adama Water Tretment | ARAdWS | 519455 | 936960 | 18/8/2021 |  |  | 7.18 | 1.6 | 242 | 120 | 90 | 110 | 55 | 75 | 72 | 29 | 119 | 29 | 2.55 | 1.62 | 2.55 | 11.35 | 0.001 | 0.003 | 100 | 165 | 0.74 | 25 | 8 | 0.69 | 0.23 | 0.02 | 0.03
6 | Awash River after Adama Water Tretment | ARAdWS | 519455 | 936960 | 2021-08-10 |  |  | 8.13 | 2.4 | 217 | 117 | 40 | 45 | 25 | 75 | 78 | 32 | 124 | 30 | 9.91 | 1.05 | 2.13 | 9.439 | 0.08 | 0.265 | 84 | 118 | 0.77 | 8 | 2.6936 | 20.4 | 6.5 | 0.5 | 0.53
7 | Awash River at Wonji Briedge | ARWB | 525435 | 937268 | 2021-01-04 |  | 23.3 | 8.35 | 9.26 | 378.9 | 189.8 | 170 | 205 | 105 | 110 | 44 | 17 | 132 | 32.09 | 2.65 | 1.41 | 1.93 | 8.67 | 0.047 | 0.155 | 120 | 195 | 1.88 | 21 | 7 | 2.1 | 0.7 | 0.26 | 0.28
7 | Awash River at Wonji Briedge | ARWB | 525435 | 937268 | 13/6/2021 |  | 24.7 | 7.47 | 350 | 448 | 224 | 220 | 265 | 130 | 110 | 48 | 19.7694 | 128 | 31 | 12.61 | 1.71 | 1.78 | 7.306 | 0.019 | 0.063 | 115 | 190 | 1.6 | 14 | 5 | 0.62 | 0.2 | 0.13 | 0.14
7 | Awash River at Wonji Briedge | ARWB | 525435 | 937268 | 19/8/2021 |  |  | 6.99 | 174 | 236 | 118 | 120 | 150 | 75 | 225 | 50 | 20 | 128 | 31 | 2.59 | 1.66 | 2.515 | 11.14 | 0.014 | 0.046 | 100 | 165 | 0.77 | 11 | 4 | 0.68 | 0.22 | 0.85 | 0.9
7 | Awash River at Wonji Briedge | ARWB | 525435 | 937268 | 2021-08-10 |  |  | 7.18 | 185 | 224 | 123 | 80 | 95 | 45 | 70 | 57 | 23 | 119 | 29 | 11.32 | 1.12 | 2.56 | 11.345 | 0.06 | 0.195 | 87 | 144 | 0.82 | 10 | 3.367 | 23 | 7.338 | 0.94 | 1.01
8 | Awash River before Beseka mix | ARBBM | 599654 | 976923 | 2021-01-04 |  | 24.7 | 8.09 | 8.15 | 435.6 | 217.5 | 180 | 220 | 110 | 140 | 57 | 23 | 129 | 31.4 | 3.09 | 1.49 | 2.18 | 9.79 | 0.067 | 0.22 | 115 | 190 | 1.87 | 4 | 1 | 0.14 | 0.05 | 0.25 | 0.27
8 | Awash River before Beseka mix | ARBBM | 599654 | 976923 | 13/6/2021 |  | 24.2 | 7.68 | 568 | 496 | 248 | 265 | 315 | 155 | 130 | 50 | 20.5931 | 124 | 30 | 13.04 | 1.66 | 2.85 | 12.62 | 0.033 | 0.109 | 115 | 190 | 2.1 | 17 | 6 | 0.7 | 0.23 | 0.13 | 0.14
8 | Awash River before Beseka mix | ARBBM | 599654 | 976923 | 19/8/2021 |  |  | 7.61 | 494 | 234 | 116 | 155 | 185 | 90 | 320 | 36 | 14 | 132 | 32 | 2.67 | 1.7 | 3.7 | 16.375 | 0.029 | 0.095 | 99 | 163 | 0.8 | 160 | 50 | 1.4 | 0.45 | 0.79 | 0.84
8 | Awash River before Beseka mix | ARBBM | 599654 | 976923 | 2021-09-10 |  |  | 8.11 | 525 | 204 | 112 | 70 | 85 | 40 | 80 | 42 | 17 | 133 | 32 | 11.32 | 1.09 | 2.11 | 9.351 | 0.07 | 0.23 | 86 | 142 | 0.87 | 8 | 2.6936 | 21.6 | 7.1 | 4.85 | 5.15
9 | Awash River after treatement/MWS/ | ARMeWS | 599971 | 980964 | 2021-01-04 |  | 24.2 | 8.02 | 2.83 | 453.2 | 226.4 | 190 | 235 | 115 | 170 | 60 | 24 | 129 | 31.3 | 3.11 | 1.74 | 2.31 | 10.37 | 0.004 | 0.013 | 115 | 190 | 2.32 | 3 | 1 | 0.22 | 0.07 | 0.29 | 0.31
9 | Awash River after treatement /MWS/ | ARMeWS | 599971 | 980964 | 13/6/2021 |  | 25.1 | 8.19 | 7.8 | 517 | 258 | 190 | 230 | 115 | 95 | 64 | 26.3591 | 111 | 27 | 13.04 | 1.74 | 2.91 | 12.88 | 0.013 | 0.043 | 130 | 210 | 2.06 | 31 | 10 | 0.48 | 0.16 | 0.05 | 0.05
9 | Awash River after treatement /MWS/ | ARMeWS | 599971 | 980964 | 19/8/2021 |  |  | 8.05 | 3.1 | 711 | 355 | 245 | 300 | 150 | 190 | 138 | 55 | 152 | 37 | 6.44 | 2.14 | 4.82 | 21.4 | 0.005 | 0.016 | 140 | 235 | 2.4 | 13 | 4 | 0.51 | 0.17 | 0.74 | 0.79
9 | Awash River after treatement /MWS/ | ARMeWS | 599971 | 980964 | 2021-09-10 |  |  | 8.14 | 2.9 | 229 | 125 | 50 | 60 | 30 | 90 | 123 | 50 | 147 | 37 | 11.66 | 1.07 | 2.02 | 8.951 | 0.002 | 0.006 | 97 | 160 | 1.4 | 9 | 3.01 | 15.4 | 4.786 | 0.68 | 0.72
10 | Methara sugar factory mils waste before entering AR | MSFMW | 601543 | 976932 | 31/3/2021 |  | 25.1 | 7.01 | 10.3 | 443.7 | 222.3 | 185 | 225 | 110 | 100 | 65 | 26 | 131 | 31.58 | 3 | 1.56 | 4.01 | 18.01 | 0.006 | 0.018 | 130 | 210 | 2.36 | 4 | 1 | 0.42 | 0.14 | 0.97 | 1.03
10 | Methara sugar factory mils waste before entering AR | MSFMW | 601543 | 976932 | 13/6/2021 |  | 22.3 | 7.31 | 52.3 | 490 | 245 | 225 | 275 | 135 | 105 | 58 | 23.888 | 124 | 30 | 13.09 | 1.77 | 4.17 | 18.46 | 0.96 | 3.16 | 120 | 195 | 2.8 | 10 | 3 | 1.86 | 0.62 | 0.78 | 0.82
10 | Methara sugar factory mils waste before entering AR | MSFMW | 601543 | 976932 | 2021-09-10 |  |  | 7.98 | 85 | 219 | 117 | 550 | 650 | 350 | 230 | 58 | 24 | 124 | 30 | 11.49 | 1.21 | 2.92 | 12.94 | 0.01 | 0.03 | 175 | 290 | 1.3 | 11 | 3.7037 | 16 | 5.105 | 18.4 | 19.6
11 | Mertti camp sewage discharge before entering AR | MCSWW | 601099 | 977599 | 31/3/2021 |  | 22.3 | 7.94 | 3.01 | 2.1 | 1.053 | 1050 | 1300 | 650 | 130 | 109 | 44 | 139 | 33.79 | 6.65 | 2.74 | 6.31 | 28.34 | ND | ND | 120 | 195 | 2.94 | 200 | 65 | 5 | 1.6 | 11.02 | 11.74
11 | Mertti camp sewage discharge before entering AR | MCSWW | 601099 | 977599 | 13/6/2021 |  | 24.1 | 8.07 | 16.6 | 1760 | 1056 | 1550 | 1900 | 950 | 170 | 89 | 36.6557 | 210 | 50 | 20.37 | 2.81 | 5.37 | 23.77 | 1.68 | 5.52 | 200 | 325 | 2.96 | 116 | 38 | 8.94 | 2.97 | 8.6 | 9.2
11 | Mertti camp sewage discharge before entering AR | MCSWW | 601099 | 977599 | 19/8/2021 |  |  | 7.6 | 23 | 1822 | 1184 | 800 | 980 | 480 | 350 | 123 | 49 | 210 | 50 | 10.87 | 3.53 | 1.28 | 5.587 | 1.213 | 0.451 | 250 | 410 | 5.7 | 180 | 60 | 12.5 | 4 | 0.8 | 0.85
11 | Mertti camp sewage discharge before entering AR | MCSWW | 601099 | 977599 | 2021-09-10 |  |  | 8.84 | 85 | 1733 | 1161 | 95 | 115 | 55 | 100 | 112 | 46 | 227 | 55 | 56.72 | 2.39 | 2.19 | 9.705 | 0.01 | 0.03 | 83 | 137 | 3.7 | 15 | 5.0505 | 16 | 5.08 | 5.9 | 6.3
12 | Lake Beseka at Canal | LB@Can | 600908 | 982402 | 31/3/2021 |  | 24.1 | 9.48 | 7.44 | 2770 | 1387 | 1350 | 1650 | 800 | 25 | 8 | 3 | 218 | 53.1 | 8.26 | 3.28 | 2.05 | 9.21 | 0.014 | 0.033 | 200 | 325 | 2.96 | 175 | 55 | 0.92 | 0.3 | 0.19 | 0.2
12 | Lake Beseka @ Canal | LB@Can | 600908 | 982402 | 14/6/2021 |  | 23.9 | 9.21 | 36.4 | 2520 | 1688 | 1750 | 2100 | 1050 | 25 | 3 | 1.2356 | 103 | 25 | 27.39 | 3.23 | 1.865 | 8.258 | 0.005 | 0.016 | 210 | 345 | 19.4 | 192 | 65 | 0.97 | 0.32 | 0.15 | 0.16
12 | Lake Beseka @ Canal | LB@Can | 600908 | 982402 | 19/8/2021 |  |  | 9.32 | 37.4 | 2220 | 1443 | 960 | 1120 | 560 | 70 | 10 | 4 | 99 | 24 | 13.11 | 4.2 | 1.245 | 5.515 | 0.108 | 0.362 | 195 | 320 | 6.1 | 204 | 68 | 1.96 | 0.64 | 0.4 | 0.43
12 | Lake Beseka @ Canal | LB@Can | 600908 | 982402 | 2021-09-10 |  |  | 9.52 | 41.4 | 2111 | 1414 | 850 | 1000 | 500 | 30 | 11 | 4 | 94 | 23 | 70.81 | 2.56 | 1.235 | 5.871 | 0.215 | 0.705 | 200 | 330 | 6.1 | 250 | 84.1751 | 51 | 16.5 | 5.8 | 6.2
13 | Lake Beseka @ Intake | LB@Int | 600365 | 978746 | 31/3/2021 |  | 23.9 | 9.48 | 7.47 | 2810 | 1407 | 1380 | 1690 | 835 | 18 | 10 | 4 | 198 | 48.14 | 8.43 | 3.28 | 1.94 | 8.71 | 0.013 | 0.02 | 210 | 345 | 19.4 | 180 | 59 | 0.94 | 0.31 | 0.18 | 0.19
13 | Lake Beseka @ Intake | LB@Int | 600365 | 978746 | 14/6/2021 |  | 23.8 | 9.24 | 17.4 | 2480 | 1661 | 1600 | 1950 | 950 | 50 | 5 | 2.0593 | 95 | 23 | 27.83 | 3.17 | 1.917 | 8.482 | 0.008 | 0.026 | 205 | 340 | 19.7 | 192 | 66 | 1.1 | 0.35 | 0.14 | 0.16
13 | Lake Beseka @ Intake | LB@Int | 600365 | 978746 | 19/8/2021 |  |  | 9.37 | 66.8 | 2230 | 1450 | 1060 | 1300 | 640 | 45 | 18 | 7 | 103 | 25 | 13.19 | 4.32 | 1.905 | 8.43 | 0.104 | 0.342 | 210 | 350 | 6.2 | 190 | 62 | 2.5 | 0.8 | 0.7 | 0.75
13 | Lake Beseka @ Intake | LB@Int | 600365 | 978746 | 2021-09-10 |  |  | 9.49 | 56.8 | 2180 | 1456 | 800 | 1000 | 500 | 30 | 16 | 7 | 99 | 24 | 70.63 | 2.55 | 1.695 | 7.511 | 0.005 | 0.015 | 205 | 340 | 5.8 | 170 | 57.2391 | 57.5 | 18.5 | 8.7 | 9.3
14 | Lake Beseka @ old road/car wash area | LBOR-01 | 599652 | 984278 | 31/3/2021 |  | 23.8 | 9.55 | 8.25 | 2830 | 1417 | 1200 | 1500 | 750 | 20 | 5 | 2 | 172 | 41.8 | 8.33 | 3.36 | 2.34 | 10.51 | 0.015 | 0.03 | 205 | 340 | 19.7 | 180 | 60 | 0.66 | 0.22 | 0.34 | 0.36
14 | Lake Beseka @ old road/car wash area | LBOR-01 | 599451 | 984321 | 14/6/2021 |  | 22.6 | 9.46 | 4.66 | 3650 | 2482 | 2850 | 3500 | 1700 | 40 | 5 | 2.0593 | 95 | 23 | 32.61 | 3.83 | 1.743 | 7.729 | 0.009 | 0.03 | 215 | 355 | 18.5 | 232 | 79 | 0.82 | 0.27 | 0.32 | 0.34
14 | Lake Beseka @ old road/car wash area | LBOR-01 | 599451 | 984321 | 2021-09-10 |  |  | 9.51 | 58.4 | 2210 | 1476 | 850 | 1050 | 500 | 15 | 10 | 4 | 91 | 22 | 71.51 | 2.57 | 1.195 | 5.295 | 0.005 | 0.015 | 220 | 365 | 5.3 | 270 | 90.9091 | 51.7 | 16.6 | 10.8 | 11.5
15 | Lake Beseka @ old road /left side/ | LBOR-02 | 599439 | 984306 | 14/6/2021 |  | 22.2 | 9.27 | 8.22 | 2800 | 1876 | 2100 | 2550 | 1250 | 40 | 4 | 1.6474 | 103 | 25 | 30 | 3.39 | 1.835 | 8.127 | 0.008 | 0.026 | 220 | 360 | 17.2 | 200 | 69 | 0.7 | 0.23 | 0.12 | 0.14
15 | Lake Beseka @ old road /left side/ | LBOR-02 | 599439 | 984306 | 2021-10-10 |  |  | 9.65 | 56 | 2290 | 1531 | 1200 | 1450 | 700 | 20 | 19 | 8 | 89 | 21 | 81.36 | 2.91 | 1.725 | 7.644 | 0.6 | 2.1 | 190 | 315 | 5.9 | 140 | 47.138 | 58.2 | 18.6 | 8.1 | 8.5
16 | Lake Beseka @ Lodge | LB@Lodg | 593677 | 983218 | 14/6/2021 |  | 38.8 | 9.19 | 20.8 | 2410 | 1614 | 1900 | 2300 | 1150 | 30 | 3 | 1.2356 | 103 | 25 | 27.92 | 3.03 | 1.944 | 8.609 | 0.002 | 0.008 | 230 | 375 | 12.4 | 204 | 70 | 1.4 | 0.46 | 0.06 | 0.06
17 | Awash River after Beseka mix | ARABM | 609824 | 979426 | 31/3/2021 |  | 22.6 | 8.34 | 5.21 | 1128 | 563.8 | 400 | 480 | 240 | 90 | 23 | 9 | 156 | 37.9 | 5.52 | 2.1 | 2.12 | 9.52 | 0.115 | 0.381 | 220 | 360 | 18.5 | 70 | 23 | 0.31 | 0.11 | 0.57 | 0.61
17 | Awash River after Beseka mix | ARABM | 609824 | 979426 | 14/6/2021 |  | 36.5 | 8.16 | 179 | 1165 | 757 | 510 | 620 | 305 | 110 | 34 | 14.0033 | 128 | 31 | 19.57 | 2.26 | 2.034 | 9.008 | 0.145 | 0.475 | 155 | 255 | 5.2 | 76 | 25 | 0.7 | 0.23 | 0.53 | 0.57
17 | Awash River after Beseka mix | ARABM | 609824 | 979426 | 19/8/2021 |  |  | 8.05 | 584 | 711 | 356 | 165 | 205 | 100 | 410 | 53 | 21 | 119 | 29 | 6.44 | 2.14 | 1.63 | 7.22 | 0.009 | 0.03 | 120 | 195 | 1.7 | 95 | 31 | 1.05 | 0.35 | 0.42 | 0.45
17 | Awash River after Beseka mix | ARABM | 609824 | 979426 | 2021-10-10 |  |  | 8.16 | 448 | 385 | 207 | 130 | 160 | 80 | 80 | 62 | 25 | 101 | 24 | 22.75 | 1.18 | 1.481 | 6.563 | 0.018 | 0.06 | 105 | 170 | 2.62 | 11 | 3.7037 | 20.1 | 6.6 | 9.4 | 10.1
18 | Awash River at Awash 7 Water supply | ARAWS | 629912 | 995525 | 30/3/2021 |  | 22.2 | 8.23 | 10.2 | 1068 | 534.5 | 310 | 380 | 180 | 95 | 26 | 10 | 152 | 36.95 | 5.57 | 2.05 | 1.96 | 8.8 | 0.045 | 0.148 | 230 | 375 | 17.2 | 64 | 21 | 0.49 | 0.16 | 0.53 | 0.56
18 | Awash River at Awash 7 Water supply | ARAWS | 629912 | 995525 | 15/6/2021 |  | 24.2 | 8.24 | 53.4 | 965 | 482 | 480 | 590 | 290 | 115 | 25 | 10.2965 | 144 | 35 | 19.13 | 2.04 | 2.651 | 11.741 | 0.017 | 0.056 | 140 | 230 | 4.7 | 71 | 23 | 0.7 | 0.23 | 0.1 | 0.1
18 | Awash River at Awash 7 Water supply | ARAWS | 629912 | 995525 | 20/8/2021 |  |  | 8.02 | 551 | 384 | 192 | 170 | 210 | 105 | 275 | 79 | 32 | 124 | 30 | 4.62 | 1.88 | 3.31 | 14.6 | 0.028 | 0.092 | 115 | 185 | 2.46 | 20 | 7 | 0.77 | 0.25 | 0.51 | 0.54
18 | Awash River at Awash 7 Water supply | ARAWS | 629912 | 995525 | 2021-11-10 |  |  | 8.14 | 551 | 259 | 137 | 100 | 120 | 60 | 95 | 59 | 24 | 97 | 23 | 16.59 | 1.03 | 1.912 | 8.473 | 0.017 | 0.056 | 98 | 162 | 1,98 | 10 | 3.367 | 19.6 | 6.3 | 6.5 | 7
19 | Awash River @ Weir site | ARWeS | 629714 | 992849 | 30/3/2021 |  | 24.2 | 8.05 | 6.75 | 1008 | 503.9 | 350 | 420 | 210 | 240 | 192 | 77 | 146 | 35.41 | 5.43 | 1.82 | 2.26 | 10.15 | 0.014 | 0.046 | 145 | 240 | 4.7 | 64 | 21 | 1.61 | 0.55 | 0.49 | 0.52
19 | Awash River @ Weir Site | ARWeS | 629714 | 992849 | 15/6/2021 |  | 26.8 | 8.22 | 138 | 984 | 492 | 450 | 550 | 270 | 130 | 20 | 8.2372 | 136 | 33 | 18.26 | 2.07 | 2.091 | 9.261 | 0.022 | 0.072 | 145 | 240 | 4.1 | 74 | 24 | 1.1 | 0.35 | 0.12 | 0.13
19 | Awash River @ Weir Site | ARWeS | 629714 | 992849 | 20/8/2021 |  |  | 7.89 | 990 | 368 | 184 | 160 | 195 | 95 | 90 | 18 | 45 | 115 | 28 | 4.5 | 1.84 | 2.85 | 12.65 | 0.02 | 0.066 | 120 | 195 | 2.08 | 15 | 5 | 0.95 | 0.31 | 0.59 | 0.63
19 | Awash River @ Weir Site | ARWeS | 629714 | 992849 | 2021-11-10 |  |  | 8.12 | 450 | 263 | 139 | 125 | 155 | 75 | 75 | 63 | 26 | 94 | 23 | 17.65 | 1.02 | 2.015 | 8.929 | 0.014 | 0.046 | 99 | 163 | 1.93 | 10 | 3.367 | 15.3 | 5 | 4.55 | 4.85
20 | Awash River at Metekai Beridge | ARMeB | 666527 | 1103137 | 30/3/2021 |  | 26.8 | 8.22 | 3.24 | 1075 | 537.8 | 370 | 450 | 220 | 54 | 38 | 15 | 157 | 38.07 | 5.26 | 2.13 | 2.07 | 9.29 | 0.011 | 0.036 | 155 | 240 | 4.1 | 69 | 23 | 0.36 | 0.12 | 0.62 | 0.66
20 | Awash River @ Meteka Bredige | ARMeB | 666527 | 1103137 | 15/6/2021 |  | 26.8 | 8.24 | 321 | 1000 | 500 | 430 | 530 | 260 | 120 | 17 | 7.0016 | 140 | 34 | 17.83 | 1.8 | 2.637 | 11.679 | 0.009 | 0.03 | 145 | 240 | 3.8 | 69 | 23 | 1.15 | 0.4 | 0.08 | 0.09
20 | Awash River @ Meteka Bredige | ARMeB | 666527 | 1103137 | 2021-11-10 |  |  | 8.56 | 520 | 257 | 136 | 215 | 260 | 130 | 100 | 65 | 26 | 109 | 26 | 30.87 | 1.22 | 2.153 | 9.541 | 0.006 | 0.02 | 110 | 185 | 2.3 | 8 | 2.6936 | 16.4 | 5.4 | 5.2 | 5.55
21 | Awash town water supply/well-1/Chat Kella | AWSCK | 633099 | 998649 | 30/3/2021 |  | 38.8 | 7.39 | 1.78 | 553.8 | 276.8 | 225 | 275 | 135 | 150 | 62 | 24 | 154 | 37.35 | 3.04 | 1.23 |  |  | 0.002 | 0.007 | 155 | 255 | 12.4 | 7 | 2 | 0.61 | 0.21 | 12 | 12.8
21 | Awash Water supply-Chat Kella | AWSCK | 633099 | 998679 | 18/8/2021 |  |  | 7.34 | 0.56 | 497 | 250 | 230 | 280 | 135 | 200 | 125 | 50 | 157 | 38 | 4.21 | 1.51 | 2.215 | 9.81 | 0.02 | 0.06 | 115 | 190 | 0.41 | 7 | 2 | 0.63 | 0.21 | 0.58 | 0.622
22 | Awash town water supply/well-2/China camp | AWSCC | 635001 | 997927 | 30/3/2021 |  | 36.5 | 7.68 | 1.31 | 628.5 | 314.3 | 250 | 305 | 150 | 57 | 38 | 15 | 159 | 38.56 | 3.91 | 1.2 |  |  | 0.005 | 0.016 | 140 | 230 | 5.2 | 31 | 10 | 0.29 | 0.1 | 11 | 11.8
22 | Awash Water supply-Chaina camp | AWSCC | 635001 | 997927 | 20/8/2021 |  |  | 7.74 | 0.48 | 559 | 280 | 230 | 280 | 135 | 150 | 59 | 24 | 161 | 39 | 5.95 | 1.49 | 1.89 | 20.875 | 0.02 | 0.06 | 140 | 235 | 2.83 | 33 | 11 | 0.4 | 0.11 | 0.46 | 0.49

## SW-HMs
Awash Basin Authority, Ethiopia
|  |  | Surface Water : Heavy metals chemistry | [5 empty] | Year: 2021
| Sampling station descriptions | Sample ID | UTMx | UTMy | Dtae of Sampling | Turbidity (NTU) | pH | EC (µS/cm) | TDS (mg/L) | Alkalinity (mg/L) | HCO3- (mg/L) | CO32- (mg/L) | TH (mg/L) | Al-2 27 Helium KED (ppb) | Ti 47 Helium KED (ppb) | V 51 Helium KED (ppb) | Cr 52 Helium KED (ppb) | Mn 55 Helium KED (ppb) | Co 59 Helium KED (ppb) | Ni 60 Helium KED (ppb) | Cu 63 Helium KED (ppb) | Zn-1 66 Helium KED (ppb) | Ge 74 Helium KED (ppb) | As 75 Helium KED (ppb) | Rb 85 Helium KED (ppb) | Sr 88 Helium KED (ppb) | Zr 90 Helium KED (ppb) | Nb 93 Helium KED (ppb) | Mo 98 Helium KED (ppb) | Ba 138 Helium KED (ppb) | Fe 56 Helium KED (ppb) | Ga 69 Helium KED (ppb) | Li 7 (ppb) | Ag 107 (ppb) | Cd 111 (ppb) | Sn 118 (ppb) | Sb 121 (ppb) | Cs 133 (ppb) | Hf 178 (ppb) | Ta 181 (ppb) | W 183 (ppb) | Hg-1 202 (ppb) | Tl 205 (ppb) | Pb 208 (ppb) | Th 232 (ppb) | U-1 238 (ppb)
1 | Awash River at Zeway Road | ARZR | 502349 | 929382 | 2021-12-06 | 149 | 8.41 | 578 | 289 | 260 | 320 | 155 | 180 | 748.8237 | 0.7734 | 13.1708 | 0.50808 | 16.7369 | 0.90512 | 6.1467 | 245.954 | 88.692 | 0.12066 | 9.611 | 7.9514 | 261.3314 | 0.8009 | 0.069326 | 4.1563 | 117.1229 | 41.517 | 18.6401 | 5.9859 | 0.15029 | Below DL | 1.1547 | 8.6443 | Below DL | 0.081651 | Below DL | Below DL | 1.8993 | 0.18895 | 2.0608 | 0.066687 | 1.3021
[5 empty] | 2021-08-10 | 867 | 7.68 | 172.4 | 86 | 95 | 115 | 55 | 105 | 640.0581 | 10.0769 | 2.9096 | 10.5304 | 11.7961 | 0.29088 | 1.9195 | 67.8508 | 23.3415 | 0.12416 | 0.383 | 2.108 | 69.3602 | 2.214 | 0.26322 | 1.3138 | 28.2099 | 209.5151 | 4.5037 | 1.0803 | Below DL | 0.088253 | 0.82807 | 1.572 | 0.04218 | 0.59011 | Below DL | Below DL | 0.13632 | 0.012276 | 0.31602 | 0.57931 | 0.21435
[5 empty] | Average | 508 | 8.045 | 375.2 | 187.5 | 177.5 | 217.5 | 105 | 142.5 | 694.4409 | 5.4252 | 8.0402 | 5.5193 | 14.2665 | 0.598 | 4.0331 | 156.9024 | 56.0168 | 0.12241 | 4.997 | 5.0297 | 165.3458 | 1.5074 | 0.16627 | 2.735 | 72.6664 | 125.516 | 11.5719 | 3.5331 | #VALUE! | #VALUE! | 0.99139 | 5.1081 | #VALUE! | 0.33588 | #VALUE! | #VALUE! | 1.0178 | 0.10062 | 1.1884 | 0.323 | 0.75822
2 | Modjo River downstream Factory | MRDT | 502812 | 931647 | 2021-12-06 | 106 | 3.56 | 1762 | 1057 | 580 | 680 | 340 | 235 | 74.1522 | 0.88021 | 15.5488 | 36.1232 | 1245.1799 | 2.2281 | 10.4123 | 42.7831 | 26.9274 | 0.30013 | 20.6053 | 17.7604 | 360.1157 | 0.55182 | 0.14461 | 8.4489 | 235.4534 | 22.9718 | 37.325 | 36.4639 | 0.12507 | Below DL | 0.31 | 0.74353 | 0.018793 | 0.09358 | Below DL | 10.711 | 1.2759 | 0.10802 | 1.2526 | 0.064608 | 3.264
[5 empty] | 2021-08-10 | 923 | 8 | 251 | 138 | 110 | 135 | 65 | 80 | 127.8966 | 2.3565 | 9.9026 | 10.3089 | 8.365 | 0.20092 | 1.1749 | 220.2918 | 19.0777 | 0.1267 | 1.1922 | 2.1508 | 107.6562 | 0.98189 | 0.15662 | 3.5755 | 40.3777 | 38.0113 | 6.3556 | 5.9427 | 0.00056595 | Below DL | 0.11142 | 0.34742 | 0.036819 | 0.56128 | Below DL | 0.61803 | 0.23582 | 0.018632 | 0.88406 | 0.56995 | 0.92056
[5 empty] | Average | 514.5 | 5.78 | 1006.5 | 597.5 | 345 | 407.5 | 202.5 | 157.5 | 101.0244 | 1.6184 | 12.7257 | 23.2161 | 626.7725 | 1.2145 | 5.7936 | 131.5374 | 23.0025 | 0.21341 | 10.8987 | 9.9556 | 233.886 | 0.76685 | 0.15062 | 6.0122 | 137.9155 | 30.4915 | 21.8403 | 21.2033 | 0.062816 | #VALUE! | 0.21071 | 0.54548 | 0.027806 | 0.32743 | #VALUE! | 5.6645 | 0.75587 | 0.063324 | 1.0683 | 0.31728 | 2.0923
3 | Modjo River @ old breidge | MDOB | 512621 | 951938 | 2021-12-06 | 22.7 | 8.42 | 767 | 383 | 310 | 380 | 190 | 160 | 70.341 | 0.49808 | 15.5471 | 4.9317 | 190.2016 | 0.4034 | 3.0279 | 35.7097 | 31.7282 | 0.16475 | 10.9441 | 9.6753 | 289.4185 | 0.35493 | 0.090839 | 5.2241 | 85.3012 | 26.4067 | 13.4191 | 20.8598 | 0.11204 | Below DL | 0.19684 | 0.53634 | 0.0058706 | 0.07981 | Below DL | Below DL | 0.090138 | 0.17609 | 0.74945 | 0.030571 | 4.3491
[5 empty] | 2021-08-10 | 880 | 8.4 | 308 | 170 | 185 | 225 | 110 | 85 | 111.5838 | 1.6953 | 16.2867 | 5.704 | 9.2801 | 0.25546 | 1.6598 | 381.8552 | 19.1786 | 0.12607 | 1.4589 | 2.4874 | 162.8945 | 0.79017 | 0.13412 | 3.6067 | 38.0212 | 33.3392 | 6.0019 | 6.4251 | Below DL | Below DL | 0.12102 | 2.5958 | 0.037594 | 0.55173 | Below DL | Below DL | 0.1156 | 0.020287 | 1.1562 | 0.56759 | 1.4563
[5 empty] | Average | 451.35 | 8.41 | 537.5 | 276.5 | 247.5 | 302.5 | 150 | 122.5 | 90.9624 | 1.0967 | 15.9169 | 5.3179 | 99.7409 | 0.32943 | 2.3439 | 208.7824 | 25.4534 | 0.14541 | 6.2015 | 6.0813 | 226.1565 | 0.57255 | 0.11248 | 4.4154 | 61.6612 | 29.873 | 9.7105 | 13.6424 | #VALUE! | #VALUE! | 0.15893 | 1.5661 | 0.021732 | 0.31577 | #VALUE! | #VALUE! | 0.10287 | 0.098189 | 0.95283 | 0.29908 | 2.9027
4 | Modjo River @ Modjo Tannery | MRMT | 509101 | 944952 | 2021-12-06 | 27.2 | 8.56 | 562 | 281 | 340 | 420 | 210 | 140 | 97.0099 | 0.7004 | 23.191 | 0.22175 | 7.2162 | 0.14062 | 2.9607 | 31.3525 | 34.3221 | 0.13049 | 9.6393 | 6.8742 | 287.2771 | 0.31467 | 0.033267 | 5.3563 | 111.3842 | 11.4834 | 17.8867 | 19.2083 | 0.11697 | Below DL | 0.19567 | 9.6284 | Below DL | 0.065238 | Below DL | Below DL | Below DL | 0.13944 | 0.68202 | 0.026658 | 4.616
[5 empty] | 2021-08-10 | 670 | 8.37 | 335 | 184 | 135 | 165 | 80 | 125 | 197.6871 | 2.1896 | 13.6272 | 22.5307 | 9.3111 | 0.27305 | 2.1396 | 398.5656 | 23.9666 | 0.13382 | 1.1242 | 3.1157 | 172.4105 | 1.1709 | 0.14328 | 3.6916 | 40.6016 | 41.1141 | 6.2965 | 7.368 | Below DL | Below DL | 0.37339 | 3.8907 | 0.036486 | 0.55367 | Below DL | Below DL | 0.11957 | 0.016576
[5 empty] | Average | 348.6 | 8.465 | 448.5 | 232.5 | 237.5 | 292.5 | 145 | 132.5 | 147.3485 | 1.445 | 18.4091 | 11.3762 | 8.2637 | 0.20683 | 2.5501 | 214.9591 | 29.1444 | 0.13215 | 5.3818 | 4.9949 | 229.8438 | 0.74279 | 0.088274 | 4.5239 | 75.9929 | 26.2988 | 12.0916 | 13.2881 | #VALUE! | #VALUE! | 0.28453 | 6.7595 | #VALUE! | 0.30945 | #VALUE! | #VALUE! | #VALUE! | 0.078006 | 0.34101 | 0.013329 | 2.308
5 | Lake Loka at Koka Dam | LKKD | 517216 | 936157 | 2021-12-06 | 163 | 7.23 | 432 | 216 | 210 | 210 | 210 | 210 | 306.0586 | 3.8924 | 3.2216 | 0.31715 | 8.3056 | 0.19503 | 2.786 | 36.1525 | 43.4057 | 0.12232 | 5.3851 | 4.1512 | 175.2554 | 2.5066 | 0.14125 | 5.6555 | 57.018 | 238.6064 | 9.1739 | 9.1508 | 0.11169 | Below DL | 0.10302 | 1.1948 | Below DL | 0.15286 | Below DL | Below DL | 0.059424 | 0.15298 | 0.80249 | 0.039995 | 1.1979
[5 empty] | 2021-08-10 | 152 | 8.09 | 203 | 109 | 65 | 80 | 40 | 65 | 498.8117 | 10.1966 | 3.2571 | 5.8207 | 18.3033 | 0.44893 | 3.5289 | 585.8303 | 45.1116 | 0.12097 | 0.60179 | 2.8545 | 97.2796 | 2.0771 | 0.29846 | 3.1791 | 39.8635 | 179.5867 | 6.2008 | 14.8183 | 0.060754 | 0.28462 | 1.0076 | 3.127 | 0.04659 | 0.57417 | Below DL | Below DL | 0.16862 | 0.012981 | 2.8492 | 0.58235 | 0.19973
[5 empty] | Average | 157.5 | 7.66 | 317.5 | 162.5 | 137.5 | 145 | 125 | 137.5 | 402.4351 | 7.0445 | 3.2393 | 3.0689 | 13.3045 | 0.32198 | 3.1574 | 310.9914 | 44.2586 | 0.12165 | 2.9935 | 3.5029 | 136.2675 | 2.2918 | 0.21985 | 4.4173 | 48.4407 | 209.0966 | 7.6873 | 11.9846 | 0.086224 | #VALUE! | 0.55533 | 2.1609 | #VALUE! | 0.36351 | #VALUE! | #VALUE! | 0.11402 | 0.082979 | 1.8259 | 0.31117 | 0.69884
6 | Awash River after Adama Water Tretment | ARAdWS | 519455 | 936960 | 2021-12-06 | 7.8 | 8.19 | 517 | 258 | 190 | 230 | 115 | 95 | 119.9428 | 0.19513 | 9.099 | 0.27302 | 2.7079 | 0.14321 | 2.0495 | 31.628 | 75.3198 | 0.1114 | 3.7116 | 3.9692 | 179.8691 | 0.3075 | 0.03109 | 6.6588 | 68.152 | 10.4618 | 10.6882 | 5.1302 | 0.11187 | Below DL | 0.36597 | 2.1672 | Below DL | 0.084683 | Below DL | 0.5008 | 0.028127 | 0.15793 | 0.6751 | 0.027166 | 0.63613
[5 empty] | 2021-08-10 | 2.4 | 8.13 | 217 | 117 | 40 | 45 | 25 | 75 | 88.5659 | 1.5199 | 5.1755 | 1.3005 | 6.1218 | 0.34885 | 1.7847 | 165.1821 | 59.4214 | 0.1393 | 0.57462 | 2.5508 | 98.1507 | 0.50247 | 0.10483 | 4.298 | 39.0355 | 18.8258 | 6.1864 | 3.2067 | 0.006378 | 0.044645 | 0.12889 | 1.5491 | 0.040562 | 0.53978 | Below DL | Below DL | 0.095358 | 0.022705 | 1.1733 | 0.5571 | 0.35262
[5 empty] | Average | 5.1 | 8.16 | 367 | 187.5 | 115 | 137.5 | 70 | 85 | 104.2543 | 0.85752 | 7.1373 | 0.78674 | 4.4148 | 0.24603 | 1.9171 | 98.4051 | 67.3706 | 0.12535 | 2.1431 | 3.26 | 139.0099 | 0.40498 | 0.067958 | 5.4784 | 53.5938 | 14.6438 | 8.4373 | 4.1685 | 0.059124 | #VALUE! | 0.24743 | 1.8581 | #VALUE! | 0.31223 | #VALUE! | #VALUE! | 0.061742 | 0.090318 | 0.9242 | 0.29213 | 0.49438
7 | Awash River at Wonji Briedge | ARWB | 525435 | 937268 | 2021-12-06 | 350 | 7.47 | 448 | 224 | 220 | 265 | 130 | 110 | 465.1935 | 5.2354 | 4.9851 | 0.49284 | 8.8214 | 0.26189 | 3.08 | 25.5154 | 33.9946 | 0.34722 | 5.3371 | 4.4468 | 172.1853 | 4.5454 | 0.21951 | 5.8624 | 65.3391 | 323.8819 | 10.3412 | 10.2397 | 0.1208 | Below DL | Below DL | 1.6539 | Below DL | 0.16079 | Below DL | Below DL | 0.050586 | 0.14476 | 0.88247 | 0.055576 | 1.4612
[5 empty] | 2021-08-10 | 185 | 7.18 | 224 | 123 | 80 | 95 | 45 | 70 | 82.5295 | 2.4254 | 5.2469 | 0.58598 | 5.8793 | 0.2297 | 1.421 | 75.5732 | 16.7582 | 0.16617 | 0.65296 | 2.543 | 103.6743 | 0.76488 | 0.13812 | 4.3627 | 32.0759 | 46.2042 | 4.8779 | 2.9676 | 0.013457 | 0.0027823 | 0.12882 | 3.022 | 0.035812 | 0.54999 | Below DL | Below DL | 0.11249 | 0.022279 | 0.93369 | 0.5625 | 0.37047
[5 empty] | Average | 267.5 | 7.325 | 336 | 173.5 | 150 | 180 | 87.5 | 90 | 273.8615 | 3.8304 | 5.116 | 0.53941 | 7.3503 | 0.24579 | 2.2505 | 50.5443 | 25.3764 | 0.25669 | 2.995 | 3.4949 | 137.9298 | 2.6552 | 0.17882 | 5.1125 | 48.7075 | 185.043 | 7.6096 | 6.6037 | 0.067129 | #VALUE! | #VALUE! | 2.338 | #VALUE! | 0.35539 | #VALUE! | #VALUE! | 0.081536 | 0.083517 | 0.90808 | 0.30904 | 0.91585
8 | Awash River before Beseka mix /Methara water supply | ARBBM | 599654 | 976923 | 2021-12-06 | 568 | 7.68 | 496 | 248 | 265 | 315 | 155 | 130 | 968.0505 | 3.8579 | 10.3983 | 0.80994 | 36.7739 | 0.6166 | 3.4773 | 26.9606 | 73.8622 | 0.35969 | 6.123 | 5.7441 | 172.9796 | 5.4775 | 0.21569 | 4.4321 | 67.2207 | 587.1335 | 10.722 | 13.8062 | 0.12314 | Below DL | Below DL | 3.3793 | 0.0031122 | 0.14608 | Below DL | Below DL | 0.019013 | 0.14131 | 1.1728 | 0.10479 | 1.6552
[5 empty] | 2021-09-10 | 525 | 8.11 | 204 | 112 | 70 | 85 | 40 | 80 | 293.0295 | 11.0742 | 6.075 | 0.72817 | 5.3667 | 0.23403 | 2.3962 | 135.7235 | 17.6125 | 0.2322 | 0.89139 | 2.4031 | 82.0914 | 1.9662 | 0.29142 | 3.589 | 30.0945 | 172.1076 | 4.7284 | 4.5349 | 0.0036492 | Below DL | 0.08169 | 1.6867 | 0.042647 | 0.57241 | Below DL | Below DL | 0.11241 | 0.020479 | 0.84947 | 0.57934 | 0.30875
[5 empty] | Average | 546.5 | 7.895 | 350 | 180 | 167.5 | 200 | 97.5 | 105 | 630.54 | 7.4661 | 8.2367 | 0.76906 | 21.0703 | 0.42531 | 2.9368 | 81.342 | 45.7373 | 0.29595 | 3.5072 | 4.0736 | 127.5355 | 3.7219 | 0.25355 | 4.0105 | 48.6576 | 379.6206 | 7.7252 | 9.1706 | 0.063393 | #VALUE! | #VALUE! | 2.533 | 0.02288 | 0.35924 | #VALUE! | #VALUE! | 0.065709 | 0.080894 | 1.0111 | 0.34207 | 0.98195
9 | Awash River after treatement /Methara water supply/ | ARMeWS | 599971 | 980964 | 2021-12-06 | 7.8 | 8.19 | 517 | 258 | 190 | 230 | 115 | 95 | 214.1072 | 2.8431 | 10.0931 | 0.24888 | 5.7987 | 0.20376 | 2.0699 | 21.1915 | 489.9641 | 0.32119 | 5.5215 | 5.2717 | 170.5686 | 2.0297 | 0.10181 | 7.506 | 52.648 | 105.2866 | 8.3765 | 12.0144 | 0.11001 | Below DL | Below DL | 1.3045 | Below DL | 0.12332 | Below DL | 0.781 | 0.049999 | 0.17865 | 1.9325 | 0.04249 | 1.6439
[5 empty] | 2021-09-10 | 2.9 | 8.14 | 229 | 125 | 50 | 60 | 30 | 90 | 69.7387 | 2.2165 | 5.8582 | 0.56623 | 7.6942 | 0.38696 | 1.4091 | 96.4481 | 447.5585 | 0.20431 | 0.56535 | 2.2634 | 98.4063 | 0.78334 | 0.12508 | 3.9049 | 33.4813 | 43.5909 | 5.2514 | 7.8299 | 0.0055921 | 0.033656 | 0.1551 | 0.24865 | 0.035982 | 0.54724 | Below DL | 0.023347 | 0.10589 | 0.01911 | 1.6512 | 0.56154 | 0.29384
[5 empty] | Average | 5.35 | 8.165 | 373 | 191.5 | 120 | 145 | 72.5 | 92.5 | 141.923 | 2.5298 | 7.9757 | 0.40755 | 6.7465 | 0.29536 | 1.7395 | 58.8198 | 468.7613 | 0.26275 | 3.0434 | 3.7676 | 134.4874 | 1.4065 | 0.11344 | 5.7055 | 43.0647 | 74.4387 | 6.8139 | 9.9222 | 0.057803 | #VALUE! | #VALUE! | 0.77659 | #VALUE! | 0.33528 | #VALUE! | 0.40218 | 0.077946 | 0.098881 | 1.7919 | 0.30202 | 0.96885
10 | Methara sugar factory mils waste before entering AR | MSFMW | 601543 | 976932 | 14/6/2021 | 52.3 | 7.31 | 490 | 245 | 225 | 275 | 135 | 105 | 831.0623 | 4.4871 | 5.3057 | 0.65149 | 119.0412 | 0.60662 | 4.2833 | 30.3243 | 179.139 | 0.40117 | 6.3254 | 6.2924 | 168.7987 | 5.8585 | 0.22188 | 3.4117 | 66.3122 | 647.2525 | 10.5143 | 13.878 | 0.12354 | Below DL | Below DL | 0.80897 | 0.0054117 | 0.15439 | Below DL | Below DL | Below DL | 0.13396 | 1.6459 | 0.1085 | 1.0062
[5 empty] | 2021-09-10 | 85 | 7.98 | 219 | 117 | 550 | 650 | 350 | 230 | 67.6756 | 2.619 | 47.5431 | 0.59857 | 227.9789 | 0.50363 | 1.3976 | 208.3549 | 22.5079 | 0.47594 | 14.0384 | 16.3323 | 595.9466 | 0.99793 | 0.39504 | 68.3064 | 38.6545 | 40.6379 | 5.7225 | 37.4544 | 0.010898 | 0.11574 | 0.35828 | 0.46926 | 0.061617 | 0.64275 | Below DL | 2.5169 | 0.5041 | 0.020814 | 0.9466 | 0.58392 | 7.9672
[5 empty] | Average | 68.65 | 7.645 | 354.5 | 181 | 387.5 | 462.5 | 242.5 | 167.5 | 449.3689 | 3.553 | 26.4244 | 0.62503 | 173.5101 | 0.55512 | 2.8405 | 119.3396 | 100.8235 | 0.43855 | 10.1819 | 11.3124 | 382.3727 | 3.4282 | 0.30846 | 35.8591 | 52.4833 | 343.9452 | 8.1184 | 25.6662 | 0.067219 | #VALUE! | #VALUE! | 0.63912 | 0.033514 | 0.39857 | #VALUE! | #VALUE! | #VALUE! | 0.077385 | 1.2963 | 0.34621 | 4.4867
11 | Mertti camp sewage discharge before entering AR | MCSWW | 601099 | 977599 | 14/6/2021 | 16.6 | 8.07 | 1760 | 1056 | 1550 | 1900 | 950 | 170 | 39.3526 | 1.1802 | 19.6701 | 0.32608 | 246.8776 | 0.28613 | 1.4411 | 38.0115 | 28.0798 | 0.47436 | 46.4401 | 19.7384 | 495.3766 | 0.74371 | 0.29152 | 26.1759 | 41.0868 | 34.6832 | 6.259 | 34.8122 | 0.11009 | Below DL | 0.21761 | 0.4097 | 0.035171 | 0.082995 | Below DL | 9.9011 | 0.99692 | 0.10341 | 1.0387 | 0.056143 | 7.6735
[5 empty] | 2021-09-10 | 85 | 8.84 | 1733 | 1161 | 95 | 115 | 55 | 100 | 108.8245 | 2.2015 | 5.7213 | 0.46597 | 18.7156 | 0.23089 | 2.0382 | 200.3058 | 22.401 | 0.23986 | 1.0692 | 2.9265 | 106.1635 | 1.0728 | 0.14655 | 3.9986 | 36.3176 | 69.4846 | 5.5121 | 5.6198 | Below DL | Below DL | 0.068813 | 1.5782 | 0.037587 | 0.55682 | Below DL | 0.031494 | 0.13988 | 0.024422 | 1.4655 | 0.56308 | 0.63861
[5 empty] | Average | 50.8 | 8.455 | 1746.5 | 1108.5 | 822.5 | 1007.5 | 502.5 | 135 | 74.0886 | 1.6909 | 12.6957 | 0.39603 | 132.7966 | 0.25851 | 1.7396 | 119.1587 | 25.2404 | 0.35711 | 23.7547 | 11.3324 | 300.77 | 0.90827 | 0.21903 | 15.0872 | 38.7022 | 52.0839 | 5.8856 | 20.216 | #VALUE! | #VALUE! | 0.14321 | 0.99393 | 0.036379 | 0.31991 | #VALUE! | 4.9663 | 0.5684 | 0.063917 | 1.2521 | 0.30961 | 4.156
12 | Lake Beseka @ Canal | LB@Can | 600908 | 982402 | 14/6/2021 | 36.4 | 9.21 | 2520 | 1688 | 1750 | 2100 | 1050 | 25 | 518.5967 | 36.9373 | 68.6491 | 0.96949 | 21.8586 | 0.21943 | 1.3355 | 25.0021 | 23.1088 | 1.1081 | 95.6017 | 27.7282 | 72.7406 | 6.2847 | 0.95038 | 94.0923 | 32.0133 | 404.3633 | 4.856 | 28.4455 | 0.14288 | 0.42444 | 0.66177 | 1.0918 | 0.029669 | 0.2528 | 0.032817 | 14.43 | 1.4869 | 0.10238 | 1.8265 | 0.23311 | 7.2948
[5 empty] | 2021-09-10 | 41.4 | 9.52 | 2111 | 1414 | 850 | 1000 | 500 | 30 | 1113.4148 | 64.2053 | 71.097 | 1.8601 | 24.0407 | 0.46298 | 1.7489 | 83.5656 | 19.6018 | 1.0726 | 18.8325 | 26.5989 | 40.0556 | 9.0379 | 1.5995 | 83.7072 | 16.0469 | 858.2245 | 2.5985 | 31.2096 | 0.039055 | 0.1397 | 0.55043 | 0.25734 | 0.094447 | 0.88186 | 0.00861 | 7.0275 | 0.8673 | 0.023975 | 2.0206 | 0.83975 | 5.7636
[5 empty] | Average | 38.9 | 9.365 | 2315.5 | 1551 | 1300 | 1550 | 775 | 27.5 | 816.0057 | 50.5713 | 69.873 | 1.4148 | 22.9497 | 0.34121 | 1.5422 | 54.2839 | 21.3553 | 1.0904 | 57.2171 | 27.1635 | 56.3981 | 7.6613 | 1.2749 | 88.8998 | 24.0301 | 631.2939 | 3.7273 | 29.8276 | 0.090968 | 0.28207 | 0.6061 | 0.67458 | 0.062058 | 0.56733 | 0.020713 | 10.7288 | 1.1771 | 0.063178 | 1.9235 | 0.53643 | 6.5292
13 | Lake Beseka @ Intake | LB@Int | 600365 | 978746 | 14/6/2021 | 17.4 | 9.24 | 2480 | 1661 | 1600 | 1950 | 950 | 50 | 377.1905 | 25.5584 | 73.6909 | 0.9488 | 12.3854 | 0.16448 | 1.2534 | 20.5331 | 9.9318 | 1.2645 | 67.6485 | 28.9733 | 70.0824 | 4.7917 | 1.0084 | 96.1732 | 13.6216 | 298.1547 | 2.1859 | 28.7685 | 0.12067 | 0.23461 | 0.56103 | 0.66217 | 0.024009 | 0.20494 | 0.073219 | 33.4133 | 2.6013 | 0.11249 | 1.2518 | 0.27273 | 9.8224
[5 empty] | 2021-09-10 | 56.8 | 9.49 | 2180 | 1456 | 800 | 1000 | 500 | 30 | 1140.3428 | 64.8941 | 71.8763 | 1.9443 | 25.6929 | 0.42316 | 1.7679 | 78.639 | 13.0628 | 1.2019 | 19.0892 | 27.074 | 38.6631 | 9.7647 | 1.6939 | 85.781 | 15.92 | 899.1472 | 2.4578 | 29.3006 | 0.047747 | 0.13246 | 0.6577 | 0.24327 | 0.099855 | 0.87992 | 0.023662 | 7.454 | 0.93673 | 0.025299 | 2.2412 | 0.8575 | 5.9053
[5 empty] | Average | 37.1 | 9.365 | 2330 | 1558.5 | 1200 | 1475 | 725 | 40 | 758.7666 | 45.2262 | 72.7836 | 1.4466 | 19.0392 | 0.29382 | 1.5106 | 49.586 | 11.4973 | 1.2332 | 43.3688 | 28.0236 | 54.3728 | 7.2782 | 1.3512 | 90.9771 | 14.7708 | 598.6509 | 2.3219 | 29.0346 | 0.084207 | 0.18354 | 0.60936 | 0.45272 | 0.061932 | 0.54243 | 0.048441 | 20.4336 | 1.769 | 0.068896 | 1.7465 | 0.56512 | 7.8639
14 | Lake Beseka @ old road/car wash area | LBOR-01 | 599451 | 984321 | 14/6/2021 | 4.66 | 9.46 | 3650 | 2482 | 2850 | 3500 | 1700 | 40 | 41.9679 | 8.5395 | 72.6933 | 0.36143 | 3.52 | 0.16109 | 1.036 | 24.9388 | 4.3735 | 0.89012 | 51.1339 | 34.8742 | 46.6692 | 6.2008 | 1.1086 | 146.7278 | 11.5595 | 76.8798 | 1.728 | 30.0933 | 0.13847 | 0.098595 | 0.9776 | 0.46089 | 0.043395 | 0.31674 | 0.15571 | 105.2393 | 4.1771 | 0.078964 | 1.784 | 0.38472 | 15.1744
[5 empty] | 2021-09-10 | 58.4 | 9.51 | 2210 | 1476 | 850 | 1050 | 500 | 15 | 1070.3366 | 61.9292 | 69.9529 | 1.8078 | 21.957 | 0.40242 | 1.6494 | 66.0526 | 11.9062 | 1.1689 | 19.1013 | 27.8498 | 38.5248 | 9.3725 | 1.6135 | 86.5904 | 15.3942 | 842.0035 | 2.371 | 30.3733 | 0.050787 | 0.14241 | 0.6148 | 0.25407 | 0.098428 | 0.87027 | 0.016997 | 7.6546 | 0.8956 | 0.024866 | 1.8262 | 0.84018 | 6.5766
[5 empty] | Average | 31.53 | 9.485 | 2930 | 1979 | 1850 | 2275 | 1100 | 27.5 | 556.1523 | 35.2344 | 71.3231 | 1.0846 | 12.7385 | 0.28175 | 1.3427 | 45.4957 | 8.1398 | 1.0295 | 35.1176 | 31.362 | 42.597 | 7.7867 | 1.3611 | 116.6591 | 13.4768 | 459.4417 | 2.0495 | 30.2333 | 0.094628 | 0.1205 | 0.7962 | 0.35748 | 0.070912 | 0.5935 | 0.086352 | 56.447 | 2.5364 | 0.051915 | 1.8051 | 0.61245 | 10.8755
15 | Lake Beseka @ old road /left side/ | LBOR-02 | 599439 | 984306 | 14/6/2021 | 8.22 | 9.27 | 2800 | 1876 | 2100 | 2550 | 1250 | 40 | 36.7001 | 3.1329 | 66.943 | 0.46328 | 3.0846 | 0.11529 | 1.0176 | 20.1465 | 6.5303 | 1.2335 | 66.5182 | 30.7047 | 69.4596 | 2.3423 | 0.43008 | 108.5475 | 11.2774 | 21.3873 | 1.6657 | 30.2911 | 0.11928 | 0.11191 | 0.67974 | 0.54946 | 0.013781 | 0.15704 | 0.038412 | 28.2695 | 1.5523 | 0.10663 | 1.1508 | 0.11815 | 11.1532
[5 empty] | 2021-10-10 | 56 | 9.65 | 2290 | 1531 | 1200 | 1450 | 700 | 20 | 231.6544 | 16.5873 | 57.0003 | 0.8152 | 11.8939 | 0.36968 | 1.3045 | 96.6181 | 9.5875 | 0.95231 | 24.729 | 28.3409 | 14.9485 | 6.3684 | 0.92285 | 114.8518 | 12.5689 | 196.0493 | 1.7447 | 27.5021 | 0.031003 | 0.17437 | 0.84764 | 0.30551 | 0.073657 | 0.84975 | Below DL | 11.1766 | 1.2222 | 0.020004 | 1.8623 | 0.75664 | 9.8823
[5 empty] | Average | 32.11 | 9.46 | 2545 | 1703.5 | 1650 | 2000 | 975 | 30 | 134.1773 | 9.8601 | 61.9716 | 0.63924 | 7.4893 | 0.24248 | 1.161 | 58.3823 | 8.0589 | 1.0929 | 45.6236 | 29.5228 | 42.2041 | 4.3553 | 0.67647 | 111.6996 | 11.9231 | 108.7183 | 1.7052 | 28.8966 | 0.075142 | 0.14314 | 0.76369 | 0.42748 | 0.043719 | 0.50339 | #VALUE! | 19.7231 | 1.3872 | 0.063319 | 1.5065 | 0.43739 | 10.5177
16 | Lake Beseka @ Lodge | LB@Lodg | 593677 | 983218 | 14/6/2021 | 20.8 | 9.19 | 2410 | 1614 | 1900 | 2300 | 1150 | 30 | 188.5028 | 14.4066 | 94.1876 | 1.8884 | 7.9083 | 0.1168 | 0.81297 | 15.6428 | 8.2023 | 1.5234 | 61.2307 | 31.7665 | 67.0268 | 3.2041 | 0.60368 | 91.9466 | 10.5583 | 150.7418 | 1.613 | 26.962 | 0.116 | 0.075164 | 0.48135 | 0.48532 | 0.058591 | 0.14863 | 0.030681 | 17.4584 | 0.97261 | 0.11615 | 1.0616 | 0.14505 | 10.7003
2021-10-10
[5 empty] | Average | 20.8 | 9.19 | 2410 | 1614 | 1900 | 2300 | 1150 | 30 | 188.5028 | 14.4066 | 94.1876 | 1.8884 | 7.9083 | 0.1168 | 0.81297 | 15.6428 | 8.2023 | 1.5234 | 61.2307 | 31.7665 | 67.0268 | 3.2041 | 0.60368 | 91.9466 | 10.5583 | 150.7418 | 1.613 | 26.962 | 0.116 | 0.075164 | 0.48135 | 0.48532 | 0.058591 | 0.14863 | 0.030681 | 17.4584 | 0.97261 | 0.11615 | 1.0616 | 0.14505 | 10.7003
17 | Awash River after Beseka mix | ARABM | 609824 | 979426 | 14/6/2021 | 179 | 8.16 | 1165 | 757 | 510 | 620 | 305 | 110 | 194.2128 | 9.818 | 8.3458 | 0.31732 | 170.6627 | 0.28721 | 2.2691 | 15.6797 | 25.1099 | 0.7224 | 33.1852 | 10.8912 | 150.6955 | 2.365 | 0.24642 | 31.1577 | 46.4155 | 167.7928 | 7.3288 | 17.5355 | 0.11993 | Below DL | 0.23401 | 0.71911 | Below DL | 0.13967 | Below DL | 4.1791 | 0.17983 | 0.16645 | 0.57508 | 0.075116 | 3.4771
[5 empty] | 2021-10-10 | 448 | 8.16 | 385 | 207 | 130 | 160 | 80 | 80 | 574.9179 | 23.717 | 10.9118 | 1.0476 | 8.2519 | 0.29394 | 2.6095 | 89.3073 | 23.0694 | 0.27768 | 2.16 | 3.8346 | 80.2054 | 3.4176 | 0.48643 | 9.2246 | 30.3526 | 356.8279 | 4.6626 | 7.6696 | 0.014887 | 0.0074832 | 0.13139 | 2.2186 | 0.050744 | 0.59425 | Below DL | 0.29489 | 0.14601 | 0.030794 | 1.0405 | 0.59749 | 1.0013
[5 empty] | Average | 313.5 | 8.16 | 775 | 482 | 320 | 390 | 192.5 | 95 | 384.5654 | 16.7675 | 9.6288 | 0.68245 | 89.4573 | 0.29058 | 2.4393 | 52.4935 | 24.0897 | 0.50004 | 17.6726 | 7.3629 | 115.4505 | 2.8913 | 0.36643 | 20.1912 | 38.3841 | 262.3104 | 5.9957 | 12.6025 | 0.06741 | #VALUE! | 0.1827 | 1.4688 | #VALUE! | 0.36696 | #VALUE! | 2.237 | 0.16292 | 0.098623 | 0.80777 | 0.3363 | 2.2392
18 | Awash River at Awash 7 Water supply | ARAWS | 629912 | 995525 | 15/6/2021 | 53.4 | 8.24 | 965 | 482 | 480 | 590 | 290 | 115 | 673.2065 | 16.5662 | 24.5827 | 0.67211 | 26.6409 | 0.40161 | 2.8977 | 19.4729 | 29.7454 | 0.47667 | 23.3123 | 10.2385 | 164.4268 | 7.6542 | 0.43554 | 22.389 | 52.2282 | 434.5831 | 7.8815 | 16.1058 | 0.12989 | Below DL | 0.12454 | 4.0447 | 0.0062679 | 0.23503 | Below DL | 1.9963 | 0.027662 | 0.17904 | 0.74877 | 0.070441 | 3.2914
[5 empty] | 2021-11-10 | 551 | 8.14 | 259 | 137 | 100 | 120 | 60 | 95 | 228.0921 | 6.8598 | 5.4601 | 0.58898 | 6.2486 | 0.22571 | 1.5538 | 111.7841 | 22.0335 | 0.1594 | 0.64008 | 2.0773 | 116.7698 | 1.6058 | 0.20691 | 3.6806 | 28.4415 | 111.4758 | 4.1132 | 2.0884 | Below DL | Below DL | 0.060563 | 2.5487 | 0.039041 | 0.56224 | Below DL | Below DL | 0.07332 | 0.02047 | 0.99824 | 0.57102 | 0.37108
[5 empty] | Average | 302.2 | 8.19 | 612 | 309.5 | 290 | 355 | 175 | 105 | 450.6493 | 11.713 | 15.0214 | 0.63055 | 16.4447 | 0.31366 | 2.2258 | 65.6285 | 25.8895 | 0.31804 | 11.9762 | 6.1579 | 140.5983 | 4.63 | 0.32123 | 13.0348 | 40.3348 | 273.0294 | 5.9973 | 9.0971 | #VALUE! | #VALUE! | 0.092549 | 3.2967 | 0.022654 | 0.39864 | #VALUE! | #VALUE! | 0.050491 | 0.099754 | 0.8735 | 0.32073 | 1.8313
19 | Awash River @ Weir Site | ARWeS | 629714 | 992849 | 15/6/2021 | 138 | 8.22 | 984 | 492 | 450 | 550 | 270 | 130 | 820.7853 | 5.4374 | 26.9729 | 0.67221 | 19.9802 | 0.52186 | 2.7498 | 19.6794 | 64.0132 | 0.35514 | 18.94 | 7.5328 | 177.3201 | 4.624 | 0.1166 | 18.8676 | 48.5025 | 334.1254 | 7.3062 | 11.8168 | 0.11401 | Below DL | 0.062783 | 1.6192 | Below DL | 0.15017 | Below DL | 1.261 | 0.0086816 | 0.14994 | 0.57626 | 0.047282 | 3.1797
[5 empty] | 2021-11-10 | 450 | 8.12 | 263 | 139 | 125 | 155 | 75 | 75 | 277.742 | 7.1902 | 9.9262 | 0.60469 | 7.5331 | 0.24013 | 1.6169 | 105.6965 | 20.678 | 0.16329 | 0.88951 | 1.9617 | 101.3939 | 1.6281 | 0.19787 | 4.0187 | 23.2673 | 145.2336 | 3.522 | 1.3964 | Below DL | Below DL | 0.05127 | 1.4783 | 0.03944 | 0.56341 | Below DL | Below DL | 0.089939 | 0.023149 | 0.96737 | 0.57131 | 0.58012
[5 empty] | Average | 294 | 8.17 | 623.5 | 315.5 | 287.5 | 352.5 | 172.5 | 102.5 | 549.2637 | 6.3138 | 18.4496 | 0.63845 | 13.7567 | 0.38099 | 2.1834 | 62.688 | 42.3456 | 0.25921 | 9.9148 | 4.7473 | 139.357 | 3.1261 | 0.15723 | 11.4431 | 35.8849 | 239.6795 | 5.4141 | 6.6066 | #VALUE! | #VALUE! | 0.057026 | 1.5487 | #VALUE! | 0.35679 | #VALUE! | #VALUE! | 0.04931 | 0.086544 | 0.77182 | 0.30929 | 1.8799
20 | Awash River @ Meteka Bredige | ARMeB | 666527 | 1103137 | 15/6/2021 | 321 | 8.24 | 1000 | 500 | 430 | 530 | 260 | 120 | 409.8602 | 13.5381 | 33.7725 | 0.38823 | 17.3251 | 0.28691 | 1.1005 | 17.3141 | 29.5884 | 0.58714 | 20.1195 | 9.2512 | 173.0842 | 3.3155 | 0.1652 | 22.8607 | 40.0783 | 287.6377 | 6.2302 | 26.2056 | 0.11277 | Below DL | 0.096718 | 0.66436 | Below DL | 0.11956 | Below DL | 1.14 | Below DL | 0.16198 | 0.64692 | 0.047687 | 1.3899
[5 empty] | 2021-11-10 | 520 | 8.56 | 257 | 136 | 215 | 260 | 130 | 100 | 185.4997 | 5.6064 | 13.7778 | 0.52836 | 5.6792 | 0.21368 | 1.269 | 321.4716 | 26.4159 | 0.27361 | 1.6548 | 3.6967 | 204.9997 | 1.2571 | 0.18179 | 9.9041 | 30.2401 | 108.8554 | 4.4279 | 6.0986 | 0.005295 | 0.0059514 | 0.12483 | 2.6816 | 0.03923 | 0.55838 | Below DL | Below DL | 0.1226
[5 empty] | Average | 420.5 | 8.4 | 628.5 | 318 | 322.5 | 395 | 195 | 110 | 297.6799 | 9.5722 | 23.7751 | 0.45829 | 11.5021 | 0.2503 | 1.1847 | 169.3928 | 28.0022 | 0.43037 | 10.8871 | 6.4739 | 189.0419 | 2.2863 | 0.1735 | 16.3824 | 35.1592 | 198.2465 | 5.329 | 16.1521 | 0.059032 | #VALUE! | 0.11078 | 1.673 | #VALUE! | 0.33897 | #VALUE! | #VALUE! | #VALUE! | 0.080988 | 0.32346 | 0.023843 | 0.69495