## Calculations
[9 empty] | Here the errors are calculated as a fraction of C14 | [6 empty] | Here the errors are calculated as a fraction of C15.
This gives the error obtained using a constant current supply
[7 empty] | Calculation of percent error after correction | [7 empty] | Assuming constant current supply |  |  |  |  | Assuming Wheatstone bridge, i.e. GF only (independent of material type)
Gauge Properties - For Type E gauge |  | Type E | [7 empty] | Alpha bar | ab (%/100 deg Farenheit) |  |  |  |  | Alpha bar | ab (%/100 deg Farenheit)
Gage Factor | GF0 | 130 | [6 empty] | Aluminium | Magnesium | Nickel | Steel | Tungsten |  | Aluminium | Magnesium | Nickel | Steel | Tungsten
Alpha | a0 | 0.0006 |  | 6 | %/100 deg Farenheit |  | Deg_C | Deg_F | 1.28e-05 | 1.44e-05 | 7.2e-06 | 6.7e-06 | 2.5e-06 | Deg F | 1.28e-05 | 1.44e-05 | 7.2e-06 | 6.7e-06 | 2.5e-06 | Deg F | Error
Alpha Gauge | ag | 1.7e-06 | ppm / deg Farenheit |  |  |  | -10 | -18 | -0.070829 | -0.26751 | 0.022003 | 0.11121 | 0.59298 | -18 | -1.9912 | -2.3792 | -0.63319 | -0.51194 | 0.50656 | -18 | 1.8
Beta | b | -0.001 |  | -10 | %/100 deg Farenheit |  | -9 | -16.2 | -0.054477 | -0.22995 | 0.025339 | 0.10523 | 0.53599 | -16.2 | -1.7818 | -2.1297 | -0.56388 | -0.45514 | 0.45827 | -16.2 | 1.62
Gauge Resistance | Rg0 | 350 | Ohms |  |  |  | -8 | -14.4 | -0.040235 | -0.19485 | 0.027432 | 0.098093 | 0.47848 | -14.4 | -1.5746 | -1.8828 | -0.49591 | -0.39959 | 0.40945 | -14.4 | 1.44
| R | 2200 | Ohms | Just used for check below |  |  | -7 | -12.6 | -0.028084 | -0.1622 | 0.028285 | 0.089808 | 0.42046 | -12.6 | -1.3698 | -1.6385 | -0.42927 | -0.34529 | 0.36011 | -12.6 | 1.26
[7 empty] | -6 | -10.8 | -0.018005 | -0.13196 | 0.027905 | 0.080378 | 0.36193 | -10.8 | -1.1673 | -1.3968 | -0.36397 | -0.29224 | 0.31024 | -10.8 | 1.08
Nominal delta (Vo/Vin)/strain |  | 30.7882 |  |  |  |  | -5 | -9 | -0.0099781 | -0.10412 | 0.026296 | 0.069807 | 0.30288 | -9 | -0.96704 | -1.1576 | -0.3 | -0.24044 | 0.25985 | -9 | 0.9
Nominal RgGF |  | 45500 |  |  |  | Delta T | -4 | -7.2 | -0.0039862 | -0.078646 | 0.023464 | 0.0581 | 0.24333 | -7.2 | -0.76909 | -0.92101 | -0.23735 | -0.18987 | 0.20893 | -7.2 | 0.72
[7 empty] | -3 | -5.4 | -1.0469e-05 | -0.05552 | 0.019413 | 0.045262 | 0.18326 | -5.4 | -0.57341 | -0.68694 | -0.17603 | -0.14055 | 0.15748 | -5.4 | 0.54
Check.. | [6 empty] | -2 | -3.6 | 0.0019672 | -0.034718 | 0.014149 | 0.031296 | 0.12268 | -3.6 | -0.38 | -0.45542 | -0.11603 | -0.092465 | 0.10551 | -3.6 | 0.36
Aluminium at -10 deg C | GF | 132.34 |  |  |  |  | -1 | -1.8 | 0.0019647 | -0.016219 | 0.0076763 | 0.016207 | 0.061596 | -1.8 | -0.18887 | -0.22645 | -0.057358 | -0.045616 | 0.053018 | -1.8 | 0.18
using R =2200 | alpha | 0.002069 |  |  |  |  | 0 | 0 | 1.423e-14 | 1.423e-14 | 0 | 0 | -2.0911e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rg | 336.9655 |  |  |  |  | 1 | 1.8 | -0.0039094 | 0.013961 | -0.008875 | -0.017321 | -0.062105 | 1.8 | 0.18661 | 0.22392 | 0.056043 | 0.044385 | -0.053542 | 1.8 | -0.18
| RgGF | 44594.0095 |  |  |  |  | 2 | 3.6 | -0.0097461 | 0.025687 | -0.018944 | -0.035751 | -0.12472 | 3.6 | 0.37097 | 0.44531 | 0.11077 | 0.087541 | -0.10761 | 3.6 | -0.36
| RgGF*2R | 196213641.7089 |  |  |  |  | 3 | 5.4 | -0.017493 | 0.035197 | -0.030201 | -0.055287 | -0.18784 | 5.4 | 0.55308 | 0.66419 | 0.16419 | 0.12947 | -0.16219 | 5.4 | -0.54
| RgGF*2R/(Rg+R)^2 | 30.486 |  |  |  |  | 4 | 7.2 | -0.027132 | 0.042515 | -0.042642 | -0.075924 | -0.25147 | 7.2 | 0.73294 | 0.88055 | 0.2163 | 0.17017 | -0.2173 | 7.2 | -0.72
| error vs nominal value | -0.98149 | % |  |  |  | 5 | 9 | -0.038647 | 0.047661 | -0.056263 | -0.097657 | -0.3156 | 9 | 0.91057 | 1.0944 | 0.26711 | 0.20966 | -0.27294 | 9 | -0.9
[7 empty] | 6 | 10.8 | -0.052022 | 0.050655 | -0.071057 | -0.12048 | -0.38024 | 10.8 | 1.086 | 1.3058 | 0.31661 | 0.24792 | -0.32909 | 10.8 | -1.08
[7 empty] | 7 | 12.6 | -0.067239 | 0.051519 | -0.087021 | -0.14439 | -0.44539 | 12.6 | 1.2591 | 1.5146 | 0.36481 | 0.28497 | -0.38577 | 12.6 | -1.26
[7 empty] | 8 | 14.4 | -0.084282 | 0.050273 | -0.10415 | -0.16939 | -0.51104 | 14.4 | 1.4301 | 1.721 | 0.41172 | 0.3208 | -0.44296 | 14.4 | -1.44
[7 empty] | 9 | 16.2 | -0.10313 | 0.046937 | -0.12244 | -0.19547 | -0.5772 | 16.2 | 1.5988 | 1.9249 | 0.45733 | 0.35541 | -0.50068 | 16.2 | -1.62
[7 empty] | 10 | 18 | -0.12378 | 0.041531 | -0.14188 | -0.22262 | -0.64386 | 18 | 1.7653 | 2.1263 | 0.50164 | 0.38882 | -0.55892 | 18 | -1.8
[7 empty] | Rs / Ohm |  | 1000 | 1000 | 2200 | 2200 | 10000
[7 empty] | Nominal Delta |  | 49.9314 | 49.9314 | 30.7882 | 30.7882 | 8.4949
Need to optimise this

## For_Python_Graphs
Deg_C | Deg_F | Aluminium | Magnesium | Nickel | Steel | Tungsten | GF_only
-10 | -18 | -0.070829 | -0.26751 | 0.022003 | 0.11121 | 0.59298 | 1.8
-9 | -16.2 | -0.054477 | -0.22995 | 0.025339 | 0.10523 | 0.53599 | 1.62
-8 | -14.4 | -0.040235 | -0.19485 | 0.027432 | 0.098093 | 0.47848 | 1.44
-7 | -12.6 | -0.028084 | -0.1622 | 0.028285 | 0.089808 | 0.42046 | 1.26
-6 | -10.8 | -0.018005 | -0.13196 | 0.027905 | 0.080378 | 0.36193 | 1.08
-5 | -9 | -0.0099781 | -0.10412 | 0.026296 | 0.069807 | 0.30288 | 0.9
-4 | -7.2 | -0.0039862 | -0.078646 | 0.023464 | 0.0581 | 0.24333 | 0.72
-3 | -5.4 | -1.0469e-05 | -0.05552 | 0.019413 | 0.045262 | 0.18326 | 0.54
-2 | -3.6 | 0.0019672 | -0.034718 | 0.014149 | 0.031296 | 0.12268 | 0.36
-1 | -1.8 | 0.0019647 | -0.016219 | 0.0076763 | 0.016207 | 0.061596 | 0.18
0 | 0 | 1.423e-14 | 1.423e-14 | 0 | 0 | -2.0911e-14 | 0
1 | 1.8 | -0.0039094 | 0.013961 | -0.008875 | -0.017321 | -0.062105 | -0.18
2 | 3.6 | -0.0097461 | 0.025687 | -0.018944 | -0.035751 | -0.12472 | -0.36
3 | 5.4 | -0.017493 | 0.035197 | -0.030201 | -0.055287 | -0.18784 | -0.54
4 | 7.2 | -0.027132 | 0.042515 | -0.042642 | -0.075924 | -0.25147 | -0.72
5 | 9 | -0.038647 | 0.047661 | -0.056263 | -0.097657 | -0.3156 | -0.9
6 | 10.8 | -0.052022 | 0.050655 | -0.071057 | -0.12048 | -0.38024 | -1.08
7 | 12.6 | -0.067239 | 0.051519 | -0.087021 | -0.14439 | -0.44539 | -1.26
8 | 14.4 | -0.084282 | 0.050273 | -0.10415 | -0.16939 | -0.51104 | -1.44
9 | 16.2 | -0.10313 | 0.046937 | -0.12244 | -0.19547 | -0.5772 | -1.62
10 | 18 | -0.12378 | 0.041531 | -0.14188 | -0.22262 | -0.64386 | -1.8